| METHODIST |  |  | Page 1 of 11 | Section: UPM MICRO | Policy #: 11.013 |
| --- | --- | --- | --- | --- | --- |
|  | MICROBIOLOGY |  | Approved by: see signature block at end of document |  | Date: 1/29/19 Review by: 1/29/21 |
|  | LABORATORY |  | Policy Created: 3/1/96 Supersedes: 8/29/18, 1/29/19 |  |  |
|  |  |  | Primary Responsible Parties: Marsha Bishoff Secondary Responsible Parties: Tammy Gurewitz |  |  |
|  |  |  | CAP Standard: NA |  |  |
| SUBJECT: |  | CRE CONFIRMATION (CARBAPENEM RESISTANT ENTEROBACTERIACEAE) |  |  |  |

- PRINCIPLE

Carbapenemases, or carbapenem-hydrolyzing enzymes, are produced by a variety of organisms, including Enterobacteriaceae, Pseudomonas aeruginosa, and Acinetobacter spp.  They are classified into three molecular groups (Ambler Classes A, B, and D) and vary in prevalence by geographic location. The Klebsiella pneumoniae carbapenemase (KPC) enzymes encoded by the blaKPC genes belong to Ambler Class A and are produced by K. pneumoniae, Enterobacter Cloacae, and Escherichia coli, among others.  Other carbapenemases include metallo-beta-lactamases (MBLs) of Ambler Class B.  Serratia marcescens enzymes (SMEs), imipenem-hydrolyzing beta-lactamases (IMIs), and “non metalloenzyme carbapenemases” (NMCs).  These carbapenemases result in varying degrees of resistance to carbapenems as well as varying resistance to extended-spectrum cephalosporins and aztreonam.

- CLINICAL SIGNIFICANCE

Carbapenems (Imipenem, Meropenem, Doripenem and Ertapenem) have the broadest antibacterial spectra of all b-lactams and are prescribed often to treat a variety of Enterobacteriaceae infections.  CRE are usually resistant to all b-lactam agents as well as most other classes of antimicrobial agents.  Patients colonized with CRE are thought to be the source of transmission in the health care setting.  Carbapenem resistance in Enterobacteriaceae occurs when an isolate acquires a carbapenemase or when an isolate produces an extended-spectrum cephalosporinase in combination with porin loss.  The most common mechanism of carbapenem resistance in the United States is the Klebsiella pneumoniae carbapenemase (KPC). CLSI has published guidelines for detection of isolates producing carbapenemases (CLSI document M100-S28E pages 102-125).  The modified carbapenem inactivation method (mCIM)is recommended when an Enterobacteriaceae demonstrates reduced susceptibility to carbapenems.  Carbapenem resistance and carbapenemase-production in all species of Enterobacteriaceae is of critical concern for infection control.  However, the vast majority of CRE encountered in the United States are represented by E. coli and especially Klebsiella spp.

- POLICY SCOPE

The scope of this policy applies to all Laboratory staff that prepares or performs testing on laboratory specimens at UnityPoint Methodist.

- SPECIMEN

Isolated colonies of Enterobacteriaeae spp. with elevated resistance to the carbapenems as indicated by the Microscan Alert system or manually observed.

- PROCEDURE

Suspected CRE isolates (see list below) will be flagged through the Microscan Alert system.  Isolates will be repeated. If isolate still shows a non-susceptible result, it will be sent to OSF for modified carbapenem inactivation method (mCIM).	 If it is a Peoria area patient, do not send for confirmation if only Ertapenem is non-susceptible.

- REPORTING RESULTS

For Peoria area patients: Isolates (see list below) testing positive with the mCIM and are intermediate or resistant to Doripenem, Meropenem, and/or Imipenem (does not take into account Ertapenem) AND are resistant to all tested 3rd generation cephalosporins (ceftriaxone, cefotaxime, ceftazidime) will be reported as CRE.  The CRE must be reported within 7 days to the IDPH XDRO registry if the isolate is the first CRE-positive culture per patient stay. Results should also be phoned to the appropriate location.

For Quad-Cities area patients: Isolates (see list below) testing positive with the mCIM that are intermediate or resistant to any of the Carbapenems (Ertapenem, Doripenem, Meropenem, or Imipenem) will be reported as CRE.  The CRE will be reported within 7 days to the IDPH XDRO registry if the isolate is the first CRE-positive culture per patient stay. If the isolate is from Rock Island, Moline, Bettendorf, or Muscatine, their Infection Control Manager will report results to the IDPH XDRO registry.  Results should also be phoned to the appropriate location.

Potential CRE Isolates

- Escherichia coli

- Klebsiella ssp.

- Any other Enterobacteriaceae

While waiting for the mCIM result, the meropenem and doripenem results for the isolate should not be reported in LIS if susceptible (okay to report of resistant). A comment should be entered stating “Possible CRE. Awaiting confirmation.” If the mCIM is positive, the meropenem should then be reported as resistant. The actual doripenem MIC should also be reported.  If the mCIM is negative, the meropenem and doripenem results should be resulted as reported by Microscan.  Report out Ertapenem if it is non-susceptible, whether it is confirmed by mCIM or not.

When reporting a CRE culture, please use the text code ENTCRE. This will report carbapenem resistant Enterobacteriaceae (CRE).

- PROCEDURAL NOTES/PROBLEM-SOLVING TIPS

- The mCIM focuses on the detection of carbapenemase-producing Klebsiella spp and E coli.

- The mCIM provides for a high level of sensitivity and specificity (both >90%) in detecting KPC-type carbapenemases.  The sensitivity and specificity of the test for detecting other carbapenemase production can vary.

- No data exist on the usefulness of these tests for detection of carbapenemase production in non-fermenting gram-negative bacilli such as Proteus, Pseudomonas, and Acinetobacter spp

- If only the ertapenem result is non-susceptible, please report result from Microscan with no mention or testing for CRE unless the patient is from the Quad-Cities, and then follow reporting section above.

- REFERENCES

- CLSI document M100-S23 pages 53-59.

- CDC 2012 CRE Toolkit documents

- CDC protocol for detection of CRE from rectal swabs

UnityPoint Methodist Laboratory is a CAP accredited facility.  As of 7/1/11, the responsibility of new and/or substantially revised policies and procedures will be restricted the Laboratory Director whose name appears on the CLIA certificate, whose signature appears below. The biennial review will be completed by the Administrative Director.

| DOCUMENT CREATION : |  |
| --- | --- |
| Author: Marsha Bishoff & Teresa Nuese | January 27, 2017 |
| Medical Director: Lori Racsa, DO | January 27, 2017 |

| MEDICAL DIRECTOR |  |  |
| --- | --- | --- |
| DATE | NAME | SIGNATURE |
| February 27, 2017 | Elizabeth A. Bauer-Marsh, M.D. |  |
| SECTION MEDICAL DIRECTOR |  |  |
| February 27. 2017 | Lori Racsa, DO |  |

| REVISION HISTORY |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 0 | Initial release | M. Bishoff | 1/27/17 |
| 1 | Added updates to reporting to the state | M. Bishoff | 7/10/18 |
| 2 | Removed Acinetobacter baumanni and Pseudomona aerguosa from reporting results | M. Bishoff | 8/29/18 |
| 3 | Reporting Results updated, Differentiating between Peoria and Quad Cities. | T. Gurewitz | 1/29/19 |

Reviewed by

| Lead | Date | Coordinator/Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
| Marsha Bishoff | 1/27/17 |  | 1/27/17 |  | 1/27/17 |
| Marsha Bishoff | 7/11/18 |  | 7/11/18 |  | 7/12/18 |
| Marsha Bishoff | 8/27/18 |  | 8/26/18 |  | 8/29/18 |
| Marsha Bishoff | 1/29/19 |  | 1/29/19 |  | 1/29/19 |