| METHODIST |  |  | Page # 1 of 5 | Section: UPM BBPOL | Policy #: 02.005 |
| --- | --- | --- | --- | --- | --- |
|  | BLOOD BANK PROCEDURE |  | Approved by: see signature block at end of document |  | Date: 5/29/19 Review by: 5/29/21 |
|  | LABORATORY |  | Policy Created: 5/18/09 Supersedes: 7/3/12, 8/7/12, 8/27/14, 7/21/16, 8/14/18, 5/6/19, 5/29/19 |  |  |
|  |  |  | Primary Responsible Parties: April Cannon Secondary Responsible Parties: June Bembenek |  |  |
|  |  |  | CAP Standard: NA |  |  |
| SUBJECT: |  | ANTIBODY TITRATION (AMERICAN RED CROSS SENDOUT) |  |  |  |

Principle

Antibody titration can provide information about the amount of antibody present in the plasma.  It is most frequently used in pre-natal studies.  An increase in the antibody titer during pregnancy can indicate that the antibody is stimulated by the fetus.

Clinical Significance

It is only necessary to perform titers on those antibodies which are clinically significant.

Policy Scope:

Blood Bank Technologists.

Specimen

Patient Preparation:

No special preparation of the patient is required prior to specimen collection.  Blood should be collected by approved techniques.

Requirements:

Two full K2 EDTA pink top tubes

Minimum Volume:

- Adult:  7.0 mL whole blood

Specimen Stability:

- If stored at 1-10°C, stable for 48 hours.

Storage:

- 1-10°C for 2 days.

Reagents

| Reagent | Storage | Stability |
| --- | --- | --- |
| Bovine Albumin 22% Solution, ImmucorGamma | 1-10°C | Exp date |
| Anti-IgG, Rabbit, BIO-RAD | 2-8°C | Exp date |
| Biotestcell 1 and 2, BIO-RAD | 2-8°C | Exp date |
| Biotestcell A,& B, BIO-RAD | 2-8°C | Exp date |
| Coombscell-E, BIO-RAD | 2-8°C | Exp date |

Instrumentation/Equipment

- Test tubes 12 x 75 mm

- Pipettes

- Centrifuge

- Pipettor and tips, 0.1 ml

Quality Control

To be performed once per day of testing:

| Reagent to be tested | Positive Reactivity | Negative Reactivity |
| --- | --- | --- |
| # Anti-IgG | Coombs Check Cells | Reagent A1 cell with anti-D, AHG Phase |

Procedure

- Before performing the titer, perform a tube antibody screen. Refer to procedure “Indirect Antiglobulin Test, Tube Method, UPM BBPRO 02.024”.

- If the screen is negative or microscopically positive:

DO NOT perform the titer because it will also be negative.  See reporting results. DO NOT send the specimen to the American Red Cross (ARC) for antibody titer testing.

- If the tube antibody screen is macroscopically positive, a gel antibody identification must be performed prior to titer testing.  DO NOT WAIT 30 DAYS TO REPEAT THE ANTIBODY ID.  PERFORM THE ANTIBODY ID EACH TIME.  Send the specimen to ARC for antibody titer testing.

Reporting Results

- If Gel panel is positive, the tube antibody screen is macroscopically positive, and titer negative, report AHG titer less than 1:1.

- If the GEL panel is positive and the tube antibody screen is only microscopically positive, do not do send the titer testing to ARC.

- Report the ARC titer result in the LIS with the comment ARC (TESTING PERFORMED AT THE AMERICAN RED CROSS, 405 W JOHN GWYNN JR. AVE, PEORIA, IL 61605).

Procedural Notes/Problem-Solving Tips

- It is not necessary to perform a titer on a sample drawn on labor patients unless the doctor requests it.

- When performing a titer on a patient previously tittered at UnityPoint Health Methodist, the frozen sample from the previous titer must be sent to ARC along with the new specimen to be tittered.

References

Roback, J.  Combs, M.  Grossman, B.  Hillyer, C.  AABB Technical Manual, 16th Ed.  Bethesda: AABB, 2008.  P.938.

| POLICY CREATION : |  |
| --- | --- |
| Author: Mary McCallister | July 11, 2003 |
| Medical Director: Douglas McGrady, MD | May 18, 2009 |

| REVISION HISTORY |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 1 | Minor formatting, added document ID to header. | S. Schaffer | 6/13/12 |
| 2 | Changed incubation time. | Kathy Turpin | 7/24/12 |
| 3 | Clarified computer instructions | Kathy Turpin | 07/31/12 |
| 4 | Changed the reagents to BIO-RAD. Changed the storage temperatures to 2-8. Changed serum to plasma. Changed tube antibody identification to gel antibody identification. Added note section to #3 of procedure. Changed test tubes from 10x75 to 12x75 | Kathy Turpin | 8/18/14 |
| 5 | Removed LIS specific references. | Kathy Turpin | 7/19/16 |
| 6 | Changed Antibody ID by Tube Method in Procedure #1 to Indirect Antiglobulin Test, Tube Method; Minor wording changes | June Bembenek | 5/6/19 |
| 7 | Added American Red Cross ARC sendout to title; Added ARC information | June Bembenek | 5/29/19 |

Reviewed

| Lead | Date | Coordinator/ Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
| K. Maher | 6/28/12 |  | 6/28/12 |  | 7/3/12 |
|  |  |  | 7/31/12 |  | 8/7/12 |
|  |  |  | 8/27/14 |  | 8/27/14 |
| V. Strow | 6/24/16 |  | 7/19/16 |  | 7/21/16 |
| L. Miller | 7/27/18 |  | 7/30/18 |  | 8/14/18 |
|  |  |  | 5/9/18 |  | 5/9/18 |
|  |  |  | 5/29/19 |  | 5/29/19 |