BBBP 7.0-Assigning/Unassigning Units to Specimens

- Principle

Non red blood cell products require no crossmatching prior to issue to the patient.  However, these products must be assigned to a specific patient in the hospital computer system.  This allows an issuing document to be printed and traceability of the product from receipt to final disposition.  Products may be unassigned to allow use for additional patients.

# General Policies

- Patients must have an ABO/Rh in previous 14 days to assign non-red blood cell products.

# Specimen Collection and Preparation

N/A

# Equipment

N/A

# Supplies

N/A

# Reagents

N/A

## Quality Control

N/A

## Safety

Refer to Chemical Hygiene and Blood Borne Pathogen Plan for Memorial Hospital Laboratory.

## Procedure

Assigning Units

- From the main desktop, open the BBK Unit desktop.

- Choose the Single option from the right menu bar.

- Choose Assign from the right menu bar.

- In the Specimen field:

  - Type A# and type H number from the order sheet OR

  - Type U# and type M number from the order sheet OR

  - Type the patient name and select current admission and desired order.

- In the Product field, enter the mnemonic for the ordered product.

  - This may be different from the product being assigned.  For example, FP is the ordered product, while T24 is the assigned product.

- Scan the barcode unit number attached to the product being assigned.

  - More than one (1) of the same product type may be assigned by scanning the unit number.

  - All information related to the product will default to the screen.

- When all desired products have been assigned, click the SAVE button to file.

- Click the Cancel button to bypass the printing requests.

Unassigning Units

- From the main desktop, open the BBK Unit desktop.

- Choose the Single option from the right menu bar.

- Choose Assign from the right menu bar.

- In the Specimen field:

  - Type A# and type H number from the order sheet OR

  - Type U# and type M number from the order sheet OR

  - Type the patient name and select current admission and desired order.

- In the Product field, enter the mnemonic for the ordered product.

  - All units currently assigned to this specimen will default to the screen.

  - Delete the desired product from the screen

- When all desired products have been unassigned, click the SAVE button to file.

## Reporting Results

- To print the crossmatch tag for the assigned product:

  - From the main desktop, open the BBK Unit desktop.

  - Choose the Single option from the right menu bar.

  - Choose Print Cards from the right menu bar.

  - Choose Crossmatch Card.

  - Scan the unit barcode and choose the desired product.

  - Click the OK button.

  - Enter the desired printer number - LABBBP03.

- Apply the crossmatch tag label to the back of the product.

  - Ensure that unit number on tag and product are identical.

## References

- Meditech Operator’s Manual.

PROCEDURE AND FORM CHANGE CONTROL

| #### Title: BBBP 7.0-Assigning/Unassigning Units to Specimens |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### Written |  | Validated |  | Path Review |  | Review |  | Effective |  | Reason for Revision |
| ##### Date | By | Date | By | Date | By | Date | By | Date | By |  |
| 9/10/10 | PAB | 9/12/10 | GJM | 9/20/10 | ESB |  |  | 10/1/10 | PAB |  |
| Revised |  |  |  |  |  |  |  |  |  |  |
| 12/3/10 | PAB | 12/28/10 | MLH | 12/28/10 | ESB |  |  | 1/10/11 | PAB | Updated for new tag format |
| 4/20/11 | PAB | 4/25/11 | MLH | 4/28/11 | ESB |  |  | 6/1/11 | PAB | Updated for new Meditech version |
|  |  |  |  |  |  | 8/2/12 | PAB |  |  |  |
|  |  |  |  |  |  | 4/4/13 | PAB |  |  |  |
|  |  |  |  |  |  | 4/1/14 | PAB |  |  |  |
| 1/21/15 | JLH |  |  |  |  |  |  | 1/21/15 | JLH | Removed references to coag factors. |

Location of any copy(s) of the procedure:

Out of use:

Date:_______________By:_______________Reason:___________________________