## Sheet1
COMPETENCY ASSESSMENT 6-MONTH _X____ ANNUAL - YEAR __________
NAME Joyce McCleod-Hughes_______________________ EMPLOYEE ID _ 11100___________
TEST SYSTEM | DO Pt Testing |  |  | DO Maintenance |  |  | Proficiency/ Unknown |  |  | Problem Solving (Quiz) |  |  | Supervisor Monitor |  |  | Supervisor Review |  |  | Reassessment
BLOOD BANK | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F
Manual Testing & Functions
ABORh |  |  |  | -- | -- | -- | 2016-02-18 | CAP | A | 2016-03-06 | JLH | A
ABORh (<6 mon age) |  |  |  | -- | -- | -- | -- | -- | --
Weak D typing |  |  |  | -- | -- | -- | -- | -- | --
Antibody Screen |  |  |  | -- | -- | -- | 2016-02-18 | CAP | A
Antibody Identification |  |  |  | -- | -- | -- | 2016-02-18 | CAP | A
Polyspecific DAT |  |  |  | -- | -- | --
IgG DAT |  |  |  | -- | -- | --
C3 DAT |  |  |  | -- | -- | --
Antigen Typing |  |  |  | -- | -- | -- | 2016-02-18 | CAP | A
Electronic Crossmatch |  |  |  | -- | -- | --
PEG-IgG Crossmatch |  |  |  | -- | -- | -- | 2016-02-18 | CAP | A
DRT - Fetal Screen | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | -- | -- | -- | -- | -- | -- | -- | -- | --
FHS - Kleihauer-Betke |  |  |  | -- | -- | --
Tx Reaction Workup | -- | -- | -- | -- | -- | -- | -- | -- | --
Emergency Release | -- | -- | -- | -- | -- | -- | -- | -- | --
Blood Components
Unit Inspection |  |  |  | -- | -- | -- | -- | -- | --
Unit Issue |  |  |  | -- | -- | -- | -- | -- | --
Conversion of FFP/Cryo |  |  |  | -- | -- | -- | -- | -- | --
Return to inventory |  |  |  | -- | -- | -- | -- | -- | --
Receipt of PRBCs |  |  |  | -- | -- | -- | -- | -- | --
Instrumetation
NEO operation | [6 empty] | -- | -- | --
ECHO operation | [6 empty] | -- | -- | --
Automated ABORh |  |  |  | -- | -- | --
Automated Aby Screen |  |  |  | -- | -- | --
Automated IgG DAT |  |  |  | -- | -- | --
Antibody Panel |  |  |  | -- | -- | -- | -- | -- | --
Crossmatch-NEO/Echo | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
DO = Direct Observation. Observer must date and initial for completion of task.
Supervisory monitor = supervisory monitoring of records, results, critical values
Supervisory Review = supervisory review of worksheets, QC, proficiency results, PM records
A = Demonstrates competency
F = Fails to demonstrate competency. Documented retraining and reassessment must follow.
ADMINISTRATIVE DIRECTOR REVIEW _____________________________________ DATE _________________
MEDICAL DIRECTOR REVIEW ____________________________________________ DATE _________________