## Sheet1
COMPETENCY ASSESSMENT 6-MONTH _____ ANNUAL - YEAR ____X______
NAME Anita Konieczny_______________________ EMPLOYEE ID _ 05178___________
TEST SYSTEM | DO Pt Testing |  |  | DO Maintenance |  |  | Proficiency/ Unknown |  |  | Problem Solving (Quiz) |  |  | Supervisor Monitor |  |  | Supervisor Review |  |  | Reassessment
BLOOD BANK | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F
Manual Testing & Functions
ABORh | 2015-11-30 | KMS | A | -- | -- | -- | 2016-02-17 | CAP | A
ABORh (<6 mon age) | 2015-11-24 | BRR | A | -- | -- | -- | -- | -- | --
Weak D typing | 2016-01-29 | MLH | A | -- | -- | -- | -- | -- | --
Antibody Screen | 2015-11-30 | KMS | A | -- | -- | -- | 2016-02-17 | CAP | A
Antibody Identification | -- | -- | -- | -- | -- | -- | 2016-02-17 | CAP | A
Polyspecific DAT | 2016-02-25 | KMS | A | -- | -- | -- | 2016-02-25 | CAP | A
IgG DAT |  |  |  | -- | -- | --
C3 DAT |  |  |  | -- | -- | --
Antigen Typing | 2015-12-11 | JGM | A | -- | -- | -- | 2016-02-17 | CAP | A
Electronic Crossmatch | 2015-11-24 | BRR | A | -- | -- | -- | 2016-02-17 | CAP | A
PEG-IgG Crossmatch |  |  |  | -- | -- | -- | 2016-02-17 | CAP | A
DRT - Fetal Screen | 2015-12-09 | BRR | A | -- | -- | --
FHS - Kleihauer-Betke |  |  |  | -- | -- | -- | 2016-03-18 | CAP | A
Tx Reaction Workup | -- | -- | -- | -- | -- | -- | -- | -- | --
Emergency Release | -- | -- | -- | -- | -- | -- | -- | -- | --
Blood Components
Unit Inspection | 2015-12-30 | BRR | A | -- | -- | -- | -- | -- | --
Unit Issue | 2015-11-24 | BRR | A | -- | -- | -- | -- | -- | --
Conversion of FFP/Cryo |  |  |  | -- | -- | -- | -- | -- | --
Return to inventory |  |  |  | -- | -- | -- | -- | -- | --
Receipt of PRBCs | 2015-12-30 | BRR | A | -- | -- | -- | -- | -- | --
Instrumetation
NEO operation | 2015-11-24 | BRR | A | 2016-01-27 | KMS | A | -- | -- | --
ECHO operation | 2015-11-24 | KMS | A | 2015-11-24 | BRR | A | -- | -- | --
Automated ABORh | 2015-12-30 | BRR | A | -- | -- | --
Automated Aby Screen | 2015-12-11 | JGM | A | -- | -- | --
Automated IgG DAT | 2015-11-24 | BRR | A | -- | -- | -- | 2016-03-11 | JLH | A
Antibody Panel | 2015-12-01 | JGM | A | -- | -- | -- | -- | -- | --
Crossmatch-NEO/Echo | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
Continuing Education | [12 empty] | ü when completed
(Record what area (Chem, Heme, Micro, BB) it was in) | Record description of activity or title of article, module, or conference | [11 empty] | ü | Date | Init
Hour 1- | [12 empty] | P | 2016-01-02 | ALK
Hour 2- | [12 empty] | P | 2016-01-02 | ALK
Hour 3- | [12 empty] | P | 2015-12-30 | ALK
Hour 4- | [12 empty] | P | 2015-12-30 | ALK
DO = Direct Observation. Observer must date and initial for completion of task.
Supervisory monitor = supervisory monitoring of records, results, critical values
Supervisory Review = supervisory review of worksheets, QC, proficiency results, PM records
A = Demonstrates competency
F = Fails to demonstrate competency. Documented retraining and reassessment must follow.
ADMINISTRATIVE DIRECTOR REVIEW _____________________________________ DATE _________________
MEDICAL DIRECTOR REVIEW ____________________________________________ DATE _________________