## Sheet1
COMPETENCY ASSESSMENT 6-MONTH _____ ANNUAL - YEAR ___X_______
NAME Joyce McCleod-Hughes_______________________ EMPLOYEE ID _ 11100___________
TEST SYSTEM | DO Pt Testing |  |  | DO Maintenance |  |  | Proficiency/ Unknown |  |  | Problem Solving (Quiz) |  |  | Supervisor Monitor |  |  | Supervisor Review |  |  | Reassessment
BLOOD BANK | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F
Manual Testing & Functions
ABORh |  |  |  | -- | -- | -- |  |  |  | 2016-06-10 | JLH | A
ABORh (<6 mon age) |  |  |  | -- | -- | -- | -- | -- | --
Weak D typing |  |  |  | -- | -- | -- | -- | -- | --
Antibody Screen |  |  |  | -- | -- | --
Antibody Identification | -- | -- | -- | -- | -- | --
Polyspecific DAT | 2016-06-16 | NLS | A | -- | -- | -- | 2016-06-16 | JLH | A |  |  |  | 2016-08-05 | JLH | A | 2016-08-05 | JLH | A | NA | NA | NA
IgG DAT |  |  |  | -- | -- | -- | 2016-06-16 | JLH | A
C3 DAT | 2016-06-16 | NLS | A | -- | -- | -- | 2016-06-16 | JLH | A |  |  |  | 2016-08-05 | JLH | A | 2016-08-05 | JLH | A | NA | NA | NA
Antigen Typing |  |  |  | -- | -- | --
Electronic Crossmatch |  |  |  | -- | -- | -- | -- | -- | --
PEG-IgG Crossmatch | 2016-07-20 | DMI | A | -- | -- | -- | 2016-07-20 | JLH | A |  |  |  | 2016-08-05 | JLH | A | 2016-08-05 | JLH | A | NA | NA | NA
DRT - Fetal Screen | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | -- | -- | -- | -- | -- | -- | -- | -- | --
FHS - Kleihauer-Betke |  |  |  | -- | -- | --
Tx Reaction Workup | -- | -- | -- | -- | -- | -- | -- | -- | --
Emergency Release | -- | -- | -- | -- | -- | -- | -- | -- | --
Blood Components
Unit Inspection | 2016-07-20 | DMI | A | -- | -- | -- | -- | -- | --
Unit Issue |  |  |  | -- | -- | -- | -- | -- | --
Conversion of FFP/Cryo |  |  |  | -- | -- | -- | -- | -- | --
Return to inventory |  |  |  | -- | -- | -- | -- | -- | --
Receipt of PRBCs | 2016-07-20 | DMI | A | -- | -- | -- | -- | -- | -- |  |  |  | 2016-08-05 | JLH | A | 2016-08-05 | JLH | A | NA | NA | NA
Instrumetation
NEO operation |  |  |  | 2016-07-20 | DMI | A | -- | -- | --
ECHO operation |  |  |  | 2016-07-20 | DMI | A | -- | -- | --
Automated ABORh |  |  |  | -- | -- | -- | 2016-06-15 | JLH | A
Automated Aby Screen |  |  |  | -- | -- | -- | 2016-06-15 | JLH | A
Automated IgG DAT |  |  |  | -- | -- | -- | 2016-06-16 | JLH | A
Antibody Panel | -- | -- | -- | -- | -- | -- | -- | -- | --
Crossmatch-NEO/Echo | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
Continuing Education | [12 empty] | ü when completed
(Record what area (Chem, Heme, Micro, BB) it was in) | Record description of activity or title of article, module, or conference | [11 empty] | ü | Date | Init
Hour 1-
Hour 2-
Hour 3-
Hour 4-
DO = Direct Observation. Observer must date and initial for completion of task.
Supervisory monitor = supervisory monitoring of records, results, critical values
Supervisory Review = supervisory review of worksheets, QC, proficiency results, PM records
A = Demonstrates competency
F = Fails to demonstrate competency. Documented retraining and reassessment must follow.
ADMINISTRATIVE DIRECTOR REVIEW _____________________________________ DATE _________________
MEDICAL DIRECTOR REVIEW ____________________________________________ DATE _________________