## Sheet1
COMPETENCY ASSESSMENT 6-MONTH _____ ANNUAL - YEAR ____2017______
NAME Glenda Martiszus_______________________ EMPLOYEE ID _ 01015___________
TEST SYSTEM | DO Pt Testing |  |  | DO Maintenance |  |  | Proficiency/ Unknown |  |  | Problem Solving (Quiz) |  |  | Supervisor Monitor |  |  | Supervisor Review |  |  | Reassessment
BLOOD BANK | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F
Manual Testing & Functions
ABORh | 2016-11-25 | KMS | A | -- | -- | -- | 2016-11-22 | CAP | A | 2017-08-19 | JLH | A | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
ABORh (<6 mon age) | 2016-12-09 | KMS | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Weak D typing | 2017-03-13 | CPZ | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Antibody Screen | 2016-11-25 | KMS | A | -- | -- | -- | 2016-11-22 | CAP | A |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Antibody Identification | -- | -- | -- | -- | -- | -- | 2016-11-22 | CAP | A |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Polyspecific DAT | 2017-03-13 | CPZ | A | -- | -- | -- | 2017-03-24 | JLH | A |  |  |  | 2017-04-18 | JLH | A | 2017-04-18 | JLH | A | NA | NA | NA
IgG DAT | 2016-12-12 | KMS | A | -- | -- | -- | 2017-03-24 | JLH | A |  |  |  | 2017-04-18 | JLH | A | 2017-04-18 | JLH | A | NA | NA | NA
C3 DAT | 2017-03-13 | CPZ | A | -- | -- | -- | 2017-03-24 | JLH | A |  |  |  | 2017-04-18 | JLH | A | 2017-04-18 | JLH | A | NA | NA | NA
Antigen Typing | 2017-01-25 | KMS | A | -- | -- | -- | 2016-11-22 | CAP | A |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Electronic Crossmatch | 2016-11-17 | KMS | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
PEG-IgG Crossmatch | 2017-05-09 | KMS | A | -- | -- | -- | 2016-11-22 | CAP | A |  |  |  | 2017-08-25 | JLH | A | 2017-08-25 | JLH | A | NA | NA | NA
DRT - Fetal Screen | 2017-03-13 | CPZ | A | -- | -- | -- | 2017-03-24 | JLH | A |  |  |  | 2017-04-18 | JLH | A | 2017-04-18 | JLH | A | NA | NA | NA
FHS - Kleihauer-Betke | 2017-06-06 | KMS | A | -- | -- | -- | 2017-03-28 | JLH | A |  |  |  | 2017-08-25 | JLH | A | 2017-08-25 | JLH | A | NA | NA | NA
Tx Reaction Workup | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | 2017-08-25 | JLH | A | 2017-08-25 | JLH | A | NA | NA | NA
Emergency Release | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | 2017-08-25 | JLH | A | 2017-08-25 | JLH | A | NA | NA | NA
Blood Components
2nd person unit check | 2016-11-17 | KMS | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Unit Issue | 2016-11-17 | KMS | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Conversion of FFP/Cryo | 2017-03-31 | CPZ | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-04-18 | JLH | A | 2017-04-18 | JLH | A | NA | NA | NA
Return to inventory | 2016-12-12 | KMS | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Receipt of PRBCs | 2016-11-25 | KMS | A | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Instrumetation
NEO operation | 2016-11-17 | KMS | A | 2016-11-17 | KMS | A | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
ECHO operation | 2016-11-17 | KMS | A | 2016-11-17 | KMS | A | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Automated ABORh | 2016-11-17 | KMS | A | -- | -- | -- | 2017-03-14 | CAP | A |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Automated Aby Screen | 2016-11-17 | KMS | A | -- | -- | -- | 2017-03-14 | CAP | A |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Automated IgG DAT | 2016-12-12 | KMS | A | -- | -- | -- | 2017-03-24 | JLH | A |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Antibody Panel | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | 2017-03-24 | JLH | A | 2017-03-24 | JLH | A | NA | NA | NA
Crossmatch-NEO/Echo | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
Continuing Education | [12 empty] | ü when completed
(Record what area (Chem, Heme, Micro, BB) it was in) | Record description of activity or title of article, module, or conference | [11 empty] | ü | Date | Init
Hour 1- | See file
Hour 2- | See file
Hour 3- | See file
Hour 4- | See file
DO = Direct Observation. Observer must date and initial for completion of task.
Supervisory monitor = supervisory monitoring of records, results, critical values
Supervisory Review = supervisory review of worksheets, QC, proficiency results, PM records
A = Demonstrates competency
F = Fails to demonstrate competency. Documented retraining and reassessment must follow.
Task Item does not require a direct observation form attached
ADMINISTRATIVE DIRECTOR REVIEW _____________________________________ DATE _________________
MEDICAL DIRECTOR REVIEW ____________________________________________ DATE _________________