## Sheet1
COMPETENCY ASSESSMENT 6-MONTH _____ ANNUAL - YEAR ____2017______
NAME Janice Henry_______________________ EMPLOYEE ID _ 12810___________
TEST SYSTEM | DO Pt Testing |  |  | DO Maintenance |  |  | Proficiency/ Unknown |  |  | Problem Solving (Quiz) |  |  | Supervisor Monitor |  |  | Supervisor Review |  |  | Reassessment
BLOOD BANK | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F | Date | Init | A/F
Manual Testing & Functions
ABORh |  |  |  | -- | -- | -- | 2017-04-03 | JLH | A | 2017-08-12 | JLH | A | [6 empty] | NA | NA | NA
ABORh (<6 mon age) |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
Weak D typing |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
Antibody Screen |  |  |  | -- | -- | -- | 2017-04-03 | JLH | A | [9 empty] | NA | NA | NA
Antibody Identification | -- | -- | -- | -- | -- | -- | SEE QUIZ | JLH | A | [9 empty] | NA | NA | NA
Polyspecific DAT |  |  |  | -- | -- | -- | 2017-04-03 | JLH | A | [9 empty] | NA | NA | NA
IgG DAT |  |  |  | -- | -- | -- | 2017-04-03 | JLH | A | [9 empty] | NA | NA | NA
C3 DAT |  |  |  | -- | -- | -- | 2017-04-03 | JLH | A | [9 empty] | NA | NA | NA
Antigen Typing |  |  |  | -- | -- | -- | 2017-04-03 | JLH | A | [9 empty] | NA | NA | NA
Electronic Crossmatch |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
PEG-IgG Crossmatch |  |  |  | -- | -- | -- | 2017-04-03 | JLH | F | [9 empty] | 2017-04-05 | JLH | A
DRT - Fetal Screen | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | -- | -- | -- | -- | -- | -- | -- | -- | --
FHS - Kleihauer-Betke |  |  |  | -- | -- | -- | 2017-04-03 | JLH | A | [9 empty] | NA | NA | NA
Tx Reaction Workup | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | 2017-08-25 | JLH | A | 2017-08-25 | JLH | A | NA | NA | NA
Emergency Release | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | 2017-08-25 | JLH | A | 2017-08-25 | JLH | A | NA | NA | NA
Blood Components
2nd person unit check |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
Unit Issue |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
Conversion of FFP/Cryo |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
Return to inventory |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
Receipt of PRBCs |  |  |  | -- | -- | -- | -- | -- | -- | [9 empty] | NA | NA | NA
Instrumetation
NEO operation | [6 empty] | -- | -- | -- | [9 empty] | NA | NA | NA
ECHO operation | [6 empty] | -- | -- | -- | [9 empty] | NA | NA | NA
Automated ABORh |  |  |  | -- | -- | -- | 2016-11-22 | CAP | A | [9 empty] | NA | NA | NA
Automated Aby Screen |  |  |  | -- | -- | -- | 2016-11-22 | CAP | A | [9 empty] | NA | NA | NA
Automated IgG DAT |  |  |  | -- | -- | -- | 2017-03-24 | JLH | A | [9 empty] | NA | NA | NA
Antibody Panel | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  |  | 2017-08-25 | JLH | A | 2017-08-25 | JLH | A | NA | NA | NA
Crossmatch-NEO/Echo | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
Continuing Education | [12 empty] | ü when completed
(Record what area (Chem, Heme, Micro, BB) it was in) | Record description of activity or title of article, module, or conference | [11 empty] | ü | Date | Init
Hour 1-
Hour 2-
Hour 3-
Hour 4-
DO = Direct Observation. Observer must date and initial for completion of task.
Supervisory monitor = supervisory monitoring of records, results, critical values
Supervisory Review = supervisory review of worksheets, QC, proficiency results, PM records
A = Demonstrates competency
F = Fails to demonstrate competency. Documented retraining and reassessment must follow.
Task Item does not require a direct observation form attached
ADMINISTRATIVE DIRECTOR REVIEW _____________________________________ DATE _________________
MEDICAL DIRECTOR REVIEW ____________________________________________ DATE _________________