|  |  |  |
| --- | --- | --- |
| **Date: 24/07/2023** | **Time: 1400** | **Location: SDMH** |
| **Attendance:** | **NX EC JPC** |

1. **Standing Items:**

| **Agenda Item #** | **Discussion**  | **Action Required** | **Person Responsible**  | **Due Date** |
| --- | --- | --- | --- | --- |
| 1. **General Housekeeping**
 |  |  |  |  |
| 1. **Internal QC**
 |  |  |  |  |
| 1. **QAP**
 | All hard copy RCPA QAP printouts must be kept for four years in my office. |  |  |  |
| 1. **Equipment**
 | 24/07/23 c4000 had a breakdown error 3841 High Concentration Waste Pump Homing Failure | Engineer called. |  |  |
| 1. **Tests/Methods**
 |  |  |  |  |
| 1. **Quality Management Review**
 | Missing blood products such as Albumin | Email search SDMH AHC.This is SDMHOOHC@alfred.org.auThey usually know if products have been removed from the fridge. |  |  |
| 1. **Document/ SOP Updates**
 | CD\_SA\_0323 Coag backups |  | All |  |
| 1. **Haematology**
 | Coagulation Internal Audit noticed weekly maintenance form was not checked. | Remember to check off the maintenance form when performing the daily and weekly maintenance on all analysers. | All |  |
| 1. **Blood Bank**
 | Old panel SheetsKeeping track of Emergency O negs that are downstairs | File in the BB QC folder in John’s office.Continue to use the old form CD\_SA\_0094. This will require you to write the unit numbers on the dedicated O Neg form downstairs in the issue folder AND use the old CD\_SA\_0094 Issue of uncrossmatched O Neg Packed Cells. |  |  |
| 1. **Biochemistry**
 |  |  |  |  |
| 1. **Work Health & Safety Issues/ Incidents**
 |  |  |  |  |
| 1. **Staff Training**
 |

|  |
| --- |
| Use the H:\shared\Haematology\Staff continuing education to record your ongoing training. |

 |  |  |  |
| 1. **Staff Competency Assessments**
 |  |  |  |  |
| 1. **Continuing Education Program**
 |  |  |  |  |
| 1. **Hospital activities/ meetings.**
 |  |  |  |  |
| 1. **Other**
 |  |  |  |  |
| 1. **New Business**
 |  |  |  |  |

# Date of Next Meeting: