PinnacleHealth System

Laboratory – Point of Care Department

Fern Testing and pH (Nitrazine) Assessment

Fern Testing

T	F   1. Blood, urine, soaps, infection or cervical mucous in the sample may cause false positive results.

T	F   2. False negative results can be seen with prolonged rupture of membranes (longer than 24 hours).

T	F   3. Very small quantities of amniotic fluid in the vaginal area may also cause a false negative result.

T	F   4. After the sample is applied to the slide, the slide must be heated for crystals to form.

T	F   5. A positive test indicates leakage of amniotic fluid.

pH (Nitrazine)

T	F   1. Urine and vaginal secretions have a basic pH.

T	F   2. A pH above 6.5 is often indicative of amniotic fluid and therefore membrane rupture.

T	F   3. Quality Control on the pH (Nitrazine) paper is to be performed each week of patient testing

T	F   4.  False negative results can be produced if only a small quantity of fluid has leaked.

T	F   5. Amniotic fluid has an acidic pH.

|  | CRITICAL BEHAVIOR | Completed |
| --- | --- | --- |
| 1. | Provider has read the procedures and is knowledgeable of their location |  |
| 2. | Successfully completes written examination and online Wisconsin State Lab of Hygiene competency assessment program |  |
| 3. | Has been directly observed successfully demonstrating skills and steps necessary to perform a patient test (patient ID and preparation, specimen collection and labeling, handling, processing and testing) |  |
| 4. | Performs instrument maintenance and function checks |  |
| 5. | Properly documents patient and quality control results |  |

| Competency Achieved |  |  | Yes |  | No |
| --- | --- | --- | --- | --- | --- |

Staff Member Signature:  							 Date:

Evaluator Signature:  								 Date: