## Sheet1
MNEMONIC | TRANSCRIPTION | NOTES
CLOT | Specimen clotted. Called to: Doctor MD notified by Tech Name on Date at Time.
DO | Duplicate order
FAIL | Failure to follow procedure . Please recollect and retest. Doctor MD notified on Date at Time by Tech Name. | Reagent pad is not checked off, double entry of dipstick
HEMOLYZED | Specimen hemolyzed. Called to: Doctor MD: by Tech Name on Date at Time
IMP1 | Improperly collected specimen | Blue tube not filled, wrong collection container
LABEL | Mislabeled specimen identified by Doctor MD. Please disregard results as these belong to a different patient. Doctor MD notified on Date at Time by Tech Name. | Use only when specimens have been resulted
LEAKING | Leaking specimen. . Called to: Doctor MD: by Tech Name on Date at Time.
LINE | Test cancelled line draw specimen not received. Called to: Doctor MD: by Tech Name on Date at Time.
LIPEMIC | Lipemic specimen. . Called to: Doctor MD: by Tech Name on Date at Time.
MISLABEL | Specimen or Point of Care testing report not labeled or improperly labeled. . Called to: Doctor MD: by Tech Name on Date at Time. | Unlabelled tubes, unlabeled POC. We track by filing RL solutions/incident reports
NOTRECEIVE | Test cancelled specimen not received. . Called to: Doctor MD: by Tech Name on Date at Time.
NOURINE | No urine cup or gray top submitted for sediment. Doctor MD: by Tech Name on Date at Time.
QCPOC1 | Test results should be disregarded and repeated. QC results were invalid/incomplete. Doctor MD notified on Date at Time by Tech Name. | POC has no QC done (Guaic), wrong QC entry.
QNS1 | Quantity not sufficient. Called to: Doctor MD: by Tech Name on Date at Time. | DO not use this for under filled blue top
SOLID1 | Solid stool is not an FDA approved source for C. Difficile testing. Doctor MD: by Tech Name on Date at Time.
STABILITY | Specimen outside of stability limits. Doctor MD: by Tech Name on Date at Time. | For add-on, consult tech. Specimens unable to determine collection time, specimen outside of testing acceptability. Do not use for old urine.
TRANSPORT | Improperly transported specimen. Doctor MD: by Tech Name on Date at Time. | Not on ice, not kept at correct temp, broken tubes
UA1 | Microscopic sediment analysis not performed due to collection time > 4 hrs old. If clinically indicated, please submit a fresh specimen for microscopic analysis. Doctor MD notified on Date at Time by Tech Name. | Do not use STABILITY
UNPHL | Unsuccessful phlebotomy. Doctor MD notified by Tech Name on Date at Time. | Each phlebotomist only tries twice. Only 2 tech try each patient for a total of 4 draws.