## Slide 1: Un-received specimens
Michell McAdams & Emily Gehring
09/2012

## Slide 2: Un-received specimens
You may have a sample that is not received. The following slides takes you step-by-step on how to receive the sample from Multiple Records Posting.

## Slide 3: Un-received specimens
Specimen Un-Received will display a message seen below.

## Slide 4: Un-received specimens
Bridge to Oder Entry

## Slide 5: Un-received specimens
Once in Order Entry – Click on “Specimen” tab

## Slide 6: Un-received specimens
Receive specimen into Lab

## Slide 7: Un-received specimens
Click OK

## Slide 8: Un-received specimens
Save changes

## Slide 9: Un-received specimens
Yes to save changes

## Slide 10: Un-received specimens
Return to the Sysmex Instrument Interface
At the Interface, Click Continue or (F12) for a Normal Specimen or Partial (Ctrl +B) for an Abnormal Specimen to resume standard operation for Sysmex Workstation

## Slide 11: Un-received specimens
Single Records Posting a box will pop up stating the specimen in not received.
  Click on Order Entry Icon
  Go to Specimen tab
  Receive specimen
  Save
  X out and go back to posting results

## Slide 12: Un-received specimens
The End
