## Slide 1: RBC’s
Morphology, Grading
And
Artifacts
By: Emily Gehring
&
Michell McAdams
01/2013

## Slide 2: Normal RBC’s
RBC’s Seen on 50X

## Slide 3: RBC Morphologic Characteristics
- - - - - - SHAPES - - - - - -
Anisocytosis
Macrocytes
Microcytes
Acanthocytes
Burr Cells
Elliptocytes (Ovalocytes)
Stomatocytes
Sickle Cells
Target Cells
Tear Drops
Spherocytes
Schistocytes
RBC Agglutination
RBC Rouleaux
- - - - - - Color - - - - - -
Hypochromia
Basophilic Stippling
Polychromatophilia
- - - - - - Inclusions - - - - - -
NRBCs
Howell-Jolly Bodies
Pappenheimer Bodies
Hemoglobin Crystals

## Slide 4: Anisocytosis
RDW - CV Guide (g/dL)
Slt = 15-18, or 4-20 cells per 50X field
Mod = 18-24, or 21-40 cells per 50X field
Mrk = > 25, or >40 cells per 50X field
Only use RDW as a guide
Interferences distort values

## Slide 5: Aniso Grading
OCC
SLT
MOD
MKD

## Slide 6: Macrocytosis
APPEARANCE: larger than a normal red blood cell, round or oval shape; oval forms have sides that are not parallel to each other normal hemoglobinization; no polychromasia

## Slide 7: Macrocytes
Use the MCV as a guide
Slt = 100-110 fL
Mod = 111-120 fL
Mrk = >120 fL
Use the Lymph Nucleus to compare to RBC’s

## Slide 8: Macrocyte Grading
OCC
SLT
MOD
MKD

## Slide 9: Microcytes
APPEARANCE: smaller than a normal RBC with cytoplasm that is hypochromic with a central pallor > 1/3 of RBC diameter, some cells contain so little HGB that they are “ghost cells”

## Slide 10: Microcytes
Use the MCV as a guide
Slt = 79-70 fL
Mod = 69-60 fL
Mrk = < 60 fL
Use the Lymph Nucleus to compare to RBC’s

## Slide 11: Microcyte Grading
OCC
SLT
MOD
MKD

## Slide 12: Anemia Graph

## Slide 13: Acanthocytes
APPEARANCE: Crenated RBC with very spiny, irregular projections unevenly spaced with no central pallor

## Slide 14: Acanthocytes
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-10
Mod = 11-20
Mkd = > 20

## Slide 15: Acanthocytes Grading
OCC
SLT
MOD
MKD

## Slide 16: Burr Cells (Echinocytes)
APPEARANCE: evenly distributed short blunt projections uniformly sized with a central pallor.

## Slide 17: Burr Cells
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-20
Mod = 21-40
Mkd = > 40

## Slide 18: Burr Cell Grading
OCC
SLT
MOD
MKD

## Slide 19: Acanthocytes vs. Burr Cells
Irregular Projections without Central Pallor
Uniform Projections with Central Pallor

## Slide 20: Eliptocytes (Ovalocytes)
APPEARANCE: usually longer than a normal red cell and much more narrow, with a uniform rod shape.
Hemolytic anemia subtypes have microelliptocytes, comma-shaped and teardrop forms
Ovalocytes in excess of 10% suggest hereditary ovalocytosis (> 25% is diagnostic)

## Slide 21: Eliptocytes (Ovalocytes)
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-20
Mod = 21-40
Mkd = > 40

## Slide 22: Eliptocyte Grading
OCC
SLT
MOD
MKD

## Slide 23: Stomatocytes
APPEARANCE: RBC with a slit as a central pallor with normochromic cytoplasma, few cells may have tri-polar pallor creating cells that resemble sleigh bells. May swell as intracellular water increases; MCV increases (up to 150 fL) and MCHC decreases

## Slide 24: Stomatocytes
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-20
Mod = 21-40
Mkd = > 40

## Slide 25: Stomatocyte Grading
OCC
SLT
MOD
MKD

## Slide 26: Sickle Cells
APPEARANCE: Usually a thin crescent shaped cell, with points on both ends, may also be crescent-shaped, boat-shaped, filament shaped, holly-leaf form (rarely) and envelope shaped. There is no central pallor; very dense HGB concentration (normochromic to hyperchromic)
The blood in sickle cell anemia show a normochromic-normocytic anemia as well as ovalocytes, target cells, polychromsia, basophilic stippling, NRBCs, and if autosplenectomy has occurred, Howell-Jolly bodies and Pappenheimer bodies; there is also a leukocytosis and thrombocytosis; modest eosinophillia is common; abnormal HGB ELP with an increase in HGB-S and the presence of HGB-F; HGB A2 is normal but HGB-A is absent.

## Slide 27: Sickle Cells
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-20
Mod = 21-40
Mkd = > 40

## Slide 28: Sickle Cell Grading
OCC
SLT
MOD
MKD

## Slide 29: Target Cells
APPEARANCE: RBCs have a bull’s-eye appearance due to an increased surface membrane to volume ratio. AKA : codocyte

## Slide 30: Target Cells
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-20
Mod = 21-40
Mkd = > 40

## Slide 31: Target Cell Grading
OCC
SLT
MOD
MKD

## Slide 32: Teardrops
APPEARANCE: Round cells with elongated tail or point; resembles a teardrop

## Slide 33: Teardrops
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-20
Mod = 21-40
Mkd = > 40

## Slide 34: Teardrop Grading
OCC
SLT
MOD
MKD

## Slide 35: Spherocytes
APPEARANCE: Cells appear perfectly round and have no central pallor. They are often smaller than normal RBCs.

## Slide 36: Spherocytes
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-10
Mod = 11-20
Mkd = > 20

## Slide 37: Spherocyte Grading
OCC
SLT
MOD
MKD

## Slide 38: Schistocytes
APPEARANCE: Pieces of RBCs that can have vast variety of sizes and shapes, shapes that vary from helmet to triangular to unclassified fragments.

## Slide 39: Schistocytes
Grading Criteria per 50X Field
Occ = 1-3
Slt = 4-10
Mod = 11-20
Mkd = > 20

## Slide 40: Schistocyte Grading
OCC
SLT
MOD
MKD

## Slide 41: Hypochromia
Size: microcytic or macrocytic cells
Cytoplasm: hypochromic with central pallor > 1/3 of RBC diameter (increased central pallor); some cells contain so little HGB that they are “ghost cells”

## Slide 42: Hypochromia Grading
Grading Criteria per 50X Field using the MCHC
Slt = 32-30
Mod = 30-28
Mkd = <28

## Slide 43: Polychromasia
Appearance: Diffused basophilia, polychromatophilic RBCs that are slightly larger to much larger than mature RBCs

## Slide 44: Polychromasia
Grading Criteria per 50X Field
Occ = 1-2
Slt = 3-5
Mod = 6-8
Mkd = > 8

## Slide 45: Polychromasia Grading
OCC
SLT
MOD
MKD

## Slide 46: Basophilic Stippling
DESCRIPTION: Medium sized, blue-black dots (granules) uniformly throughout RBCs. Differentiated from pappenheimer bodies because of a more uniform shape but mainly because they are evenly dispersed throughout the RBC.

## Slide 47: Basophilic Stippling
Grading Criteria per 50X Field
Occ = 1-2
Slt = 3-5
Mod = 6-8
Mkd = > 8

## Slide 48: Basophilic Stippling Grading
OCC
SLT
MOD
MKD

## Slide 49: NRBC’s
Appearance: RBC with small, dense pyknotic nucleus; nucleated RBC that is slightly larger than a normal RBC; the nucleus is small pyknotic with dense chromatin.

## Slide 50: NRBC’s
NRBC’s are counted as a % of 100 cell count
NOTE: If you have NRBCs present check your final WBC count and make sure it correlates with what you are seeing on the slide.

## Slide 51: Agglutination
DESCRIPTION: irregular overlapping of red blood cells in a clump or cluster; length and width of this arrangement is usually about the same; this effect usually disappears with warming of the sample

## Slide 52: Agglutination
Grading on 50X:
Either Absent or Present

## Slide 53: Rouleaux
Description: linear arrangement of four or more red blood cells, simulating a "stack of coins"; length of arrangement is much greater than width and cells form a regular, uniform pattern

## Slide 54: Rouleaux
Grading on 50X:
Either Absent or Present

## Slide 55: Howell – Jolly Bodies
APPEARANCE: Large singular dark purple inclusion, spherical or oblong blue-purple or blue-black inclusion; eccentrically located (off center). AKA : nuclear fragment; HJ bodies

## Slide 56: Howell – Jolly Bodies
Grading on 50X:
Either Absent or Present

## Slide 57: Pappenheimer Bodies
Appearance: blue-purple granules with irregular, sharp edges (not round); usually found along the periphery of the cell; one or two irregular small blue-purple-green granules; if present in multiples, they form irregular closely aggregated clusters. Visible on Wright stain; iron stain positive – which is a presumptive identification.

## Slide 58: Pappenheimer Bodies
Grading on 50X:
Either Absent or Present
If unsure, make a new slide and do an iron stain

## Slide 59: Hemoglobin “C” Crystals
Appearance : Dense staining, angular crystalline form that varies in shape; may be rectangular rod shaped, tetragonal, octahedral crystal (Washington monument, gold bar, clam shell); spherocytic, rhomboid, hexagon or bird wings; RBC often pale or colorless; there is generally a clear area around the crystal; some RBCs may be “envelope forms” which resemble a clam-shell; this type of crystal is also seen in thalassemias and sickling disorders.

## Slide 60: Hemoglobin “SC” Crystals (glove cells)
For crystals if it is the 1st time seen it must be put up for review, after that a comment can be put under the RBC field about crystals seen.

## Slide 61: ~The End~
Reference: Glassy, Eric M.D., Color Atlas of Hematology