## Slide 1: H. Pylori Breath Test
Collection instructions

## Slide 2: H. pylori Breath Test Preparation
Form is provided to the patient prior to making the appointment for collection

## Slide 3: Step 1: Pre-Collection Verification
Review the questions with the patient at check-in collection instructions
If the patients answers “Yes” to the sensitivity question or any of the medication questions, then the H. pylori Breath Test cannot be collected.

## Slide 4: Step 2: Confirmation of Supplies
Package insert
Collection instructions
Pediatric collection card
Pranactin® Citric packet
Bar-codes
Breath collection bags
Plastic container
Straw
Transport bag
Open kit and confirm all supplies are present

## Slide 5: Pediatric Patients 3 – 17 Years of Age
The pediatric patient card included in the kit must be completed and sent with the specimens when the patient is between 3 – 17 years of age

## Slide 6: Step 3: Baseline Specimen Collection
The patient must breath normal
Have them take a deep breath in and hold for 4-5 seconds and exhale into the baseline bag
Replace cap firmly until it clicks
Document collector initials and time on the LIS label
Place LIS label on baseline collection bag

## Slide 7: Step 4: Solution Preparation
First, add Promactin-Citric (powder)
Add water to fill line
Shake for 2 minutes
Fill water to line
Important: Prepare solution no more than 60 minutes before drinking

## Slide 8: Step 5: Consuming the Prepared Solution
  The patient cannot swish around liquid in mouth
  The patient must drink through straw without stopping
Have patient drink prepared solution.

## Slide 9: Step 6: Wait Time Between Specimen Collections
  Patient needs to sit quietly
  No food or drink during wait time
After patient finishes their drink start timer for 15 minutes.

## Slide 10: Step 7: Post-Dose Specimen Collection
The post-dose specimen cannot be collected before the 15 minutes are up
The patient must breath normal
Have them take a deep breath in and hold for 4-5 seconds and exhale into the baseline bag
Replace cap firmly until it clicks
Document collector initials and time on the LIS label
Place LIS label on baseline collection bag
Collect 2nd Breath specimen

## Slide 11: Step 8: Specimen Processing and Transport
Place labeled specimen bags together in the clear plastic ziploc bag
Follow specimen processing policy/procedure
Track and send with courier for testing

## Slide 12: Collection Code
Laboratory staff:
Home clinic provider collection code
  Add a HPBTB in LIS
Laboratory staff:
Courtesy provider collection
  Add a HPBTB(clinic performing location) in LIS
    Example: If performed at Killeen Clinic, then HPBTBG would be entered