## Slide 1: Biological Deviation and System overrides

## Slide 2: Objectives
Understand FDA reportable requirements
Understand reasons for Supervisor triggers
Understand when it is appropriate to override
Trouble shooting messages triggered by Blood Bank system
Terms
FDA= Federal Drug Administration
CGMP= Current good manufacturing practice
ISBT=International Society of Blood Transfusion

## Slide 3: FDA oversight
    In addition to CLIA and CAP regulatory requirements Blood products also fall under the authority of the FDA
    Biological Product Deviation Reporting for Blood and Plasma Establishments
  Blood Transfusion is overseen by the FDA (Federal Drug Administration)
  The role is to ensure safe administration of blood products
  Resources:
  FDA Biological Deviations website
  Policy Medical (Site policy: Key words “FDA notification”, “Biological”, “Deviation”

## Slide 4: What do I Report?
Under 21 CFR 606.171(b), you must report any event, and information relevant to the event, associated with the manufacturing, to include testing, processing, packing, labeling, or storage, or with the holding or distribution, of both licensed and unlicensed blood or blood components, including Source Plasma, if that event meets all the following criteria:
(1) Either
  (i) Represents a deviation from CGMP, applicable regulations, applicable standards, or established specifications that may affect the safety, purity, or potency of that product; or
  (ii) Represents an unexpected or unforeseeable event that may affect the safety, purity, or potency of that product; and
    (2) occurs in your facility or a facility under contract with you; and
    (3) involves distributed blood or blood components.

## Slide 5: Timeline for Reporting
Deviations or potential deviations should be reported to your supervisor or above immediately
  MIDAS should be placed
To FDA
  Fatalities- within 1 business day
  Biological Product Deviation-45 days

## Slide 6: Reporting
    What specifically should I report? : (NOT an all inclusive list see FDA biological reporting website for details)
    Errors in Deferral screening
    Unit Labeling deviations
    Routine testing deviations
    Transfusion-Transmitted infection Testing
    Failure to Quarantine
    Component Prep deviations
    Transfusion Tag Labeling deviations
    Shipping and storage
    Expiration date deviations
    Sterility compromised

## Slide 7: Evaluate and investigate
You are required to evaluate and investigate, as appropriate, unexplained discrepancies and failures to meet specifications, and to maintain complaint records, including records of investigations and follow-up (21 CFR 606.100, 211.192 and 211.198).
Procedures for the investigation of any unexplained discrepancy or the failure of a lot or unit to meet any of its specifications should include provisions for:
• a timely investigation;
• an appropriate corrective action plan to prevent recurrence;
• procedures to gain control of unsuitable products in a timely manner;
• appropriate disposition of all affected products (in-date and expired);
• an assessment of the donor’s eligibility to serve as a donor in the future, for deviations and discrepancies associated with donor eligibility.

## Slide 8: Tools to keep patients safe
Blood Bank Computer system design
Policies and Procedures
Automation (when available use it)
  Auto-verification
Training (never sign off if you don’t understand)
Competency (if you don’t feel competent escalate)

## Slide 9: Tools to keep patients safe
Assumptions
  The computer build is designed to prevent us from harming a patient
    Understand the warnings
  Whatever the computer believes to be true, is true and is what will be in the record.
    Reconcile rather than override whenever possible
Blood Bank Computer System

## Slide 10: Tools to keep patients safe
Only your CLIA Director or a pathologist they delegate to can permit a deviation from policy.
Only your CLIA Director or a pathologist they delegate to can provide you with guidance when a policy doesn’t address a specific scenario.
Policies and Procedures

## Slide 11: Flags and Possible Rationale
Alert Reason | Level override required | Rationale
Approp XM not done | User | If Emergency Release and the unit type is appropriate, this is appropriate to override
Biohazardous | Supervisor | No routine rationale to override
Cmp bld att not conf | Supervisor | Appropriate if reference lab testing is performed and entered into the record
Cmp bld typ not conf | User | Appropriate if reference lab testing is performed and entered into the record
Cmp Ibl not verified | Supervisor | No routine rationale to override
Component expired | Supervisor | No routine rationale to override
Deriv lot expired | Supervisor | No routine rationale to override
Emrgcy compat fail | Supervisor | Must understand reason for trigger and have path approval
Intended use proh | Supervisor | No routine rationale to override
Med rec num changed | Supervisor | No routine rationale to override; obtain new clot; Emergency release only
No current visit | Supervisor | No routine rationale to override
Other don type avail | Supervisor | Override according to appropriate inventory and pathology approval for emergent release
Pat TxRxn unresolved | Supervisor | Enter TXRXN if available, override only with path consult
Patient name changed | Supervisor | No routine rationale to override; obtain new clot; Emergency release only
Prd bld attr unknown | Supervisor | Should not occur; quarantine unit resolve issue
Prod not compatible | Supervisor | In least incompatible "warm auto" situations. Requires consult with pathologists during work-up
Spec needs not met | Supervisor | No routine rationale to override; appropriate in emergency release to override. In consultation with pathologists for certain complicated patients require override.
Specimen expired | Supervisor | No routine rationale to override
Specimen rejected | Supervisor | No routine rationale to override
Visual Insp not okay | Supervisor | No routine rationale to override
XM intrp not compat | Supervisor | No routine rationale to override
XM test invalid | User | Ok to override for Emergency release

## Slide 12: User/Supervisory override
You should avoid supervisor overriding your own work.
Understand what is causing the message flag.
Do no assume by the message you know what is causing the issue.
Do not take the word of a co-worker what is causing the issue
  ALWAYS work to remove the flag whenever possible

## Slide 13: Case Study 1-Choose the best answer
You are a blood establishment that contracts with another blood establishment (referred to as an irradiator) to perform irradiation of blood products. You sent a product to the irradiator. After irradiation, the product was returned to you. The unit contains a sticker that indicates it was irradiated, but the unit’s ISBT label does not indicate an irradiated unit.
You should:
  A. Depends on the urgency of the unit need. If Hem/Onc needs it and we can see that it was irradiated you should go ahead and issue as long as you verify that it was irradiated.
  B. Notify the doctor the unit is not irradiated as the order stated and let them decide.
  C. Report to distributor, Temple can fix remotely and you can just reprint the ISBT.
  D. Its ok, the unit is clearly marked as irradiated and is safe for the patient.

## Slide 14: Case Study 1-Choose the best answer
You are a blood establishment that contracts with another blood establishment (referred to as an irradiator) to perform irradiation of blood products. You sent a product to the irradiator. After irradiation, the product was returned to you. The unit contains a sticker that indicates it was irradiated, but the unit’s ISBT label does not indicate an irradiated unit.
You should:
  A. Depends on the urgency of the unit need. If Hem/Onc needs it and we can see that it was irradiated you should go ahead and issue as long as you verify that it was irradiated. No, in order for the patient’s record to be accurate Safetrace must be updated, if you do this it is an FDA reportable Deviation.
  B. Notify the doctor the unit is not irradiated as the order stated and let them decide.
  C. Report to distributor, Temple can fix remotely and you can just reprint the ISBT.
  D. Its ok, the unit is clearly marked as irradiated and is safe for the patient.

## Slide 15: Case Study 1-Choose the best answer
You are a blood establishment that contracts with another blood establishment (referred to as an irradiator) to perform irradiation of blood products. You sent a product to the irradiator. After irradiation, the product was returned to you. The unit contains a sticker that indicates it was irradiated, but the unit’s ISBT label does not indicate an irradiated unit.
You should:
  Depends on the urgency of the unit need. If Hem/Onc needs it and we can see that it was irradiated you should go ahead and issue as long as you verify that it was irradiated.
  Notify the doctor the unit is not irradiated as the order stated and let them decide. No, the order was clear we need to provide the floor with the appropriate Unit type
  C. Report to distributor, Temple can fix remotely and you can just reprint the ISBT.
  D. Its ok, the unit is clearly marked as irradiated and is safe for the patient.

## Slide 16: Case Study 1-Choose the best answer
You are a blood establishment that contracts with another blood establishment (referred to as an irradiator) to perform irradiation of blood products. You sent a product to the irradiator. After irradiation, the product was returned to you. The unit contains a sticker that indicates it was irradiated, but the unit’s ISBT label does not indicate an irradiated unit.
You should:
  Depends on the urgency of the unit need. If Hem/Onc needs it and we can see that it was irradiated you should go ahead and issue as long as you verify that it was irradiated.
  Notify the doctor the unit is not irradiated as the order stated and let them decide.
  Report to distributor, Temple can fix remotely and you can just reprint the ISBT. Yes, Temple can quickly rectify the issue. Austin may have to pick up the unit or bring a new label, but they can also fix the problem. If it is emergent, you would release as emergent to MD with notice that technically it is not irradiated.
  D. Its ok, the unit is clearly marked as irradiated and is safe for the patient.

## Slide 17: Case Study 1-Choose the best answer
You are a blood establishment that contracts with another blood establishment (referred to as an irradiator) to perform irradiation of blood products. You sent a product to the irradiator. After irradiation, the product was returned to you. The unit contains sticker that indicates it was irradiated, but the unit ISBT label does not indicate an irradiated unit.
You should:
  Depends on the urgency of the unit need. If Hem/Onc needs it and we can see that it was irradiated you should go ahead and issue as long as you verify that it was irradiated.
  Notify the doctor the unit is not irradiated as the order stated and let them decide.
  Report to distributor, Temple can fix remotely and you can just reprint the ISBT.
  Its ok, the unit is clearly marked as irradiated and is safe for the patient.
  No, in order for the patient’s record to be accurate Safetrace must be updated, if you do this it is an FDA reportable Deviation.

## Slide 18: Case Study 2-Choose the best answer
You are working on a patient who is bleeding in ICU. You get a request for transfusion of platelets. However, the only unit you have on hand requires pathology to approve per our policy.
Issue the unit so you can take care of the patient, but make sure you immediately get pathology approval.
Call the pathologist and request approval to issue.
Issue as emergency release so the physician taking care of the patient takes the responsibility for the unit.
Tell the nurse we do not have a unit available and call to get a compatible unit from the blood center.

## Slide 19: Case Study 2-Choose the best answer
You are working on a patient who is bleeding in ICU. You get a request for transfusion of platelets. However, the only unit you have on hand requires pathology to approve per our policy.
Issue the unit so you can take care of the patient, but make sure you immediately get pathology approval.
  No, the policy requires approval prior to issue not after.
Call the pathologist and request approval to issue.
Issue as emergency release so the physician taking care of the patient takes the responsibility for the unit.
Tell the nurse we do not have a unit available and call to get a compatible unit from the blood center.

## Slide 20: Case Study 2-Choose the best answer
You are working on a patient who is bleeding in ICU. You get a request for transfusion on platelets. However, the only unit you have on hand requires pathology to approve per our policy.
Issue the unit so you can take care of the patient, but make sure you immediately get pathology approval.
Call the pathologist and request approval to issue.
Yes, this is the correct process
C. Issue as emergency release so the physician taking care of the patient takes the responsibility for the unit.
D. Tell the nurse we do not have a unit available and call to get a compatible unit from the blood center.

## Slide 21: Case Study 2-Choose the best answer
You are working on a patient who is bleeding in ICU. You get a request for transfusion on platelets. However, the only unit you have on hand requires pathology to approve per our policy.
Issue the unit so you can take care of the patient, but make sure you immediately get pathology approval.
Call the pathologist and request approval to issue.
Issue as emergency release so the physician taking care of the patient takes the responsibility for the unit.
No, unless after consultation the pathologists request this action you should follow the policy.
D. Tell the nurse we do not have a unit available and call to get a compatible unit from the blood center.

## Slide 22: Case Study 2-Choose the best answer
You are working on a patient who is bleeding in ICU. You get a request for transfusion of platelets. However, the only unit you have on hand requires pathology to approve per our policy.
Issue the unit so you can take care of the patient, but make sure you immediately get pathology approval.
Call the pathologist and request approval to issue.
Issue as emergency release so the physician taking care of the patient takes the responsibility for the unit.
D. Tell the nurse we do not have a unit available and call to get a compatible unit from the blood center.
No, unless after consultation the pathologists request this action you should follow the policy.

## Slide 23: Case Study 3-Choose the best answer
A co-worker calls you over to clear a message that requires a supervisor override but at first glance you cannot understand why the message triggered.
Ask the employee if they know why the message is flagging and override accordingly.
Review the issue and as long as you understand the flag provide the override.
Call the pathologist and ask if it is ok to override the message.
D. Have the employee walk you through each screen on this patient and unit until you understand the flag then make a decision to rectify the issue or override.

## Slide 24: Case Study 3-Choose the best answer
A co-worker calls you over to clear a message that requires a supervisor override but at first glance you cannot understand why the message triggered.
Ask the employee if they know why the message is flagging and override accordingly. No, supervisor overrides should be limited to critical issues and you must understand separately from the other tech what you are overriding.
Review the issue and as long as you understand the flag provide the override.
Call the pathologist and ask if it is ok to override the message.
D. Have the employee walk you through each screen on this patient and unit until you understand the flag then make a decision to rectify the issue or override.

## Slide 25: Case Study 3-Choose the best answer
A co-worker calls you over to clear a message that requires a supervisor override but at first glance you cannot understand why the message triggered.
Ask the employee if they know why the message is flagging and override accordingly.
Review the message, if you have seen it before and it presents not safety issue provide the override. No, supervisor overrides should be limited to critical issues and we should attempt to rectify the issue whenever possible before deciding to override.
Call the pathologist and ask if it is ok to override the message.
D. Have the employee walk you through each screen on this patient and unit until you understand the flag then make a decision to rectify the issue or override.

## Slide 26: Case Study 3-Choose the best answer
A co-worker calls you over to clear a message that requires a supervisor override but at first glance you cannot understand why the message triggered.
Ask the employee if they know why the message is flagging and override accordingly.
Review the message, if you have seen it before and it presents not safety issue provide the override.
Call the pathologist and ask if it is ok to override the message. No, supervisor overrides require that the person understand the blood bank system build and what safety precaution is being bypassed. Any consultation with the pathologists should have already occurred.
D. Have the employee walk you through each screen on this patient and unit until you understand the flag then make a decision to rectify the issue or override.

## Slide 27: Case Study 3-Choose the best answer
A co-worker calls you over to clear a message that requires a supervisor override but at first glance you cannot understand why the message triggered.
Ask the employee if they know why the message is flagging and override accordingly.
Review the message, if you have seen it before and it presents not safety issue provide the override.
Call the pathologist and ask if it is ok to override the message.
D. Have the employee walk you through each screen on this patient and unit until you understand the flag then make a decision to rectify the issue or override. Yes, having the employee walk through the issue will allow you the ability to agree with their logic and steps. If you go in by yourself you may miss a step or error they made that created the error. Always try to fix the issue rather than override.