|  | Wet Prep Procedure | Attachments Yes No |  |
| --- | --- | --- | --- |
|  | Key words | Number GHI-PC-CLINIC LAB-PROCEDURES- Wet Prep v. 02-2020 |  |
|  | Category Provision of Care | Effective Date See Electronic File |  |
|  | Manual Clinic Laboratory Procedure Manual Point of Care Procedure Manual | Last Review Date See Electronic File |  |
|  | Issued By Clinic Laboratory – Regional Clinic Lab Supervisors | Next Review Date See Electronic File |  |
|  | Applicable Clinic Laboratory Staff | Origination Date April 2012 |  |
|  |  | Retired Date |  |
|  | Level of Complexity Non-waived | Contact Regional Clinic Lab Supervisors |  |
|  | Review Responsibility Regional Clinic Lab Supervisors | Approved Date See Electronic File |  |
| APPROVAL(S) Laboratory Medical Director |  |  |  |

- Purpose/PRINCIPLE

The most common vaginal infections are bacterial vaginosis, trichomoniasis and vulvovaginal candidiasis.  Some vaginal infections are transmitted through sexual contact but others, such as candidiasis (yeast infections) are not.  The cause of vaginitis cannot be adequately determined solely on the basis of symptoms or a physical examination.  Laboratory tests allowing the microscopic evaluation of vaginal fluid are required for a correct diagnosis.

Bacterial Vaginosis:

Bacterial Vaginosis (BV) is the most commons cause of vaginitis among women of childbearing age.  Instead of the normal predominance of Lactobacillus bacteria, increased number of organisms such as Gardnerella vaginalis, Bacteroides, Mobiluncus and Mycoplasma hominis are found.  Diagnosis is based on the presence of numerous “clue cells” (vaginal lining cells that are coated with G. Vaginalis and other BV organisms, a fishy odor and decreased acidity of the vaginal fluid.

Trichomoniasis:

Trichomonas vaginalis is a common sexually transmitted disease (STD) caused by a single-celled parasite called Trichomonas vaginalis.  It is the most common cause of parasitic gynecological infections in women.  In men, trichomonad infections of the urethra are usually asymptomatic.  Trichomonas vaginalis appears as a pear-shaped flagellate.  They have three to four anterior flagella and a singular posterior flagellum, with an undulating membrane that extends halfway down the length of the organism.  They are motile in fresh wet preparations, and their characteristic flitting or jerky motions assists in identifying them.  As the specimen ages the organisms will swell and lose the pear-shape, becoming round and non-motile.

Vulvovaginal Candidiasis:

Vulvovaginal Candidiasis (VVC) sometimes referred to as Candidal vaginitis, monilial infection or vaginal yeast infection is a common cause of vaginal irritation.  VVC is caused by an overabundance or overgrowth of yeast cells, primarily Candida albicans that normally colonize in the vagina.  Diagnosis is usually made through the microscopic examination of vaginal secretions for evidence of fungal elements.

II.   POLICY

Laboratory Staff will follow the approved techniques outlined in this procedure.

Specimen:

A dacron or rayon tip swab containing vaginal discharge is placed into the plastic tube, capped and delivered to the lab IMMEDIATELY after collection.

Lab will then add approximately 10 drops of 0.9% saline into the plastic tube. Specimens must be examined immediately upon arrival in the lab.

Reagents/Materials

- 0.9% Saline. Single use ampules are used and must be discarded after each use. Store at room temperature.

- Plastic Tube with Cap transport container

- Dacron swab: Order # 110375  (100/box)

- Rayon swab: Order # 2000861

- Cap:  Order # 045509

- Container/cup: Order # 045508

- Glass Slides

- Coverslips

- 20% KOH vials (optional) - single use

-Microscopic QC: Microscopes are cleaned daily, lab enrolls in proficiency testing, reference material (pictures) available to staff.

- PROCEDURES (Saline Method Only)

- Add one drop of specimen, (from the swab-saline tube), on a glass slide and coverslip.  Label the slide with a foot label.

- Examine immediately under low power (10X) for Trichomonas. Examine a minimum of 20 fields.

- Look for typical motile organisms that are pear-shaped, slightly larger than leukocytes.

- Examine further under high dry (40-50X)

- Confirm trichomonas organism morphology.  Look for motility in the undulating membrane and/or flagella located on one end in a tuft. Only report trichomonas if motile trichomonas is observed.

- Look for fungal elements (budding or pseudohyphae)

- Look for “clue cells” (vaginal lining cells which are coated with a small rod or cocco-bacilli).  Most (but not all) of the cell surface should be covered with bacteria and the bacteria must extend past the cytoplasmic margins causing the cells to appear granular with undefined edges.

- More than 20% of the epithelial cells should have the “clue” appearance to report the presence of clue cells.

- Examine at least 20 high power fields for fungal elements and clue cells before reporting a negative result.  Low numbers of organisms may be present in early and late stages of infections.

- When completed, discard slides into the “sharps” container.  The collection tube must be discarded into an orange biohazard bin.

Optional: If the fields are obscured by mucous or cellular debris, place 1 drop of saline-swab solution on a slide and add one drop of 20% KOH to the specimen –cover slip.  This will allow yeast to be better visualized.

Expected Results:

Trichomonas:		Not Detected (No Trichomonas seen)

Clue:			Not Detected (No Clue cells seen or <20%)

Fungal Elements:	Not Detected (No fungal elements detected)

White Blood Cells:	Not Detected (No WBC’s seen)

REPORTING RESULTS

Clinic Labs –Enter into Beaker:

Clue cells:  Select Detected or Not Detected

Trichomonas:  Select Detected or Not Detected

Fungal Elements:  Select Detected or Not Detected

WBCs:  Select Detected or Not Detected

KOH Status: Select Clear or Not Performed (this refers KOH clarity and lack of precipitate)

Refer to EPIC Beaker result entry procedure

Provider-performed microscopy:

Providers must document point-of-care results on the worksheet provided.

# PROCEDURE NOTES

4.	Positive fungal elements with only buds present may indicate an infection with Candida glabrata, as opposed to Candida albicans.

5.	Atrophic vaginitis is most common in post-menopausal women.

- ReferenceS

- Regions Hospital Wet Prep procedure, Urinalysis Lab Procedure Manual, 2004

- Brunzel, Nancy, Fundamentals of Urine and Body Fluid Analyses.  W. B. Saunders Co., 1st ed,

- 1994, pg 258

Eschenbach and Pollock: 1983 Cumatech 17, Laboratory Diagnosis of Female Genital Tract Infections. Amer. Soc. Micro.

Davidsohn and Henry: Clinical Diagnosis by Laboratory Methods.

Robertson, WH: Vulvovaginal Candidiasis: Current Concepts of Diagnosis and Management. Miles Laboratories, 1982.

Bertholf, ME and Stafford, MJ: An Office Laboratory Panel to Assess Vaginal Problems. Amer. Fam. Pract., Sept. 1985, pp 113-125.

Symposium: Establishing Bacterial Vaginosis. Contemporary OB/GYN. Feb. 1986, pp 186-203.

Galask, RP: Vulvovaginitis. Dept. of OB/GYN and Micro. Univ. of Iowa College of Medicine.

- Related documents

- appendixes

AUTHOR/REVIEWER(S)

CJanita

AKHoward

MLLaFromboise

DEaton

IV.	Definitions

Fungal Elements:   includes any of the structures that may be seen during examination of specimens or cultures: yeast, budding yeast, hyphae, pseudohyphae, spores, and mycelia.

V.	Compliance

# Failure to comply with this policy or the procedures may result in disciplinary action, up to and including termination.

VI.	Attachments

VII.	Other Resources

- ENDORSEMENT

Laboratory Administration