| Subject KOH Procedure | Attachments Yes No |
| --- | --- |
| Key words Fungus, skin scraping, | Number GHI-PC-CLINIC LAB-PROCEDURES-KOH v. 04-2019 |
| Category Provision of Care | Effective Date See Electronic File |
| Manual Clinic Laboratory Procedure Manual Point-of-Care (PPM) Procedure Manual | Last Review Date See Electronic File |
| Issued By Clinic Laboratory – Regional Clinic Laboratories Supervisors | Next Review Date See Electronic File |
| Applicable Clinic Laboratory Staff | Origination Date May 1992 |
|  | Retired Date |
| Level of Complexity Non-waived | Contact Regional Clinic Laboratories Supervisors |
| Review Responsibility Regional Clinic Laboratories Supervisors | Approved Date See Electronic File |
| APPROVAL(S) Laboratory Medical Director |  |

# KOH Test

- Purpose/PRINCIPLE

Demonstration of fungal elements in infected tissue can be accomplished by adding Potassium hydroxide to the specimen and examining under the microscope.

II.   POLICY

Laboratory Staff will follow the approved techniques outlined in this procedure.

Specimen:

Skin:   Good scraping.

Nails:  Include skin under nail.

Hair:   Include hair and hair bulb.

Mouth:  Lip, tongue or unspecified: swab or scraping

- Specimen is placed on a labeled, glass slide, placed in a covered petri dish, and brought to the lab.

- The slide MUST be labeled.  If the petri dish only is labeled, it is considered unlabeled and must be rejected and recollected if clinically indicated.

Reagents/Materials:

20% KOH ampules.  These are single-use ampules.  Store at room temperature protected from light.

Glass Slides

Coverslips

QC:

Verify that the KOH is clear. See below for resulting.

- PROCEDURES

1.	Specimen is placed on a labeled, glass slide, placed in a covered petri dish, and brought to the lab.

2.	One drop of KOH is added to the specimen. Coverslip.

3.	Using a tweezers to hold the slide, pass slide gently through flame 2-3 times or warm on a heat block.

4.	Let slide sit for 3 minutes.

5.	Scan a minimum of 20 fields for fungal elements under low power. Confirm under high dry.

6.	If examination is negative and specimen is thick material, let specimen sit in petri dish for 5-10 minutes, and re-examine.

Expected results:   Not detected

REPORTING RESULTS

Clinic Labs: Select the source from the drop-down menu

Fungal Elements: Result as Detected/Not Detected

KOH control:  Result as Valid/Invalid (this refers KOH clarity and lack of precipitate)

Refer to the EPIC Beaker result entry procedure

Provider-Performed Microscopy:

- enter results as part of the visit encounter in EPIC

# PROCEDURE NOTES

Care must be taken not to confuse so-called "mosaic" fungus (epithelial cell lines appearing as hyphae) and other artifacts with true fungal elements. True fungi hyphae will run over epithelial cells, not just along their edges.

- ReferenceS

Davidsohn and Henry:  Clinical Diagnosis by Laboratory Methods.

Dr. C. Soutor, GHI Inservice, July 1983.

AUTHOR/REVIEWER(S)

Debby Judge

Denise Bergo

Nancy Butala

JAGayken

AKHoward

Deaton

MLLaFromboise

IV.	Definitions

Fungal elements include any of the structures that may be seen during examination of specimens or cultures: yeast, budding yeast, hyphae, pseudohyphae, spores, and mycelia.

V.	Compliance

# Failure to comply with this policy or the procedures may result in disciplinary action, up to and including termination.

VI.	Attachments

VII.	Other Resources

- ENDORSEMENT

Laboratory Administration