LAB REORIENTATION 2013 REVIEW

- 2 Safety Plans

- Chemical Hygiene Plan and Bloodborne Pathogen Exposure Control Plan

- Standard Operating Procedures

- Biohazard areas- identified by orange & white striped floor tape and orange biohazard sign outside each area; persons in these areas must wear appropriate PPE.

- Lab “clean” areas include the break area, the 2 offices and the room outside the offices, and out-patient waiting room.  No PPE shall be worn in these areas.

  - Do not eat, drink, smoke or chew gum unless in “clean” areas.

  - No food or drink in cabinets/refrigerators anywhere in lab except “clean” areas.

  - Do not leave biohazard bags or empty boxes on sitting on the floors.

- Engineering Controls

- Eyewash stations- located at various sinks throughout lab

- Safety showers- one at end of lab hallway and one in pathology

- Hoods- 2 Biosafety hoods in Microbiology; fume hood in Pathology

- Air flow-Micro and AFB room are negative pressure rooms; doors to these rooms must remain closed.

- Work Practice Controls

- Hand washing

- Wash hands ASAP after removing gloves and after contact with infectious substances.  Wash hands between all patient contacts, before leaving the work area and before eating and drinking.

- When washing hands use warm water and soap, scrub vigorously for 15-20 seconds, rinse with water, dry hands with paper toweling then turn off faucet with paper toweling.

- Antiseptic hand lotion may be used in place of soap and water as long as hands are not visibly dirty, unless the patient is in Contact Isolation for Clostridium difficile; then use soap and water.  When using antiseptic hand lotion, apply lotion and rub hands together until dry.

- Sinks are labeled as “hand washing” or “no hand washing.”  Use appropriate sink.

- Sharps

- All needles contain retractable or safety-lock devices.  Needles are never recapped.

- All sharps are disposed of in red sharps containers.  These are puncture-resistant.

- Specimen transport

- Specimens are collected into a primary container, sealed with a secure lid and properly labeled.

- All specimens are transported to the lab in a secondary container (plastic bag).

- Personal Protective Equipment

              - Lab coats

              - Disposable, paper coats are knee-length, fluid-resistant, long-sleeved, cuffed and buttoned.  Reuse coat until visibly soiled.  Write name inside collar to help keep track of coat.

              - Discard in biohazard trash if contaminated with infectious material; otherwise discard in paper trash.

              - Gloves

              - Wear gloves when there is the potential for direct skin contact with infectious or toxic materials

              - Required when drawing blood; change gloves between patients

              - Face/Eye protection

              - Required whenever there is the likelihood of splashing or spraying of infectious materials, hazardous chemicals or the potential for eye, nose or mouth contamination

              - Options include face shield, work station shield, placing gauze over test tube while removing stopper

              - Respirators- any employee with possible patient contact is fitted with an N-95 respirator for use when needed.

- Biohazard Identification

  - A bright orange biohazard symbol must be affixed to any container or equipment containing, storing

or transporting biohazard material.

  - Labels can be an integral part of the container or affixed to the outside of the container.

  - Red bags or containers may be substituted for labels.

- Chemical Hazards

- SDS (Safety Data Sheets) - required on each hazardous chemical used in lab; hard copy kept in lab in notebooks in safety cabinets; also can call 3E Company and request a SDS any time.

- Store chemicals in original container.  Label must indicate any hazards associated with the chemical.

- Date received and date opened must be noted on the label.

- If chemical is placed in a secondary container the container must be labeled with the name of the chemical, manufacturer, hazards, expiration date, date received and date opened.

- Reagents prepared in the lab must be labeled with the chemical content, hazards, date prepared and date reagent expires.

- Flammable liquids are stored in a flammable cabinet.

- Hazardous chemicals (formaldehyde and xylene used in Pathology) are tracked from entrance into the lab through their disposal.

- Spills

- Procedure

- Put on appropriate PPE

- Remove broken glass; do not pick up glass with bare hands

- Absorb liquid with absorbent materials

- Decontaminate spill with intermediate-level disinfectant solution

- Dry area

- Dispose of materials in appropriate containers

- An acid-base spill kit is available for chemical spills.

- Employee Injury

- Any injury/exposure to an employee must be reported

              - Day shift, Monday-Friday:  contact Employee Health Nurse or other contact personnel

              - All other times:  contact House Supervisor

                - Employee must complete an Employee Injury Report (paper form) within 24 hours of incident

                - Employee should report to the Emergency Department if emergency care is needed.

- Chemical Accidents

              - Eye contact- promptly flush eye with water for at least 15 minutes using eye wash stations.

              - Ingestion- report to ED for medical care

              - Skin contact- promptly flush affected area with water and remove any contaminated clothing;

safety showers are available if needed

- Bloodborne Pathogen Exposure

- Any incident in which an employee has been exposed to blood and/or body fluids.

- The most common blood borne pathogen exposure is a needle stick injury.

- Exposed employee will contact the Employee Health Nurse or the House Supervisor and meet them in the laboratory.  Exposure Packets (red folders) are found in the top drawer of the filing cabinet outside the offices.

- Bloodborne Pathogen Exposure Procedure can be found in lime green notebooks found throughout the lab.

- Environment of Care – 7 programs

- Safety Management

      - Includes all safety policies and procedures established throughout the hospital

- Includes the Risk Management department whose function is to identify and act on problems that have caused or may cause harm to patients, visitors, staff and property.  One tool used in Risk Management is occurrence reporting.

      - Doctors Hospital uses the on-line occurrence reporting system, e-SRM.  Reports should be filed

as soon as possible and before the end of the work shift.

- Life Safety Management

          - Purpose is to provide a fire-safe environment

          - Code Red- both actual fires and drills

          - Lab’s Fire Safety Plan outline and evacuation routes posted on bulletin board in lab hall.

- From collecting area exit through hospital lobby doors.

- From laboratory area exit through door at end of hall.

  - Activation of fire plan

- Activate fire alarm pull station; located by doorway next to stairwell at the end of the lab hall.

- Dial “81”.

  - Responses

    - Response when fire in department

R = Rescue

A = Alert

C = Confine

E = Extinguish/Evacuate

- Response when fire not in department

C = Close all doors and windows

A = Assure all patients and visitors that all is well

L = Leave someone by the phone to monitor calls

M = Maintain your routine as much as possible

- Fire equipment

- 5 fire extinguishers- collecting area, pathology, microbiology, outside break area, hall leading to Blood Bank

- Fire blankets- safety cabinet above volunteer desk, pathology

  - Fire doors- 2 doors leading into the lab must be kept closed at all times.  These create a firewall and smoke department.  Emergency exits are clearly marked.  Doors, corridors and exits are not obstructed.

  - Operation of fire extinguisher

P = Pull the pin

A = Aim the nozzle at the base of the fire

S = Squeeze the trigger

S = Sweep the base of the fire

- Lab responsibilities

- Fire brigade- between the hours of 7PM – 7 AM a lab employee reports to Code Red location without a fire extinguisher.  From 7AM – 7 PM the lab does not send an employee to the Code Red location.

- Fire critique form- completed by lab employee on every Code Red.

  - Interim Life Safety Measures- Provides temporary level of life safety procedures during construction.

- Utility Management

      - Electrical failure

- Emergency power is provided by a back-up generator.  Any equipment plugged into red outlet will have power when electricity is lost.

- If both power and back-up generator are down, light is provided by selected overhead lights and flashlights found in each department.

  - Medical gas failure

- CO2 tank in Microbiology- replace when empty

- Compressed air not available for airfuge- send specimen to reference lab

  - Communications failure - Communication will be by cell phones, walkie-talkies, overhead pages, etc…

  - Water pressure failure- obtain potable water from Facility Services

  - Biosafety cabinets not working - refrigerate cultures until service is restored or send cultures to reference lab.

- Equipment Management

  - Any electrical equipment must be initially inspected by Facility Services and tagged.

  - A “red tag” is placed on any equipment that has malfunctioned or is damaged.  The equipment is removed

from service until it is repaired.  Red tags can be found in the second drawer of the filing cabinet located outside the front offices.

- Follow all rules applying to electrical safety when dealing with all electrical equipment.

- Security Management

- Security Codes

- Code White – Non-violent Intervention Team

- Code Silver – Armed Intruder, Active Shooter Response Plan

- Code Pink – abduction/missing baby, child or adult

- Lab is responsible for monitoring door leading to stairwell to assure that no one leaves

building through that exit.

- Lab employee checks outpatient waiting room and bathrooms across the hall from the lab to be sure missing or abducted person is not in one of those locations.

- Lab employee completes Code Pink Evaluation Form.

- Employee Security

- Traffic control in the lab

- Entrance to outpatient area is locked from 8:00 PM-6:00 AM

- Employee entrance to lab is locked and requires a code to enter

- Door between outpatient area and lab is to remain locked

- Employees are required to wear a picture name badge above chest pocket level at all times.

- Vendors must check in with Materials Management and obtain a vendor’s name badge.

  - Security should escort employees to their car after dark.  Call operator to contact Security.

- Employees are assigned a locker.  Employee are encouraged to lockup all valuables.

- Computer Security

- All employees sign a Statement of Confidentiality form upon employment.

- Assigned computer passwords change periodically and are not shared with co-workers.

- Confidentiality

- Must maintain HIPAA compliance, a patient’s right to privacy; all Patient Health Information (PHI) is confidential and not discussed with non-professionals.

    - Test results are only given to admitting and consulting doctors.  All other requests for results are directed to HIM (Health Information Management).

- Curtains surround the phlebotomy draw stations to provide privacy to outpatients.

- Always use a fax cover sheet containing a confidential statement when sending a fax.

- Bins for paper containing PHI are located throughout the lab.  These papers are shredded by a contracted company.

- Computer screens are kept clear of PHI when not in use.

- Paper containing PHI should be kept facedown.

- Labels containing PHI that cannot be removed from containers must have all confidential information marked out with a black marker.

- Hazardous Material and Waste Management

      - Chemical Waste Disposal

- Expired chemicals/waste reagents are periodically catalogued by the Lab Safety Officer.  Facility Services is contacted to remove them from the lab and a contracted waste company takes them from the hospital.

- Non-toxic miscible solvents may be disposed of into copious amounts of running water.

      - Biohazard Waste Disposal (Red Bag Waste)

- Biohazard or infectious waste includes anything saturated with blood or body fluid where pooling or caking can occur.

- It is placed in containers lined with red biohazard bags.  When ¾ full the bags are secured and

removed to the biohazard holding area located next to surgery.  Housekeeping removes the waste from the holding area and a contracted waste management company removes the waste from the hospital.

  - Needles/sharps

- Dispose of needles, sharps, etc… in closable, puncture-resistant, leak-proof red sharps containers.

- These are replaced twice a week by a contracted company.

  - Regular/trash

- Regular trash is waste that poses no health or environmental risk or that contains no confidential information.  This includes anything that is not saturated with blood or infectious material, such as gloves, used urine cups, used plastic specimen bags, etc…

- Housekeeping empties the paper trash containers daily.

  - Confidential information

- Any paper containing PHI cannot be discarded into regular trash.  It is placed in special bins that are emptied and shredded by a contracted company.

- If PFI cannot be removed from items the information must be marked out with a black marker before the item can be discarded.

- Emergency Preparedness – to report an emergency dial “81”

- Code Yellow – disaster code

- Can be called alone or in addition to another code

- Follow the Emergency Operations Plan

- 5 levels- Alert (4), Minor (3), Moderate (2), Major (1), Recovery

- Lab has its own Departmental Emergency Operations Plan that outlines immediate actions, non-essential functions and available staff actions that should be taken at each level.

- A packet containing all required forms (4) to be completed during and after a Code Yellow can be found in the 2nd drawer of the file cabinet located outside the front offices.  The forms are in the file labeled “CODE YELLOW”.

- Lab Evacuation Plan – exit by one of the two exits from the lab and proceed directly to the lower parking lot behind the dock.

  - Tornado Plan

- Severe Weather Watch- approaching thunderstorms and/or conditions are favorable for potential tornado activity

- Code Gray - Tornado has been sighted within a 10-mile radius of the hospital.

- Code Black - Tornado approaching hospital; seems to be headed for a direct hit on the hospital.

- Departmental Tornado Plan

- When a Severe Weather Watch is activated, complete Evacuation Mobility List and take to Nursing Administration.  Confirm availability and operation of flashlights.

- When a Code Gray is activated close all drapes, doors and blinds

- When a Code Black is activated relocate to halls away from windows and outside walls.

Do not return to work area until it is determined safe to do so.

  - Code Brown – Bomb Threat

- Any employee receiving a bomb threat by phone should remain calm and complete the Bomb

Threat Notification Checklist.

- Departmental Bomb Threat Plan

- Close all doors.  Prepare to evacuate if ordered to do so.

      - Search department.  Establish two search teams consisting of 2 employees each.  Search in an organized, systematic pattern looking for suspicious items.  Mark searched areas with an “X.”  Search the entire department.

- Report search results to Command Post when search is finished.

  - Code Orange – Decontamination

- Activated whenever people have become contaminated with hazardous material

  - Safe Haven/Lock Down

- Activated when there is a toxic external atmosphere to provide shelter to people in the hospital.

- Departmental Safe Haven Plan

  - Close all doors and windows

  - Remain calm but do not let anyone leave the building and continue with patient care

    - Code Purple - Surge Capacity

    - Code Blue – Cardiopulmonary Resuscitation

    - Rapid Response Team - An intervention team made of an ICU nurse and a Respiratory Therapist to

evaluate an individual to see what actions need to be taken next.

    - Code Berry - Lift help

- Infection Control

- Standard precautions

    - All patients and specimens are treated as potentially infectious.

- This is a process designed to reduce transmission of infectious agents between patients, hospital

personnel and others.

- It is a system of barrier precautions used for all patients regardless of the patient’s diagnosis, when contact is anticipated with blood, body fluids, secretions, excretions, non-intact skin or mucous membranes.

  - Hand washing - single most important factor in stopping the spread of infectious diseases.

    - Soap and water for 15-20 seconds

    - Automatic antiseptic hand wash dispensers available throughout hospital.

  - PPE- always wear lab coat and gloves when drawing blood from a patient.

  - Use disposable gloves and tourniquets

  - Isolations- new signs

- Droplet Isolation- gown, gloves, surgical mask, eye protection (if potential for splashing); influenza,

pertussis

- Airborne Isolation- gown, gloves, N-95 respirator; tuberculosis

- Contact Isolation- gown, gloves; C Difficile

- Contact Isolation for C Difficile- gown, gloves, must wash hands by vigorously scrubbing with warm

soap and water for 15 seconds.

- Nation Patient Safety Goals

- NPSG 1- Use 2 patient identifiers when providing care, treatment and services

  - Patient name and date of birth

  - For blood transfusions also check the patient’s medical record number.  Match the blood to the order, match the patient to the blood and use a 2-person verification process.

- NPSG 2- Report critical results of tests on a timely basis

- NPSG 7- Hand hygiene