## Slide 2: Product Description
pHizatest paper is a nitrazine indicator paper intended for in-vitro, semi quantitative determination of pH in the 4.5 – 7.5 range

## Slide 3: Results
Visual comparison of colors between the test paper and the color chart will yield results in clinically meaningful units
BV detection
Amniotic fluid detection

## Slide 4: Storage and Shelf Life
Store at room temperature, out of direct sunlight
Shelf life is 6 months

## Slide 5: Quality Control
Complete with each new roll and every 30 days.
1. Dispense a drop from level 1 Quantimetrix dropper onto pH strip.
2. Read immediately.
3. Repeat with level 2 Quantimetrix dropper.
4. Log results on QC Log

## Slide 6: Procedure
Remove 1 – 2 inches of pH paper
pHizatest may be applied directly to pooled vaginal fluid or vaginal fluid on a cotton swab
Observe for immediate color change

## Slide 7: Interpretation

## Slide 8: Result Reporting
Document in epic and appropriate patient log

## Slide 9: Documentation in EPIC

## Slide 10: Documentation in EPIC cont’d

## Slide 11: Mahalo!