## Slide 1: UPMC St Margaret Department of Pathology Point of Care Testing Program
HemaPrompt FG
Electronic Documentation Guidelines (Cerner)

## Slide 2: Within Patient EMR, select AdHoc Charting

## Slide 3: Open Emergency Department Folder

## Slide 4: Check the Point of Care Testing Form

## Slide 5: Select either POC Stool Occult Blood or POC Gastroccult

## Slide 6: Select appropriate patient result

## Slide 7: Positive Control (checkmark turns blue = Positive)
Negative Control
(clear background behind blue checkmark = Negative)
Document HemaPrompt FG Control card results:

## Slide 8: Select HemaPrompt box, complete lot# and expiration date fields

## Slide 9: Complete the Testing Personnel box (this is the person performing and interpreting the test – not the person completing the document) by typing the last name to invoke a search.
Select the facility name from the drop-down menu.

## Slide 10: Click on the blue circle at the top left to exit the electronic form

## Slide 11: Chart the form by clicking on the green checkmark at the top left

## Slide 12: Documentation is now complete. Refresh chart. Result will appear under Lab Data/All Data