## Sheet1
Data for Blood Cultures Collected: Oct 17-23, 2016
|  |  | Low Volume Blood Cultures (not enough blood in bottles) | Overfilled Blood Cultures (too much blood in bottles)
Total Blood Cultures submitted | Total Blood Culture Bottles submitted | Total Blood Cultures submitted w/only 1 Bottle | Total low volume Cultures with bottles having less blood than the minimum volume: 5ml in SA bottle and 5ml in SN bottle or 1ml in PF bottle required by the bottle manufacturer to produce reliable results * | Total overfilled bottles (more blood added than the manufacturer designed the system to hold and produce reliable results) *
98 | 184 | 11(6%) | 7 (7%) | 33 (18%)
* Note: Blood Culture manufacturer volume limits for reliable results:
SA(Blue Cap) Aerobic Bottle: 5-10ml
SN(Purple Cap) Anaerobic Bottle: 5-10 ml
PF(Yellow Cap) Pediatric Bottle: 1-4ml
MIC F 3004