## Slide 1: Chemistry QC
August 2015
Ada Pabon, Chemistry Supervisor
Atlanta VAMC Laboratory
MLS(ASCP)

## Slide 2: Objectives
Refer to QC SOPs in the Chemistry Department at ATL VAMC
Review QC procedures/correct documentation for Chemistry “New Shipments and New Lot Numbers”
Review proper frequency of Chemistry QC
Review QC Troubleshooting

## Slide 3: VHA MISSION
Strategic Plan 2013-2018:
“Honor America’s Veterans by providing exceptional health care that improves their health and well-being.”

## Slide 4: VHA Principles
VHA Strategic Plan 2013-2018:
VHA Principle:
“CONTINUOUSLY IMPROVING”…everyday service to our veterans

## Slide 5: Guidance
CLIA
CAP
VAMC mandates; Chief of Pathology may add additional procedures as warranted
(Pathology holds the lab CLIA certificates)

## Slide 6: SOPs
Overarching SOPs:
QUALITY CONTROL and QUALITY IMPROVEMENT
Chemistry QM/QC Program
(contains definitions, frequency of QC/PMs, and expected results)
LAB GEN (contains specific information on corrective actions – occurrence reporting, Check Point use, and other general laboratory)

## Slide 7: CHANGE
“The Only Thing That Is Constant Is Change -” ― Heraclitus (Greek philosopher, 500 B.C.)
NEW CAP Individualized QC PLAN (IQCP) requirements … refer to CAP letter. BLOOD GASES… You will notice an additional IQCP plan in MEDIA LAB DOCUMENT CONTROL very soon. IQCP refers to risk of problems, QC frequency, and QA for certain test systems.

## Slide 8: New shipments – What to do?
Sign pack slip for shipment AFTER checking to be sure it is for Chemistry; place in designated location
CHECK THE STORAGE TEMPERATURE! Frozen or refrigerated?
Reminders and stickers placed on kits after new lot/ new shipment QC has been performed

## Slide 9: Chemistry
“In use” date must be documented on the item!

## Slide 10: Linearity / CAL-ver
6 month Calibration Verification (linearities) on quantitative systems:
How? On which analytes? (Look in the SOPs for guidance.)

## Slide 11: CAP SURVEYS
Reminder: Never share results.
Always treat the survey as a patient specimen
Ensure that you follow the CAP INSTRUCTION SHEET
Always sign the last page of the survey sheet; include the QC for that day; if linearity, include the last calibration sheet

## Slide 12: A word about LJ charts…
If you are having trouble with your QC: Have you checked the LJ? Shift? Trend?
How about instrument maintenance? Recently performed? Correctly? Or due? Or OVERDUE?
Please look thru each INSTRUMENT tab to check for items that may be due or FLAGGED. Do not wait~ Could be an EMERGENCY situation or low staffing that will prevent you from performing quality items.

## Slide 13: Examples of Occurrences
Shift on LJ: “Run calibrator loaded” – WHY? Think about reasons for errors… Troubleshoot!
Manual items (BOH): Lot placed in use, but NO QC DOCUMENTED in VISTA!
Manual Temp charts / Daily-weekly QC charts with blanks – STORAGE AREA
Forgot to log into CHECKPOINT

## Slide 14: Open Discussion
Any QC Questions?
QC items that we did not mention? See Ada Pabon, Chemistry Supervisor.
*Report all concerns, suggestions, occurrences to the chemistry supervisor.
EVERYONE is responsible for QC! Look at each item with an INSPECTOR’s eye…

## Slide 15: Thank you
Post-test