## Slide 1: Soft Lab 4.5 Upgrade
User Notes

## Slide 2: What Has Changed
Your Network ID/Password are used to access the application (the Soft ID/Password has been discontinued)
The HELP page can be accessed from the main toolbar at the top of the page
The Order Comment Tag tab now is called the History tab
The “?” no longer is used to suppress comments from the patient report. These comments should be place in the Internal Comments tab of the Order Comment window
You can print the Instant Report from within the Print Preview window as a PDF
Icons are larger and more colorful

## Slide 3: What Has Changed
Icons have been refreshed
Specimen Tube Types are now called Containers
  Collection Containers – Flagged as collected
  Processing Containers = Aliquot tubes – Flagged as received
Call Log now has field for internal comments
Calls must be marked as called AND the test marked as done to be completed
Order Numbers have increased to 10 digits
Each container in an order will have a unique Specimen Barcode Number
Specimen Barcode Numbers are generated
  When the label is printed for the container
  When the container is flagged as collected