## Slide 1: The Ins and Outs of Point of Care Testing at CMC

## Slide 2: What is Point of Care Testing?
Is testing designed to occur at or near the patient’s bedside.
Often times by non-laboratory professionals

## Slide 3: Who Performs Point of Care Testing?
Doctors
PA/ARNP/Midwives
Perfusion Staff
Nurses
Nursing Assistants (LNA’s/MA’s)
Radiology Staff
The General Public

## Slide 4: How?
I’m confused if anyone can do laboratory testing why did I spend 2-4 years in school to be able to work here?

## Slide 5: What is CLIA?
The Clinical Laboratory Improvement Act of 1988
CLIA Licenses are required by all Laboratories that tests human tissue
CLIA defines a Laboratory as a facility that performs testing on materials derived from the human body for the purpose of providing information for the diagnosis, prevention, or treatment of any disease or impairment of, or assessment of the health of, human beings.

## Slide 6: CLIA
CLIA defines the educational requirements needed for testing personal who perform Waived, Moderately Complex, and Highly Complex testing.

## Slide 7: Testing
Waived Testing
  No educational requirements
Moderate Complex Testing
  A high school diploma*
    State of NH requires an Associates Degree
Highly Complex Testing
  Minimum of an Associates degree in Medical Technology/Laboratory Science

## Slide 8: Examples of Waived Testing
Urine Pregnancies
Quidel Mono
BINAX Now RSV
Sure-vue Signature Rapid Strep A
i-STAT Chem8+
Urine Dips
Glucose (fingerstick)
PT/INR
Cholesterol at NEHI
Hemoglobin A1C
Flu Kit testing
Occult Bloods

## Slide 9: Examples of Moderate Complex Testing
CA 1500
Sysmex 2100
Vistas
TEGs
Sedrates
Biosites
Fetal Fibronectin
Centaur
Immunite
Semen
Provue*
MTS Gel System
GeneXpert
i-STAT (Cartridge dependent)

## Slide 10: Examples of High Complexity Testing
Cytology
Blood Bank*
Manual Differentials
Remel Cryptococcus Antigen
HPV assay
*High complexity when used for compatibility testing
http://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfCLIA/search.cfm

## Slide 11: Why is CLIA Important?
With out a CLIA License you can not get reimbursement from CMS (Center for Medicare/Medicaid services.

## Slide 12: Types of CLIA Licenses
Certificate of Waiver
Certificate of Provider Performed Microscopy
Certificate of Registration
Certificate of Compliance
Certificate of Accreditation

## Slide 13: So What’s The Difference?
Different licenses allow for the facility to do different types of testing
A COW (Certificate of Wavier) only allows the facility to perform tests classified as waived.
A PPM (Provider Performed Microscopy) allows waived testing and qualified providers to use a microscope.

## Slide 14: Accreditation vs. Compliance
Both allow you to do the same types of testing. (Waived, Moderate and High Complexity)
The difference is in who inspects you.
If you have a Certificate of Compliance it means that CLIA inspects your laboratory

## Slide 15: Certificate of Accreditation
If you have a Certificate of Accreditation it means you have your inspections from one of 6 deemed agencies:

## Slide 17: Great So What does this have to do with Point of Care At CMC??

## Slide 18: Licenses at CMC
1 Certificate of Accreditation
  Lab at CMC at 100 McGregor St.
3 Certificates of Provider Performed Microscopy
  FHWCB
  WBFP
  FPM
9 Certificate of Waivers
  WSIM
  APC
  GPC
  GSIM
  Hillcrest Terrace
  HPC
  MGM
  QCM
  Community Mobile Health
1 Certificate of Compliance
  Urgent Care at Bedford Medical Park

## Slide 19: Outpatient Point of Care Tests Performed
Mono
Flu
Strep
Pregnancy
Urine Dips
Hemoglobin A1C
Chem8
PT/INR
Glucose
Lipid Profile
AST/ALT
CBC***
Wet Preps
Ferning
KOH Preps
Occult Bloods
There are Currently 106 Active Outpatient Users

## Slide 20: Inpatient Point of Care Tests Performed
Blood Gases
ACT
Glucose (glucometer)
Glucose (i-STAT)
Chem8
Heparin Dose Response
TEG
O2 Saturation
Urine Dips
Wet Preps
KOH
Ferning
We currently have 622 active POC Testing personnel

## Slide 21: Where does POC Testing Occur?
C100
EP Lab
ICU
Cholesterol Management / NEHI
Anticoagulation Clinic / NEHI
Diabetes Resource / NEHI
Emergency Department
Specials Radiology
Cardiac Cath Lab
Endoscopy
Wound Center
West Side Neighborhood HC
RMU
Mom’s Place
Special Care Nursery
E100
E200
D100
D200
CIU
PACU/ASU
Operating Room
Cardiac Rehab
Every CMC Physician Practice
Urgent Care
The real question is where is POC Testing not done

## Slide 22: That’s all good but how much POC Testing is really done?
Chart: 
| January | February | March | April | May | June | July | August | September | October | November | December | Glucose
2009 | 9667 | 7892 | 10104 | 8954 | 7587 | 8258 | 7813 | 7649 | 8735 | 7112 | 7774 | 7945
2010 | 8330 | 7080 | 7228 | 8643 | 7701 | 8805 | 7388 | 7490 | 8495 | 9169 | 9197 | 10357
2011 | 10948 | 10141 | 12543 | 11322 | 9186 | 11046 | 9867 | 10095 | 9819 | 9879 | 11599 | 11068
2012 | 11238 | 10517 | 10963 | 9893 | 9691 | 9665 | 10952 | 10461

## Slide 23: 2009-2012
2009
  8884 i-STATs
  99490 Glucose
2010
  9907 i-STATs
  99883 Glucose
2011
  11656 i-STATs
  127513 Glucose
2012
  10824 i-STATs (projected)
  125070 i-STATs (projected)

## Slide 24: So if you have so many users how do the results all make it into the system?
Auto-verification 
The end users on the floors use the glucometers or the i-Stats to scan the patient's bar-coded wristband after properly identifying the patient.

## Slide 25: Resulting
The bar-code is the patient’s current account number and is unique to that patient and that stay
They perform the test and when complete they return the i-Stat to the dock or plug the glucometer in
The results flow either over the wireless network or a hardwired network connection
Provided the account number is entered correctly everything auto flows to SoftLab and then on to Sunrise

## Slide 26: When things go wrong
If the account number does not go in correctly the result gets bumped out in QML
We estimate that <1% of tests need to be fixed in QML in any given month

## Slide 27: WebMRE
WebMRE is a fantastic program used to get results from manual testing into the EMR.
It’s easy to use and makes manual result entry quick and easy
It is used at Urgent Care to result
  Strep A
  Flu
  Occult Bloods
  Mononucleosis
  Pregnancy
  PT/INRs
  Glucose*

## Slide 28
Internet log on screen that is accessible from any CMC computer

## Slide 29
Result entry screen lists the tests that the operator is certified and competent to perform. People only get access to the testing that they do

## Slide 30
WebMRE does not let them verify any information unless all of the boxes with a * are filled in. This makes it so there is no way to bypass important information

## Slide 31: Benefits of Point of Care Testing
The rapid turn around time allows immediate care decisions to be made
The faster the results the quicker the turn around of patients
Can promote better patient care

## Slide 32: Draw Backs to Point of Care Testing
Expensive
Results are only as good as the person doing them
Can be a lot to manage
Documentation can be problematic

## Slide 33: Questions?

## Slide 34: Thanks!!