## Slide 1
Activated Clotting Time
Competency Requirements
What Do I Have To Do
and
How Long Will it Take?

## Slide 2: What Do I Have To Do?
If you perform ACT testing you will have to maintain competency on an annual basis.
Do a patient test (with a PASS) and have a designated observer monitor your performance.
Do Electronic QC with acceptable results
Do Liquid QC with acceptable results
Perform ACTPlus Maintenance and Temperature verification & have designated person observe acceptable performance.
Test a blind sample with acceptable results.
Review QC & Maintenance learning modules.
Take two quizzes and have a score of 100% (open book & you can do a retake)

## Slide 3: How Long Will This Take?
Do a patient test (with a PASS) and have a designated observer monitor your performance.
approximately 15 minutes
Do one level of Electronic QC with acceptable results
approximately 2 minutes (level 1)
Do Liquid QC with acceptable results
approximately 35-40 minutes (normal QC)
Perform ACTPlus Maintenance and Temperature verification & have designated person observe acceptable performance.
  Temp check 15-20 minutes & wipe ACT exterior case down
Test a blind sample with acceptable results.
  approximately 35-40 minutes
Review QC & Maintenance learning modules. *
  10 to 20 minutes
Take two quizzes and have a score of 100% (open book & you can do a retake) *
  20 minutes
  * If you have to leave the quizzes mid way, the program will save your answers.