## Sheet1
TEMPERATURES, CENTRIFUGE, AND UNIT INVENTORY
MONDAY
[5 empty] | 53-55ML | 2-6°C | 2-6°C | L2/H6-5.5C | (-18 to -40°C ) | (-18 to -40°C ) | (<-18 °C )
| GEL | CENTRIFUGE |  | UNIT | WASHER | REFG | REFG | REFG | FREEZER | FREEZER | FREEZER | TECH
RPM | (895+/- 25) | TIME (10 MIN) | INC(37 C+/- 2) | INVENTORY | VOLUME | DIG/RECORDER | UPPER/LOWER | ALARM | DIG/RECORDER | INSIDE | ALARM | DATE
TUESDAY
[5 empty] | 53-55ML | 2-6°C | 2-6°C | L2/H6-5.5C | (-18 to -40°C ) | (-18 to -40°C ) | (<-18 °C )
| GEL | CENTRIFUGE |  | UNIT | WASHER | REFG | REFG | REFG | FREEZER | FREEZER | FREEZER | TECH
RPM | (895+/- 25) | TIME (10 MIN) | INC(37 C+/- 2) | INVENTORY | VOLUME | DIG/RECORDER | UPPER/LOWER | ALARM | DIG/RECORDER | INSIDE | ALARM | DATE
WEDNESDAY
[5 empty] | 53-55ML | 2-6°C | 2-6°C | L2/H6-5.5C | (-18 to -40°C ) | (-18 to -40°C ) | (<-18 °C )
| GEL | CENTRIFUGE |  | UNIT | WASHER | REFG | REFG | REFG | FREEZER | FREEZER | FREEZER | TECH
RPM | (895+/- 25) | TIME (10 MIN) | INC(37 C+/- 2) | INVENTORY | VOLUME | DIG/RECORDER | UPPER/LOWER | ALARM | DIG/RECORDER | INSIDE | ALARM | DATE
THURSDAY
[5 empty] | 53-55ML | 2-6°C | 2-6°C | L2/H6-5.5C | (-18 to -40°C ) | (-18 to -40°C ) | (<-18 °C )
| GEL | CENTRIFUGE |  | UNIT | WASHER | REFG | REFG | REFG | FREEZER | FREEZER | FREEZER | TECH
RPM | (895+/- 25) | TIME (10 MIN) | INC(37 C+/- 2) | INVENTORY | VOLUME | DIG/RECORDER | UPPER/LOWER | ALARM | DIG/RECORDER | INSIDE | ALARM | DATE
NOTIFY SUPERVISOR OF ANY FAILS. PERFORM CORRECTIVE ACTION.
TEMPERATURES, CENTRIFUGE, AND UNIT INVENTORY
FRIDAY
[5 empty] | 53-55ML | 2-6°C | 2-6°C | L2/H6-5.5C | (-18 to -40°C ) | (-18 to -40°C ) | (<-18 °C )
| GEL | CENTRIFUGE |  | UNIT | WASHER | REFG | REFG | REFG | FREEZER | FREEZER | FREEZER | TECH
RPM | (895+/- 25) | TIME (10 MIN) | INC(37 C+/- 2) | INVENTORY | VOLUME | DIG/RECORDER | UPPER/LOWER | ALARM | DIG/RECORDER | INSIDE | ALARM | DATE
SATURDAY
[5 empty] | 53-55ML | 2-6°C | 2-6°C | L2/H6-5.5C | (-18 to -40°C ) | (-18 to -40°C ) | (<-18 °C )
| GEL | CENTRIFUGE |  | UNIT | WASHER | REFG | REFG | REFG | FREEZER | FREEZER | FREEZER | TECH
RPM | (895+/- 25) | TIME (10 MIN) | INC(37 C+/- 2) | INVENTORY | VOLUME | DIG/RECORDER | UPPER/LOWER | ALARM | DIG/RECORDER | INSIDE | ALARM | DATE
SUNDAY
[5 empty] | 53-55ML | 2-6°C | 2-6°C | L2/H6-5.5C | (-18 to -40°C ) | (-18 to -40°C ) | (<-18 °C )
| GEL | CENTRIFUGE |  | UNIT | WASHER | REFG | REFG | REFG | FREEZER | FREEZER | FREEZER | TECH
RPM | (895+/- 25) | TIME (10 MIN) | INC(37 C+/- 2) | INVENTORY | VOLUME | DIG/RECORDER | UPPER/LOWER | ALARM | DIG/RECORDER | INSIDE | ALARM | DATE
NOTIFY SUPERVISOR OF ANY FAILS. PERFORM CORRECTIVE ACTION.