## Sheet1
Culture Type / Media | Gram Stain | TSA Bld (37°C) | MAC (37°C) | CNA (37°C) | Choc (37°C CO2) | Martin Lewis (37°C CO2) | Campy (42° in campy bag) | HEKTOEN (37°C) | Mac Sorb (37°C) | GN Broth (37°C) | Lim Broth (37°C) | Enriched Thio (37°C) | TSB w/fildes (37°C) | Ana Bld (ana bag @ 37°C) | PEA/BBE biplate(ana bag @ 37°C) | Fungal Cultures
Anaerobe | included with aerobic |  |  |  | X | [6 empty] | X |  | X | X | Sterile sites (Fluids, Tissues) maintain specimen at room temp until cultured
Bone Marrow | X | X |  |  | X | [6 empty] | X
Tissue (Grind with tissue grinder) | X (touch prep) | X | X | X | X | [6 empty] | X |  |  |  | Non-sterile (Resp, urine, GI) maintain specimen at 2-8°C until cultured
Cath Tip (no foley tips) |  | X (CO2) (tip rolled)
CSF spin at 1500g for 15 minutes; use sediment | X Cytospin | X |  |  | X | [6 empty] | *X (shunt only) | *X (shunt only)
Ear | X | X | X | X (P disk) | X | [10 empty] | Fungal Blood: BACTEC Myco/F Bottle - Log into BACTEC FX for 28 days (default)
Eye | X | X | X | X | X
Fluid spin at 1500g for 15 minutes; use sediment | X Cytospin (sterile site) | X | X | X | X | [6 empty] | *X (CAPD peritoneal dialysis fluid only)
GC |  |  |  |  | X | X (roll swab)
Urogenital | If ordered | X |  | X | X | X | [9 empty] | AFB Cultures
Group B Strep | [10 empty] | X |  |  |  |  | save specimen in refrigerator - send to SMH
Wound | X | X | X | X | X | [10 empty] | AFB Blood: BACTEC MYCO/F bottle - Load on BACTEC
Respiratory | X | X | X | X (P disk) | X
Stool: 1 spec/day; <=72 h admission Direct inoculation OR place in Enteric Transport Media |  | X | X (37) 1 MAC & 1 MAC at RT (if Yersinia requested) | X |  | X (if GC requested) | X | X | X | X
Synovial Fluid spin at 1500g for 15 minutes; use sediment | X | X | X | X | X | X (if GC requested) | [9 empty] | Positive Blood Cxs
Throat |  | X (A disk) |  |  | X (if Haemoph. requested) | X (if GC requested) | [9 empty] | Gram Stain Plate to Choc, TSA at minimum, others as needed Call & Document Critical Value
Urine |  | X (colony count) | X | X
MRSA Culture (nasal) | Specimen Source: Nasal swab from right and left nares collected via a single eswab collection device. Refrigerate and send to Shoreline or Memorial Microbiology as appropriate. Micro dayshift staff to plate to Spectra MRSA chromagenic media using eswab collection device.
VRE Culture (fecal or rectal swab) |  |  |  | X
Viral Sendouts: Refer to ARUP Lab Test Directory for specimen collection requirements. Respiratory fluids - submit in sterile container.