- Dating BB Products

  - Some products are not being dated as “Received” so it is difficult to know which record in SoftBank to issue from

  - CBS rarely receives products back but Mike will check to see if writing on the box eliminates any chance of acceptance by CBS

- Short 3mL Lithium Heparin Tubes:

  - Current lot appears to have a low vacuum pressure (slow draw).  Volume collected has been acceptable but if not please notify Jennifer.

  - A new lot has arrived which may eliminate the problem

- 06:30 Workload

  - Carolyn has informed ER that they are not to request collections between 06:30 and 07:00 unless urgent and ER cannot collect sample.  Urgent samples are to be collected by nursing staff and dropped off between 06:30 and 07:00

  - The 06:30 start time is to allow staff to accession all inpatients for rounds.  If you receive a request to collect blood between 06:30 and 07:00 determine the urgency of testing and whether ER can collect sample.

  - An idea was floated to have a MLA start at 06:30

- Morning wards

  - Carolyn has asked for staff to inform her daily (SoftComm) whether morning wards were completed by 09:30 or not.  If not, please provide a rationale.

  - This information will be used as evidence in determining the need for staffing

- Troubleshooting Logs

  - A troubleshooting log must be completed with any and all troubleshooting on equipment.  This is used to track problems and can be used when requesting service or evergreening/replacement

  - If an issue is not resolved you are required to communicate this will affected staff including MLT II’s

    - SoftComm and/or

    - Tape form on instrument

- Accessioning Community Boxes

  - The below situation is for a YK generated requisition collected in a community

    - Medipatient by community collected in; add encounter # to req for accessioning

    - Accession in LIS only the information on the requisition

    - Bayo suggested a memo be send to community health centres on how to flag these so community receives a copy of results

    - Flag specimens by writing “from community” on LIS labels so extra care is taken with determining sample acceptability

- STHA Learning Management In Service

  - Various times all week (March 2nd-6th) so go when available

  - PDI training will not be approved if mandatory training incomplete

- New PM43 Label Printers

  - Operators manual available

    - on the shared drive (under manuals)

    - in LIS sharepoint

    - hard copy shelf by front accessioning computer

- 5600 Validation

  - Jennifer needs time to complete the validation documents

  - Please see Mike or Carolyn for assistance so she can focus on this work