- Staffing:

  - Holly Menton is our new MLA

  - Sarah Asmussen will be our new manager starting May 4th

  - Laura Driedger’s farewell party will be April 30th 6pm at Monkey Tree

  - Serene will be moving on to new challenges soon.  Until then she will be on non-patient duties

  - Summer Students

    - Kristen will start in Micro on May 4th

    - Joel expected to start in Micro June 15th

  - Carolyn is looking into Whitney’s availability this summer

- You are TOTALLY AWESOME! And so am I. 

- Micro TB Intercom:

  - Staff are not permitted to work in TB alone (must be someone else in lab)

  - If you hear the alarm (staff heard it) you must go to the Intercom and check

  - The door must remain sealed for 30 minutes unless there is a medical emergency

- Busy shifts - If you are busy on a weekend or evening shift and cannot keep up to the workload call your Supervisor who will call in help for you

- NNSC:

  - All result requests should be directed to UofA not DynaLife

  - Phone number for the Client Response Centre is on the cards themselves; 780-407-7484

  - Remember, baby names often change quickly so searching in LIS may be difficult

- Vitros Result Errors:

  - If you notice an error in the Instrument menu error column you MUST check the instrument for the associated message prior to releasing results.

  - It is a risk to patient safety if you do not and may be considered a performance issue.

- Dilutions:

  - If you perform multiple dilutions at the same time (will see multiple results in Instrument Menu)

    - Instrument will use the result in the first row unless others cancelled.

    - To determine correct result you hover mouse over error column message until you find the lowest dilution within range

    - Toggle cancel status  the other results; in status column the result status will change to “C”

  - The 5600 will have set dilution end points because there is limited clinical significance to very high results.

- 5600 Validations:

  - Complications with LIS implementation of the system means all tests will go live together; not just the ECI tests

  - Target Go Live is the beginning of June

- BB Requisitions:

  - Ensure you handwrite your initials, date and time of collection on the requisition; some have been missed

- Performance appraisals will begin soon.

  - Carolyn will be emailing out the documents soon for everyone to fill out and return

  - Catch up on your mandatory training

- Chemistry QC will soon switch from assayed Multiqual back to Unassayed controls

- Blood Gases - Discussion arose whether lab should run all blood gases during normal operating hours.

- Two new blood collection carts have been ordered, ETA unknown

- Med Lab Week

  - Thanks to Elwood, bakers, table help, and all those who picked up the slack to assist

  - This was a resounding success and set a precedent for all other occupational fields to follow

- Labels:

  - we are in the process of switching to the new label size and format; watch for changes and use LLAB_IQ format when labels change

  - each label printer has an updated draft procedure on how to change labels and how to select the correct format

- Watch Schedule – Changes are coming to it soon

MWA 30APR15