- Happy Birthday Erin

- Generic Lab ID

  - Our second ID has gone missing; it needs to be returned; please give to Carolyn

  - Security/Facilities may change how these generic ID’s can be used

- Sharps – please do not leave on benches; they are a hazard to all of us

- Urine samples for chemistry tests must be spun prior to testing

- Baby Samples

  - Multiple incidents recorded where staff members have run a baby sample for nbil only to find out afterwards that was not the requested test. The result was a recollection due to insufficient sample to run the correct test.

  - Watch your labels or check in LIS, not all are nbils

  - Staff are expected to respond to their own mistakes, which may include recollecting these samples.

- Workflow

  - Please do not jump in and do work for others; communicate with the individual scheduled on that bench first.  Intentions may be good but the scheduled staff member is responsible for managing the workflow (calibrations, QC, troubleshooting, reagents, etc).

  - This should help eliminate potential errors and free up individuals to perform maintenance that is due.

- CSMLS LabCon – Bayo brought back material on the presentations.  If you are interested see Mike.

- Thanks to Vivian for all the Medipatienting and Organizing that occurred after the Medipatient downtime

- Blood Cultures

  - Sherri reminds all staff to ensure they have received all blood cultures prior to dropping them off in microbiology.

  - Moses reminds all staff that any blood culture placed on the BacTec requires a requisition dropped off to the micro accessioning bench. If you do not there is no notification of a sample onboard and no reporting of results

  - Moses also reminds staff that bad work reflects on all of us as “the lab”

- CBC Mixer

  - Erin notified staff to be careful with the rotating mixer for CBC’s.  The tubes fit tightly into the rotator so if you pull on the cap it may fall off.

  - It has been questioned whether the problem is specific to the vacuum pressure of specific lots, please notify Mike of the lot number if this occurs again.

- Needle bevel

  - Please inspect the needle bevel prior to poking a patient.  Vivian found a bad one (bevel was reversed).

MWA 18JUN15