- ECi is Dead – Long live the Vitros 5600

  - The ECi has finally died and is beyond repair

  - Most testing has been validated on the V5600 and can be performed on that instrument

  - Please run the following tests on the Vitros 5600 using manual programming and manual resulting procedures currently in use:

    - Ferritin

    - Total PSA

    - TSH

    - Free T4

    - Β-hCG

    - Troponin I

  - Until we receive the sign off from DynaLIFE the following tests will need to be workstation redirected to DynaLIFE:

    - HIV

    - HCV

    - HBSAB

    - HBSAG

  - In order to ensure efficiency, please place all samples to be redirected to DynaLIFE in a rack in the sample storage fridge. This way all samples can be redirected at one time so that samples are not missed.

- Label Troubleshooting

  - There are instructions attached to the sides of the label printer. Please use the instructions to perform routine procedures BEFORE waiting for someone else to fix it.

  - Do NOT call the LIS Administrators to assist with troubleshooting the label printers; The label printers are not the responsibility of the territorial LIS, but STHA equipment.

- Doctor Privileges

  - Orders have been received from physicians without STHA privileges coming from Stanton sites: Specifically, Dr. Wong and Dr. Ayoubi

  - You will notice that the physician will not have a YEL, YMCL, YMCE code.

  - The order will need to be returned to the ordering location for an appropriate physician with appropriate credentials to endorse the order.

- ECG’s

  - Erin has discovered some ECG’s from our pending list that have our stamp indicating that we have received them back however, we have not “Final Received” them in the LIS.

- Post Vasectomy

  - There is a new protocol coming out for PV sample testing.

  - This is in response to physician feedback in consultation with Dr. S. Brown.

  - In the mean time, if you encounter a ‘positive’ sample please speak with Jennifer or Carolyn for guidance on how to result these samples as there are changes that will take effect immediately.

- Rimming Samples

  - We have experience numerous problems with the Advia with clots going through the instrument.

  - Please always rim the samples from the communities, including Avens and NSCC as these samples will not be mixed well.

- Boxes from Communities being transported with patients

- Flights from Edmonton

  - Changed to the evening flight schedule from Edmonton on Canadian North which impacts our delivery of CBS stock

  - Carolyn has a meeting later to discuss shipping with other key parties

  - Air Canada can be used for emergency shipments.

  - In the mean time we need to ensure that blood ordered in the afternoon is order and called STAT.

  - We also have the afterhours contact number for Canadian North if needed.

- Roundtable

  - Sarah: Air Quality

    - Due to the smoke in the air there is very poor air quality. At this time there is no plan for reduction of services as a result the air quality. If you are feeling unwell due to poor air quality, please speak with Carolyn.

  - Sheri: Fax Confirmation Sheets

    - The fax confirmation sheets that have been received are inadvertently being placed in the Bacti tray. Please put these sheets in the LIS folder at the back of the lab.