MONTH ________________________

Daily:

| Items: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RPM & Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wipe int. surfaces |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wipe ext surfaces |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Not used |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Monthly:

| Items: | √ and Date and Initial |
| --- | --- |
| Clean canisters |  |
| Wipe-down interior chamber |  |
| Wipe-down exterior |  |
| Lubricate canister O-rings if required |  |

Semi Annually (August and February:

| Items: | √ and Date and Initial |
| --- | --- |
| Wash rotor, yoke & buckets |  |
| Wash Aerosolve Canisters & Tube Racks |  |
| Lubricate Canister O-rings |  |
| Lubricate pin sockets on buckets |  |
| Lubricate drive shaft with SpinKote |  |

Reviewed by: __________________________                              Date: _____________________________