PURPOSE:

To screen for Vancomycin Resistant Enterococci (VRE) on admission and as part of MRO screens.

SAMPLE INFORMATION:

| Type | Swab - Amies with or without charcoal. |
| --- | --- |
| Source | - VRE admission screen: rectum. - VRE MRO screen: any site. |
| Stability | If the sample is received in the laboratory and processed greater than 48 hours from collection: - Add specimen quality comment DELAY to state: “Delayed transport may adversely affect pathogen recovery”. |
| Storage Requirements | Room temperature. |
| Criteria for rejection and follow up action | - Unlabeled/mislabeled swabs. - Dry swab. - Nasal and axilla swabs will not be processed for VRE. - For swabs not visibly soiled with faecal matter, add order comment, in the order entry screen, IOCLN to state: “No faecal matter visible on swab. Interpret results with caution.”. |

REAGENTS and/or MEDIA:

- Colorex VRE, Blood Agar (BAP) and Muller Hinton agar (MH)

- Identification reagents: gram stain, catalase and PYR.

- Oxoid Vancomycin Etests.

SUPPLIES:

- Wooden sticks

- Disposable inoculation needles

- Microscope slides

- Biosafety cabinet

- 35° ambient air incubator

SPECIAL SAFETY PRECAUTIONS:

Containment Level 2 facilities, equipment, and operational practices for work involving infectious or potentially infectious materials or cultures.

- Lab gown must be worn when performing activities with potential pathogens.

- Gloves must be worn when direct skin contact with infected materials is unavoidable.

- Eye protection must be used where there is a known or potential risk of exposure to splashes.

- All procedures that may produce aerosols, or involve high concentrations or large volumes should be conducted in a biological safety cabinet (BSC).

- The use of needles, syringes, and other sharp objects should be strictly limited.

All patient specimens are assumed to be potentially infectious.  Universal precautions must be followed.  Since viable micro-organisms are used, all cultures must be handled with appropriate precautions.  All equipment in contact with cultures should be decontaminated by appropriate methods.

QUALITY CONTROL:

- Refer to MIC60100 Non-Exempt Media Quality Control procedure.

- Refer to Quality Control manual for reagent quality control procedures.

PROCEDURE INSTRUCTIONS:

| Step | Action |
| --- | --- |
| Processing Swabs for VRE Culture |  |
| 1 | In the biosafety cabinet, inoculate Colorex VRE agar from the swab. |
| 2 | Streak for isolated growth using a disposable inoculation needle: Streak out to cover the whole plate. |
| 3 | Incubate plate in O2 incubator with new urines and stools rack at 35° for 24 hours. |

INTERPRETATION OF RESULTS:

| Action |  |
| --- | --- |
| - Remove cultures at 24 hours from O2 incubator. - Reject specimen if VRE was isolated from the patient in any other specimen collected within the past 2 weeks. Use cancellation comment, in the resulting worklist screen, XVRD to state: “VRE was isolated from this patient within the past 2 weeks. Submit repeat specimens at least 2 weeks after previous positive culture.”. - Observe plates for pink/mauve colonies. - Blue colonies are typical Enterococcus gallinarum or Enterococcus casseliflavus and should be ignored. Phenotypically, the definition of VRE includes those Enterococcus faecalis and Enterococcus faecium organisms that are resistant to vancomycin. It does not include motile enterococci, Enterococcus gallinarum and Enterococcus casseliflavus. These organisms do not account for the spread of vancomycin resistance. |  |
| IF | THEN |
| No pink/mauve colonies seen at 24 hours | - Log results into LIS. - Re-incubate plates in O2 incubator for additional 24 hours. |
| No pink/mauve colonies seen at 48 hours | - Log results into LIS. - Report: “No Vancomycin Resistant Enterococcus (VRE) isolated”. |
| Pink/mauve colonies seen at 24 or 48 hours | - Subculture to BA plate. - From BA plate, perform gram stain to confirm colonies are Gram-positive cocci. Perform Catalase (negative) and PYR (positive). - Set up GPI to identify species level of Enterococcus. - Set up Vancomycin E-test to determine vancomycin MIC. - Refer to table below for interpretation. |

Follow the steps in the table below to interpret the GPI and Vancomycin Etest MIC

| IF | THEN |
| --- | --- |
| Vitek ID: E.gallinarum and/or E.casseliflavus | - Verify the organisms ID. List quantitation as “Isolated”. - Hide GPI results in the isolates tab: - Change the Isolate # to a letter. - Verify the result even though it will be hidden from final report. - Enter and verify vancomycin Etest results even though it will be hidden from final report. - Report: “No Vancomycin Resistant Enterococcus (VRE) isolated”. |

| Vitek ID: E.faecalis and/or E.faecium | IF | THEN |
| --- | --- | --- |
|  | Vancomycin Etest MIC= < 4 µg/mL | - Verify the organisms ID. List quantitation as “Isolated”. - Hide GPI results in the isolates tab: - Change the Isolate # to a letter. - Verify the result even though it will be hidden from final report. - Enter and verify vancomycin Etest result even though it will be hidden from final report. - Report: “No Vancomycin Resistant Enterococcus (VRE) isolated”. |
|  | Vancomycin Etest MIC= 4 µg/mL | Re-incubate vancomycin Etest for additional 24 hours. If after 48 hours MIC is still 4 µg/mL: - Verify the organisms ID. List quantitation as “Isolated”. - Hide GPI results in the isolates tab: - Change the isolate # to a letter. - Verify the result even though it will be hidden from final report. - Enter and verify vancomycin Etest results even though it will be hidden from final report. - Report: “No Vancomycin Resistant Enterococcus (VRE) isolated”. If after 48 hours MIC ≥ 8 µg/ML: - Verify the organisms ID. List quantitation as “Isolated”. - Enter and suppress vancomycin Etest results. - Report organism with isolate comment VRE1 to state: “Preliminary test indicates this isolate may be resistant to vancomycin and has been sent to referral laboratory for Van gene testing.”. - Verify the result  set the Status to Final. - Add test ?REFD and send to DynaLIFE for Van gene testing as per Referral Specimens DynaLIFE and Provincial Laboratory (Category B) Microbiology procedure. - Freeze organism in glycerol and record in patient isolate log. |
| Vitek ID: E.faecalis and/or E.faecium | IF | THEN |
|  | Vancomycin Etest MIC= 8-16 µg/mL | - Check purity plate carefully. - Repeat ID from Vanc E-test plate. - Verify the organism ID. List quantitation as “Isolated”. - Enter and suppress vancomycin Etest results. - Report organism with isolate comment VRE2 to state: “Presumptive VRE - This isolate exhibits a resistance to vancomycin and has been sent to referral laboratory for Van gene testing". - Verify the result  set the Status to Final. - Add test ?REFD and send to DynaLIFE for Van gene testing as per Referral Specimens DynaLIFE and Provincial Laboratory (Category B) Microbiology procedure. - Go to Order Entry; copy report to Chief Medical Officer of Health (HPU) and Infection Control Nurse (SOHS) if in-patient. - Freeze organism in glycerol and record in patient isolate log. |
|  | Vancomycin Etest MIC = ≥ 32 µg/mL | - Verify the organism ID. List quantitation as “Isolated”. - Enter and suppress vancomycin Etest results. - Report organism with isolate comment &VRE to state: “***VRE – This isolate is resistant to Vancomycin***”. - Verify the result  set the Status to Final. - Go to Order Entry; copy report to Chief Medical Officer of Health (HPU) and Infection Control Nurse (SOHS) if in-patient. - In the patient demographics field click on ESO and add “VRE Positive”. |

REFERENCES:

- Clinical Microbiology Procedures Handbook, 4th edition, ASM Press, 2016

- Jorgensen J.H., Pfaller M.A., Carroll K.C., Funke G., Landry M.L., Richter S.S., Warnock D.W. 2015.  Manual of Clinical Microbiology, 11th edition, ASM Press, Washington, D.C.

- Dalynn Colorex VRE agar package insert, October 2014.

REVISION HISTORY:

| REVISION | DATE | Description of Change | REQUESTED BY |
| --- | --- | --- | --- |
| 1.0 | 20Mar17 | Initial Release | L. Steven |