| SHIFT | ACTION |
| --- | --- |
| 7 am Urine Culture Bench | - Morning ward collections. - Perform daily QC. - Complete “old” urine workup. - Complete “new” urine workup. - Complete water samples. - Set up urine bench Vitek/KB/ET. - Check URINE resulting worklist. - Check WATER resulting worklist. - Disinfect work bench at end of shift. - TUESDAYS: - Subculture weekly QC organisms from slants and CO2 incubator plates. - THURSDAYS: - Read and record weekly QC into TQC and Vitek QC results record. - FIRST MONDAY OF MONTH: - Perform Vitek monthly maintenance. - Sub QC organisms from glycerol beads. - AS REQUIRED: - Read BV gram stains. |

| SHIFT | ACTION |
| --- | --- |
| 8 am Wound Culture Bench | - Plant positive blood cultures from night. - Perform morning startup. - Perform positive blood culture workup. - Complete “old” wound workup. - Discard plates on bench that are finished being worked up. - Read new wound gram stains left over from previous evening. - Complete “new” wound workup. - Set up wound bench Vitek/KB/ET workup. - Check WOUND resulting worklist. - Check BLD-POS resulting worklist. - Check BLD-NEG/NO STATUS resulting worklist. - Disinfect workbench at end of shift. - FIRST MONDAY OF MONTH: - Perform monthly maintenance on BACTEC FX. - Change antibiotic disks. - AS REQUIRED: - Read wound gram stains. |

| SHIFT | ACTION |
| --- | --- |
| 9 am Specimen Processing Bench | - Replace daily swab rack and specimen bucket. Each day has its own rack/bucket. - Medipatient/Accession/Plant specimens. NOTE: MRSA, VRE and MRO screens are batched for 12 and 5 pm. - Accession TB specimens. - Process STAT samples. - Set up wet preps. - Set up RSV and C.diff testing upon arrival. - Set up waters, HPC, endotoxins. - Restock supplies. - Ensure send outs, including Quanti-FERON-TB Gold, are in the Dynalife bucket by 3 pm. - Disinfect workbench at end of shift. - FIRST MONDAY OF MONTH: - Wipe the cart with Accel TB wipes. - Wipe the white specimen buckets with Accel TB wipes. |

| SHIFT | ACTION |
| --- | --- |
| 9 am TB Bench | - Process/Report AFB smears. - Prepare samples for send out to ProvLab. - Perform MGIT daily maintenance. - Perform MIII Sterilizer daily maintenance. - Perform Allegra X-15R daily maintenance. - Perform TB-BSC daily maintenance. - Store MIII printouts in envelope on bulletin board. - Restock TB supplies as needed. - Set up autoclave runs as needed. - Check AFB resulting worklist at end of shift. - Clean TB lab at end of shift (BSC wipe down, clear away sample containers, etc.). - MONDAYS: - Perform LJ culture maintenance. - Perform weekly maintenance on the BSC and MIII. - Discard TB concentrates in fridge from the previous week. - FIRST WEEK OF MONTH: - Perform monthly maintenance on MGIT, BSC, Allegra X-15R and MIII. - Sub AFB QC organism M.gordonae. - FIRST WEEK OF AUGUST/FEBRUARY: - Perform bi-annual maintenance on BSC, Allegra X-15R and MIII. |

| SHIFT | ACTION |  |
| --- | --- | --- |
| Wednesday 9 am Weekly QC Bench | - Change incubator charts. - Perform weekly maintenance on CO2 and O2 incubators. Fill out maintenance log and result in TQC. - Perform weekly main lab BSC maintenance. Fill out maintenance log and result in TQC. - Perform weekly QC and result in TQC: - Strep. Grouping - PYR - M.cat. - BL - ALA **Set up first so can result** - TXP - NV - MAST - DD test - Perform weekly Vitek QC and fill out Vitek 2 QC Results Record. Initial in Setup Tech column. - Perform weekly KB and ET QC. - Perform weekly dispensette sterility testing. - FIRST WEDNESDAY OF MONTH: - Perform monthly maintenance on CO2 and O2 incubators and fridges. - FIRST WEDNESDAY OF AUGUST/FEBRUARY: - Perform bi-annual maintenance on CO2 and O2 incubators and fridges. - Perform bi-annual maintenance on BSC. |  |
| SHIFT |  | ACTION |
| 12 pm Evening Bench |  | - Read gram stains/BV slides/wet preps. - Medipatient/Accession/Plant as needed. - Set up waters. - Read 5:00 VRE plates. - Unpack/Accession/Plant until ~ 7 pm. - Samples planted ˃ 6pm are held in rack labelled “˃ 6pm “for 24 hour specimens (urines and stools). - Stain and read remaining gram stains (time permitting). Wound gram stains should be read first. - Set up anaerobic and campy jars. - Check GRMS and WETPREP resulting worklist and ensure if there are samples on this list there are gram stains waiting to be read. - Check “Not Collected”, “Not Received” and “Not Plated” worklists and ensure there are no blood cultures waiting to be received. - Incubate Group B broths in CO2 incubator and selenite broths in O2 incubator. - Disinfect BSC at the end of shift. - Disinfect sample receiving bench at end of shift. - Make sure QC plates and reagent bucket is in the fridge. - Make sure core lab CSF kit is in BSC. Ensure plates are in date. - Turn off lights. - AS REQUIRED: if no 9 to 5 shift is scheduled for TB, it will be processed on the 12 to 8 shift. In order to accommodate this, urine bench will read BV slides, wound bench will read wound grams and either bench can assist with send outs. |

| Shift | Action |
| --- | --- |
| As Required | - Receive supplies and log into TQC. - Help with accessioning/planting/set up as needed (ask first). - Assist with the reading of gram stains/BV slides/wet preps as needed. - Restock supplies, including benches. - Restock ANA and campy packs. - Prepare slides for gram stain QC. - Open Vitek card boxes for easier access. - Clean anaerobic jars and trays. - FRIDAYS: - Discard swabs in weekend rack. - Discard specimens from weekend bucket and replace new garbage bag. - Discard LIM broths from weekend row. |

REVISION HISTORY:

| REVISION | DATE | Description of Change | REQUESTED BY |
| --- | --- | --- | --- |
| 1.0 | 26 Apr 2017 | Initial Release | L. Steven |
| 2.0 | 05 Feb 2018 | Update to reflect bench changes | L. Steven |