PURPOSE:   To detail the responsibilities of the Microbiology Laboratory daily start up to ensure that all duties and maintenance are completed as required.

PROCEDURE INSTRUCTIONS:

| Step | Action |
| --- | --- |
| Routine microbiology laboratory start up |  |
| 1 | Record temperatures of fridges. |
| 2 | Remove daily reagents from specimen fridge. |
| 3 | Perform BACTEC FX daily maintenance and complete maintenance record. |
| 4 | Empty swab rack for day into biohazard garbage and replace with rack in the BSC. |
| 5 | Empty the specimen bucked for day into biohazard garbage and replace with bucket underneath the BSC. |
| 6 | Perform BSC daily maintenance in the main microbiology lab. Complete maintenance record. |
| 7 | Report temperature of hot plate. |
| 8 | Discard LIM broths from previous week. |
| 9 | Record room temperature and room humidity for main microbiology lab. |
| 10 | Change biohazard garbage as necessary. Replace with new box. |
| 11 | Perform Vitek 2 daily maintenance and complete maintenance record. Sort Vitek print offs and deliver to appropriate bench. |
| 12 | Place gram stain QC slide on staining rack for first run of gram stains. |
| 13 | Record temperatures and CO2 levels of incubators and remove selenite broths and manual blood cultures and place in BSC to be sub cultured. |
| 14 | Empty tray of gram stains into sharps container. Wipe tray. |
| 15 | Sub out selenite broths and manual blood cultures. |

REVISION HISTORY:

| REVISION | DATE | Description of Change | REQUESTED BY |
| --- | --- | --- | --- |
| 1.0 | 28 Apr 2017 | Initial Release | L. Steven |
| 2.0 | 13 Feb 2019 | Update to reflect GBS subbed in afternoon not in morning | L. Steven |