## Sheet1
Appendix AP1 |  |  |  |  | 01/27/2020 RT=Room Temperature
Specimen | Specimen Collection Device | Specimen Stability/ Rejection Criteria | Epic Procedure Name | Soft Order | Comments
Abscess - Non-sterile | Sterile white top tube, leakproof container, or syringe (Syringes w/ needle attached not accepted) *Swabs are only acceptable if OR specimen | 24 hrs RT | Culture and GS, OR Aerobe Anaerobe | CXANO | 1. For use with specimens obtained from OR and Interventional Radiology ONLY
|  |  | Culture and GS, Aerobe Anaerobe | CXANA | 1. Must have source and site indicated. Any additional info should be entered in OE comment .
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
Autopsy | Sterile Leakproof Container | 24 hrs RT | - LAB ORDERABLE ONLY - | CXANA | 1. Refer to Appendix AP6 for ordering instructions
| Bottles: TREK 1 silver - aerobic bottle 1 red - anaerobic bottle |  |  | CXBLD | 2. Requires autopsy case number to create patient 3. Use source: AUTO for either order so no Gram stain is generated
Blood (Including Transfusion Reactions) | Bottles: TREK 1 silver - aerobic bottle 1 red - anaerobic bottle | 24 hrs RT | Culture, Blood | CXBLD | 1. Aerobic/Anaerobic Set required. 2. If single bottle received add comment }COMP
| Gold Top Isolator Tube | 16 hrs RT | Fungal Culture, Blood | ISFUN | 1. Isolators provided by Microbiology lab. 2. Order requires ID approval unless pedi heme/onc patient.
|  |  | AFB Culture, Blood | ISAFB
| 3 or 6 mL Lavendar Top Vacuette | Plasma must be separated within 6 hrs | Herpes I and II, PCR, Plasma | HSVP | 1. Inpatient neonates (<6 months) specimens only 2. Testing performed at RIH Molecular Micro lab - DO NOT FREEZE -
|  |  | Hepatitis B DNA, Quantitative, PCR | HBVLD | 1. Refer to Appendix AP22 for additional comments
|  |  | HIV-1 RNA, Quantitative, PCR | HIVL1 | 2. All shifts - Separate/aliquot plasma into new labelled tube and freeze at -80. Freeze specimens received from TMH/NH upon arrival. 3. Viral loads require their own tube and cannot be a shared specimen with Hematology (CBC) and cannot be added on to a CBC. 4. Specimens should not come to the lab in a pour off tube from another lab, the only exception is a plasma aliquot for a study.
| 6 mL Lavender Top Vacuetter or Pearl Top Vacuette |  | Hepatitis C RNA, Quantitative, PCR | HCVLD
|  |  | Hepatitis C Genotype, PCR | HCVG1
Body Fluid - Sterile | Sterile white top tube, leakproof container, or syringe (Syringes w/ needle attached not accepted) *Swabs are only acceptable if OR specimen | 24 hrs RT | Culture and GS, OR Aerobe Anaerobe | CXANO | 1. For use with specimens obtained from OR and Interventional Radiology ONLY
|  |  | Culture and GS, Aerobe Anaerobe | CXANA | 1. Must have source and site indicated. Any additional info should be entered in OE comment .
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
Bone Marrow | Sterile white top vacutainer or pedi isolator tube | 16 hrs RT | Culture and GS, Bone Marrow | CXBM | 1. Specimens received in EDTA (lavender) are unacceptable 2. Specimen in heparin (green) or SPS may be transferred to pedi isolator tube
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
Bronchial/Bronch Wash | Sterile Leakproof Container | 2 hrs RT | Culture and GS, Bronchial Wash | CXBRO
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
|  |  | Legionella Culture | CXLEG
|  |  | Pneumocystis Smear by DFA | DFPCP
|  |  | Respiratory Pathogen Panel | RPP | *Requires Director approval
Bronchial/Bronch Brush | Sterile Leakproof Container | 2 hrs RT | Culture, Bronchial Brush | CXBRS
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
|  |  | Legionella Culture | CXLEG
|  |  | Pneumocystis Smear by DFA | DFPCP
Appendix AP1 |  |  |  |  | 01/27/2020 RT=Room Temperature
Specimen | Specimen Collection Device | Specimen Stability/ Rejection Criteria | Epic Procedure Name | Soft Order | Comments
Bronchial Lavage - BAL | Sterile Leakproof Container | 2 hrs RT | Culture, BAL Quantitative | CXBQT | 1. All Bronch Lavages must be ordered/planted as Quantitative cultures
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
|  |  | Legionella Culture | CXLEG
|  |  | Pneumocystis Smear by DFA | DFPCP
|  |  | Respiratory Pathogen Panel | RPP | *Requires Director approval
CAP Specimens | Survey dependant |  |  |  | 1. Refer to Appendix AP5 for ordering instructions
Catheter tip | Sterile Leakproof Container | 24 hrs RT | Culture, IV Catheter Tip | CXTIP | 1. Foley catheters, chest tubes, abdominal drainage tips are unnacceptable
Cornea/Corneal scraping | Sterile LeakProof Container/ Inoculated Plates/Slides from Dr. Office | 2 hrs RT | Culture, Cornea | CXCOR | 1. Order according to physican request 2. If media is received already inoculated, label with appropriate media labels.
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
|  |  | Acanthamoeba Smear | ACNTH
CSF (Lumbar Puncture Only) | Sterile Leakproof Container | 24 hrs 2-8° Minimum 45 days -70°C ALWAYS STAT | Culture and GS, CSF LP | CXCSF | 1. Assess all orders if possible QNS 2. Consult with MD for order priority 3. Notify STAT tech of EV orders and print additional collection label for aliquot 4. MEPCR add-on requests require ID approval. Specimen must have initial culture, EV, and HSV testing. 5.Notify STAT tech of MEPCR add-on orders and print additional collection label for testing.
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
|  |  | Enterovirus, PCR, CSF | CEVP
|  |  | - LAB ORDERABLE ONLY - | MEPCR
|  | 7 days 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, CSF | CSHSV
|  |  | Varicella Zoster, Qualitative PCR, CSF | CVZV
Dog | eSwab/Copan Double Swab | 24 hrs RT | - LAB ORDERABLE ONLY - | CXMRS | 1. Refer to Appendix AP5 for ordering instructions
Ear | eSwab/Copan Double Swab | 24 hrs RT | Culture, Ear | CXEAR | 1. If ear fluid is received in sterile container, treat as aspirate and order anaerobic culture.
|  |  | Culture and GS, Ear | CXEAG
|  |  | Fungal Culture and Smear | CXFUS
| Copan Swab in 1uL UTM | 7 days 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, Vesicle/Skin | VSHSV | 1. Sterile Polyester swabs only 2. No swab/Wooden swabs unnaceptable and should be cancelled
Eye | eSwab/Copan Double Swab | 24 hrs RT | Culture, Eye | CXEYE | 1. If eye fluid is received in sterile container, treat as aspirate and order anaerobic culture or vitreous, if appropriate.
|  |  | Culture and GS, Eye | CXEYG
|  |  | Fungla Culture and Smear | CXFUS
| Copan Swab in 1uL UTM | 7 days at 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, Eye | EHSV | 1. Sterile Polyester swabs only 2. No swab/Wooden swabs unnaceptable and should be cancelled
| Aptima Swab Collection Kit | 60 days 2-30°C 90 days -20 to -70°C | Chlamydia Trac Probe, Eye | EYEC1 | 1. Refer to Appendix AP22 for additional comments
|  |  | Gonorrhoea Probe, Eye | EYEG1 | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
Eye, Nasal, Mouth and/or Rectal swab | Copan Swab(s) in 1 uL UTM | 7 days 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, Infant Screen | ISHSV | 1. Sterile Polyester swabs only 2. No swab/Wooden swabs unnaceptable and should be cancelled
Fungal Hair/Skin/Nail | Hair, nails, or skin scrapings sent in sterile container | RT | Fungal Culture, Skin | CXFNS | 1. If swab received reorder as CXFUS
Appendix AP1 |  |  |  |  | 01/27/2020 RT=Room Temperature
Specimen | Specimen Collection Device | Specimen Stability/ Rejection Criteria | Epic Procedure Name | Soft Order | Comments
Foreign Body | Sterile Leakproof Container | 24 hrs RT | Culture and GS, Aerobe Anaerobe | CXANA | 1. If received with appropriate specimens (Tissue, Body Fluid), cancel as inapproprate specimen unless further processing requested by physician 2. Director approval required 3.Enter source: FORBD (no gram stain)
|  |  | Fungal Culture and Smear | CXFUS
Gastric Aspirates | Sterile Leakproof Container | Neutralize within 4 hrs of collection | AFB Culture and Smear | CXAFB | 1. Notify AFB lab for immediate processing
Genital | eSwab/Copan Double Swab | 24 hrs RT | Fungal Culture and Smear | CXFUS | 1. Wound culture should not be ordered unless special request.
|  |  | Group A Strep Screen, Genital | CXGAG
|  |  | Group B Strep Screen, Genital/Rectal, PCR | GBSPC
|  |  | - LAB ORDERABLE ONLY - | CXGRB | 1. Culture added to Invalid GBSPC tests 2. Requires Medical/Laboratory Director as ordering physician for cancellation rule overide
| BDMax UVE Collection Kit | 24 hrs RT 7 days 2-8°C | Vaginitis Panel, PCR | VPPCR | 1. Collection swab must be present in container
| Copan Swab in 1uL UTM | 7 days 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, Genital | GHSV | 1. Sterile Polyester swabs only 2. No swab/Wooden swabs unnacceptable and should be cancelled
Genital - Cervical | Aptima Swab Collection Kit | 60 days 2-30°C 90 days -20 to -70°C | Chlamydia Trac Probe, Cervical | CERC1 | 1. Refer to Appendix AP22 for additional comments
|  |  | Gonorrhoea Probe, Cervical | CERG1 | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
|  |  | Trich Vaginalis Probe, Cervical | CERTV
Genital - Urethral | Aptima Swab Collection Kit | 60 days 2-30°C 90 days -20 to -70°C | Chlamydia Trac Probe, Urethral | UREC1 | 1. Refer to Appendix AP22 for additional comments
|  |  | Gonorrhoea Probe, Urethral | UREG1 | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
|  |  | Trich Vaginalis Probe, Male Urethral | URLTV
Genital - Vaginal | Aptima Swab Collection Kit | 60 days 2-30°C 90 days -20 to -70°C | Chlamydia Trac Probe, Vaginal | VAGC1 | 1. Refer to Appendix AP22 for additional comments
|  |  | Gonorrhoea Probe, Vaginal | VAGG1 | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
|  |  | Trich Vaginalis Probe, Vaginal | VAGTV
Hardware | Sterile Leakproof Container | 24 hrs RT | *Culture and GS, OR Aerobe Anaerobe | CXANO | 1. If received with appropriate specimens (Tissue, Body Fluid), cancel as inapproprate specimen unless further processing requested by physician 2. Director approval requried
|  |  | Fungal Culture and Smear | CXFUS
Nasal | eSwab/Copan Double Swab | 24 hrs RT | MRSA Screen | CXMRS
| Copan Double Swab | 24 hrs RT | Preadmission Testing Nasal Screen, PCR | NAPAT | 1. Preadmission and Preoperative testing only 2. Orders generating from inpatient units must be confirmed as Preoperative testing
Nasopharyngeal | Flocked swab in 1 uL UTM | 12 hrs RT (RPP) 24 hrs RT (FLRSV) 7 days at 2-8°C | Influenza, PCR, Rapid | RFLUP | 1. Specimens should be received in 1ml of UTM collected with flocked swab 2. RSV specific orders (RSVP/FLRSV) only acceptable on patients <3 years of age
|  |  | RSV, PCR, Rapid | RSVP
|  |  | Influenza and RSV, PCR, Rapid | FLRSV
|  |  | Respiratory Pathogen Panel | RPP
| Aptima Swab Collection Kit | 60 days 2-30°C 90 days -20 to -70°C | Chlamydia Probe, Nasophrayngeal | NASC1 | 1. Refer to Appendix AP22 for additional comments
|  |  | Gonorrhoea Probe, Nasopharyngeal | NASG1 | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
Oral | Copan swab in 1uL UTM | 7 days 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, Oral | OHSV | 1. Sterile Polyester swabs only 2. No swab/Wooden swabs unnaceptable and should be cancelled
Peritoneal Dialysis fluid | White Top Vacuette and Aerobic/Anaerobic Blood Culture Bottles | 2 hrs RT | Culture, Dialysate | CXDIA | 1. Blood bottles may be sent as part of anaerobic culture 2. Load directly onto Versatrek by scanning Collection label
Appendix AP1 |  |  |  |  | 01/27/2020 RT=Room Temperature
Specimen | Specimen Collection Device | Specimen Stability/ Rejection Criteria | Epic Procedure Name | Soft Order | Comments
Rectal | eSwab/Copan Double Swab | 24 hrs RT | MRSA Screen | CXMRS | 1. Order in SOFT with source: Rectal 2. CNA media generated in place of CHROM
|  |  | VRE Screen | CXVRE
|  |  | Group A Strep Screen, Rectal | CXGAL | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
|  |  | - LAB ORDERABLE ONLY - | CXCPE
| Fecal Swab | 24 hrs RT 5 days 2-8°C | Stool Fecal Swab Basic GI PCR Panel | ENTBR | 1. Collection swab must be present in container
|  |  | Stool Fecal Swab Extended GI PCR Panel | ENTXR
| Copan swab in 1uL UTM | 7 days 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, Rectal | RHSV | 1. Sterile Polyester swabs only 2. No swab/Wooden swabs unnacceptable and should be cancelled
| Aptima Swab Collection Kit | 60 days 2-30°C 90 days -20 to -70°C | Chlamydia Trac Probe, Rectal | RECC1 | 1. Refer to Appendix AP22 for additional comments
|  |  | Gonorrhoea Probe, Rectal | RECG1 | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
|  |  | Trich Vaginalis Probe, Rectal | RECT1
Shunt Fluid | Sterile white top tube or leakproof container | 24 hrs RT 7 days 2-8°C | Culture and GS, CSF Shunt Fluid | CXSHN | 1. Assess all orders if possible QNS 2. Consult with MD for order priority
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
Sputum | Sterile Leakproof Container | 24 hrs RT | Culture and GS, Sputum | CXSPT
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
|  |  | Legionella Culture | CXLEG
|  |  | Pneumocystis Smear by DFA | DFPCP | 1. Induced sputum only acceptible specimen
|  |  | MRSA Screen | CXMRS | 1. Order in SOFT with source: Sputum 2. CNA media generated in place of CHROM
|  |  | - LAB ORDERABLE ONLY - | MTBPC | 1. Add-on requires completetion of Risk Assessment 2. Initial AFB culture required 3. Specimen must be present in lab before adding on MTBPC order
Sputum - Cystic Fibrosis | Sterile Leakproof Container | 24 hrs RT | C Fibrosis Culture, Sputum | CXCF | 1. If a swab is received on a CF patient, must have order source: SPSW - no gram stain
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
Stool | Inpatients/ER: Clean Vial Outpatients: Cary Blair - Yellow Top | Clean Vial: 2 hrs RT Cary Blair: 24 hrs RT | Stool Carey-Blair Basic GI PCR Panel | ENTB
|  |  | Stool Carey-Blair Extended GI PCR Panel | ENTX
| Inpatients/ER: Clean Vial Outpatients: Total Fix Vial - Black Top | Clean Vial: 2 hrs RT Total Fix: 24 hrs RT | Stool PCR Parasite Screen | PARSC | 1. Place red dot sticker on vial if full O&P needed after screen
| Inpatients/ER: Clean Vial Outpatients: Total Fix Vial - Black Top | Clean Vial: 2 hrs RT Total Fix: 24 hrs RT | - LAB ORDERABLE ONLY - | OP1 | 1. Must have PARSC ordered initially 2. Order Op1 & OPADD in Soft OE 3. Enter Risk factor using OPADD keypad
| Clean Vial | 5 days 2-8°C | Clostridium difficile toxin PCR | CDPCR | 1. Testing performed by Molecular Micro M-F and STAT (Genexpert) Sat-Sun/Holidays
Throat | eSwab/Copan Double Swab | 24 hrs RT | C Fibrosis Culture, Sputum | CXCF
|  |  | Fungal Culture and Smear | CXFUS
|  |  | Throat Group A Strep PCR | GASPC
|  |  | - LAB ORDERABLE ONLY - | CXTHR | 1. Culture added to Invalid GASPC tests 2. Requires Dr. Chapin as ordering physician for cancellation rule overide
| Aptima Swab Collection Kit | 60 days 2-30°C 90 days -20 to -70°C | Chlamydia Trac Probe, Throat | THRC1 | 1. Refer to Appendix AP22 for additional comments
|  |  | Gonorrhoea Probe, Throat | THRG1 | 2. Check for correct swab and unpunctured cap 3. Specimens held at RT until designated CORO run
|  |  | Trich Vaginalis Probe, Throat | THRT1
Appendix AP1 |  |  |  |  | 01/27/2020 RT=Room Temperature
Specimen | Specimen Collection Device | Specimen Stability/ Rejection Criteria | Epic Procedure Name | Soft Order | Comments
Tissue | Sterile Leakproof Container | 24 hrs RT | Culture and GS, OR Aerobe Anaerobe | CXANO | 1. For use with specimens obtained from OR and Interventional Radiology ONLY
|  |  | Culture and GS, Aerobe Anaerobe | CXANA
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
Urine | Sterile Leakproof Container | Unpreserved: 2 hrs RT Preserved: 24 hrs RT | Culture, Urine | CXURN | 1. Order gram stain:GRAMO for pedis <6 months at Hasbro ER
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
|  |  | MRSA Screen | CXMRS | 1. Order in SOFT with source: URINE 2. CNA media generated in place of CHROM
| Aptima Urine Collection Kit | 30 days 2 to 30°C 90 days -20 to -70°C | Chlamydia Trac Probe, Urine | URIC1 | 1. Check volume to determine whether or not in range, cancel if inappropriate 2. Specimens held at RT rack until designated CORO run
|  |  | Gonorrhoea Probe, Urine | URIG1
|  |  | Trich Vaginalis Probe, Urine | URNTV
Vesicle | Copan swab in 1uL UTM | 7 days 2-8°C >7days -70°C | Herpes Simplex I and II, PCR, Vesicle/Skin | VSHSV | 1. Sterile Polyester swabs only 2. No swab/Wooden swabs unnaceptable and should be cancelled
|  |  | Varicella Zoster, PCR, Vesicle/Skin | VSVZP
Vitreous Fluid | Sterile white top tube, leakproof container, or syringe (Syringes w/ needle attached not accepted) | 24 hrs RT | Culture, Vitreous Fluid | CXVIT | 1. Assess all orders if possible QNS 2. Consult with MD for order priority
|  |  | Fungal Culture and Smear | CXFUS
|  |  | AFB Culture and Smear | CXAFB
Water QC | Sterile Leakproof Container | N/A | - LAB ORDERABLE ONLY - | CXENV | 1. Refer to Appendix AP5 for ordering instructions
Wound | eSwab/Copan Double Swab | 24 hrs RT | Culture and GS, Wound | CXWND | 1. Must have source (WOUND/DRAIN) and site indicated 2. Any additional info should be entered in OE comment
|  |  | Fungal Culture and Smear | CXFUS