- SOFT – before the cartridge is set up and loaded onto the GeneXpert® instrument.

The positive bottle is the first aerobic bottle of the patient’s admission AND the gram stain of the aerobic bottle shows Gram positive cocci suggestive of Staphylococci or Gram positive cocci in singles.

- With your cursor, select the BLAER line of the worksheet. Once selected you are able to choose the media to add the: Gram stain charge, the media sub plates, additional testing and the $PCR (this is the billable media to charge for the Xpert® MRSA/SA test that will be set up.)

- Your worksheet will now look like this:

- Report the result of the gram stain per the Critical Call Policy for positive blood culture results.

- Add the test comment }RPP immediately following the result of the called positive blood culture report and set the Interim status.

Your instant report will now look like this:

- Proceed to the molecular hood and prepare the GeneXpert® sample cartridge.   Follow the directions exactly as stated in the procedure manual.  Load the cartridge onto the GeneXpert® instrument.

- SOFT – after the test is complete and results are available on the GeneXpert® instrument.

- The test takes approximately one hour.  Set a timer to alert you when this is finished.  When the assay is complete, a printed result will be generated.  The same result may also be viewed as a PDF file on the GeneXpert® monitor attached to the instrument.

- POSITIVE for MRSA – The report generated from the GeneXpert® instrument will look like this:

- In SOFT, you will now report out the results as an isolate.

- On the Test tab, hide the }RPP comment.  Double click to open the test comment box and place a ? in front of the comment.

- In the worksheet, select the $PCR line.  When you do this, the keypad should appear and you need to select the  MRSA pos SA pos ^mrsapcr;;&PCRP;*Probable option.

- After this, a pop-up box will appear and you select the YES box to add the isolate to the report.

- Now select the isolate tab (1).  Working on the Isolate tab of SOFT, select the line you just added (2) .  Open the Isolate comment box and add the person to whom you called the positive MRSA PCR result (3). Select Verify All (4).   Re-set Interim Status for the culture. (5)

1

5

2

3

4

- View an Instant Report of your result.  It should look like this:

- The report is complete.

- POSITIVE for SA – The report generated from the GeneXpert® instrument will look like this:

- In SOFT, you will now report out the results as an isolate.

- On the Test tab, hide the }RPP comment.  Double click to open the test comment box and place a ? in front of the comment.

- In the worksheet, select the $PCR line.  When you do this, the keypad should appear and you need to select the

MRSA negSApos ^pcrsa;;&PCRP;*Probable option.

- After this, a pop-up box will appear and you select the YES box to add the isolate to the report.

- Now select the isolate tab (1).  Working on the Isolate tab of SOFT, select the line you just added (2) .  Open the Isolate comment box and add the person to whom you called the positive Staphylococcal aureus PCR result (3). Select Verify All (4).   Re-set Interim Status for the culture. (5)

1

4

2

3

8

5

- View an Instant Report of your result.  It should look like this:

- The report is complete.

- NEGATIVE FOR BOTH MRSA AND SA – The report generated from the GeneXpert® instrument will look like this:

- In SOFT, you will now report out the results as an isolate.

- On the Test tab, hide the }RPP comment.  Double click to open the test comment box and place a ? in front of the comment.

- In the worksheet, select the $PCR line.  When you do this, the keypad should appear and you need to select the

MRSA neg SA neg ^gpcsta;;&PCRN;*Positive for option.

- After this, a pop-up box will appear and you select the YES box to add the isolate to the report.

- Now select the isolate tab (1).  Working on the Isolate tab of SOFT, select the line you just added (2) .  Select Verify All (3).   Re-set Interim Status for the culture (4).  There is no need to call this negative PCR result.

2

8

3

1

4

- View an Instant Report of your result.  It should look like this:

- The report is complete.

- For INVALID / ERROR / NO RESULT TESTS

- In SOFT, you will now report out the results as an isolate.

- On the Test tab, hide the }RPP comment.  Double click to open the           test comment box and place a ? in front of the comment.

- In the worksheet, select the $PCR line.  When you do this, the keypad should appear and you need to select the

INVALID PCR PCR Inconclusive ^gpcsta;;&RPPI;*Positive for option.

- After this, a pop-up box will appear and you select the YES box to add the isolate to the report.

- Now select the isolate tab (1).  Working on the Isolate tab of SOFT, select the line you just added (2) .  Select Verify All (3).   Re-set Interim Status for the culture (4).  There is no need to call this negative PCR result.

3

2

8

4

1

- View an Instant Report of your result.  It should look like this:

- The report is complete.