PROCEDURE: Downtime Procedure (NPH)

- Principle

  - There are two computer systems involved in maintaining functionality throughout the laboratory:

SCC Softlab - Laboratory Information System

LifeChart - Hospital Information System

LifeChart is the hospital/Lifespan wide system. This system is responsible for all registration, transfer, and discharge of patients.  Through an ADT interface, the patient’s demographic information is electronically passed from LifeChart to Soft.  In addition, laboratory orders and results are available on LifeChart. The two systems communicate via an interface engine, which controls the data transferring from one system to the other.

There are two different scenarios that can happen that will cause downtime. First, LifeChart can be down, and this means that no patient registrations will be generated. The other scenario is when Soft is down.  In this case, LifeChart registrations and orders can be generated and sent to Soft, but lab will not be able to access the patient record in Soft. When Soft is down, orders will cease in LifeChart.  Only registrations will occur.

If one or more of the systems is down, laboratory operations will be affected. In downtime situations, the following procedures need to be followed to ensure patient specimens are processed and results are reported in a timely manner.

- Procedure for SOFT Downtime

  - Generating Downtime Labels

    - During downtime, each hospital laboratory will generate downtime labels through an external program set up at designated terminals within the laboratories. Labels will print on an Intermec printer.  Each hospital site will generate labels that have a specific range of order numbers so as not to duplicate order numbers.  From those site-specific labels, each department will be assigned a specific range of order numbers to use. The range of order numbers for the Microbiology Department are:

RIH	75000 - 77999

TMH	85000 - 87999

NPH	95000 –97999

    - Printing Downtime Labels:

      - Program located on NPHAZ2LABCHEMPC

      - Double-click on the iron “Down Time Labels” installed on the desktop. It will open a window and prompt you for the following:

        - What printer? [Network]

        - What hospital? [NH]

        - What lab? [MICRO]

        - Date?

        - Starting Label number? [leave the default]

        - Number of labels? Refers to the # of specimens/patients

        - Only print 10 at a time

      - These generated labels are what will be used as Soft order numbers and assigned to specimens as they arrive in the individual department. During downtime, it is essential that all departments try to help by taking their individual specimens and begin to process them.

    - Labeling and Logging Specimens

      - There will be 5 labels generated for downtime to be used for:

        - 1 requisition/patient demographic label (with barcode)

        - 2 specimen labels (with barcode) – Do not use for blood cultures

        - 2 blood culture labels with extensions X4 - For blood cultures

      - Requisition Label – Attach to top copy of Downtime slip. This will be used later to wand and enter into OE.

      - Re-write the order number on this top copy so it will transfer to any carbon copies attached - Keep top copy at front desk.

      - Sort slips into different piles according to major benches.

      - Specimen Labels with X4 Extensions – For use with blood culture bottles, one for each bottle loaded. Additional labels may also be used for routine cultures, if needed.

      - Specimen labels (no Extensions) - Apply to specimen container/swab.

      - Send labeled specimens and copy of slip to processing or appropriate bench.

      - For split specimens, make as many photocopies as necessary so that there is a paper trail for each specimen with multiple orders.

    - Planting/Processing

      - During downtime smears and STAT tests will have to be labeled by hand with the generated downtime order number.

      - Separate slips (in same order as planted) by benches so that they can document handwritten workups, if needed.

      - Specimens with soft order numbers

        - Rapid test results, gram stains and phone reports on these can be documented on Appendix AP74 – Soft Order Number Worksheets.

      - Specimens with downtime labels:

        - Rapid test results, gram stains and phone reports on these can be documented on the downtime slip that corresponds to the culture or on Appendix AP73 – Downtime Result Log.

    - Blood Cultures

      - Place a specimen barcode label (with extension X4) on each bottle.

      - Place a Requisition Label on downtime slip.

      - Place a specimen barcode (without extension) on Appendix AP75 –  Blood Culture Downtime Log.

    - Notification/Communication

      - In the event of a downtime, communication with units and floors is essential for patient care.

      - All critical values will be called back to the requesting unit when they are available.

      - If a nursing unit needs to obtain results during downtime, they will have to contact the lab.

      - All STATS will be faxed or called back to the appropriate unit when available.

    - NPH STAT Testing

      - Assays such as GeneXpert and eplex will temporarily lose the ability to interface during a downtime.

      - New Orders - In the event of a downtime, the interface will not be used if a new run is being set up using downtime labels. New runs will be created using downtime labels. Results can be entered manually into Soft when results are available, and downtime is complete. The department may deem it necessary not to set up any new runs until the downtime is over.

      - Existing Orders -If a run has already been started and a downtime begins; results will not be transmitted through the interface into Soft until downtime is complete.

- Procedure for Downtime Recovery/Downtime Complete

  - Logging in Orders

    - In Order Entry:

      - Search for the patient by Medical Record Number and choose correct patient encounter.

      - Choose New orders.

      - On General tab, scan the Downtime barcode label into the Order number field.

      - Enter Collection date and time on the General Tab.

      - Place any orders in the “Orders” tab on right hand side of screen.

      - If only micro orders on the specimen, click on Collect, Receive, Plate when the Micro tab opens.  The collection date and time that you entered from the General tab will be the collection date and time generated in the field. Received and plated time default to real time.

      - If there are lab specimens (molecular/STAT) go to the Specimens tab and Coll/Rec All. ***MAKE SURE DATES MATCH GENERAL TAB***

      - If a mixture of both micro and gen lab specimens, fill in Micro tab first, (site/source), COLL/REC/PLATED, then go to Specimen tab to Coll/Rec All.

      - Generate Media labels and sequence numbers.

      - Deliver media labels to RIH Micro Lab. Plates will need to be labeled by the tech at the bench.

      - Bench technologists will enter all previous workups that have been documented on the downtime slip.  This includes stains and STAT tests. It can be documented in “Test Comment” if a result was entered but performed by another tech. The performing tech info can be documented in test comment area as a “?” statement.

  - Interfaces

    - Once a downtime is complete, instrument interfaces should be checked in Soft to be sure they are back up and running.

    - The following interfaces should be checked after a downtime in the NPH Microbiology lab:

| Interface Name | Instrument ID |
| --- | --- |
| Mic LabelServer | LMIC |
| ePlex | NPLEX |
| GeneXpert Cepheid2 | NGENE |

    - To verify each Interface is Running:

      - In Softlab  Main desktop

      - Interface  Interface Setup

      - Interface (top drop down)  All Interfaces  Status Screen

      - Interface Setup Status window will open up

      - Go down the menu and search for the Instruments by ID or Name

        - There should be a time in the Start column.

        - If the Start column says NOT RUNNING, the interface needs to be started

    - To Restart an Interface

      - Highlight the instrument you want to restart

      - Click on the “Start” button at bottom

      - Start time will change from NOT RUNNING to present time

      - Close windows

  - Pending Logs

    - Be sure to monitor Collection and plating worklists after all downtime orders have been logged in.

    - Run a Pending Log report (Softlab) for all workstations

- Revisions

  - 01/29/2020 - Updated downtime procedure and interfaces to include new instrumentation and Miriam Hospital instrumentation.

  - 02/17/2026 – Removed sections no longer applicable to the NPH Micro Lab. Reformatted for consistency between affiliated laboratories.