Laboratories at Shady Grove Medical Center and Shady Grove Adventist Emergency Center at Germantown

Date: 6/9/2015

INTERNAL LABORATORY ALERT

Subject: Urine Collection Tubes

The Laboratory is informing you of the following change:

| Effective date: | June 15, 2015 |  |
| --- | --- | --- |
| Urinalysis Collection Tube (Tube contains preservative) | The Urine Analysis Preservative Tube will replace the current yellow top UA tube. This tube will preserve the patient urine sample for up to 24 hours for Urinalysis testing. Notes: - The gray top tube for Culture & Sensitivity will remain the same. - Urine sample is transferred into tubes and can be sent immediately via Pneumatic Tube system. |  |
| Urine Chemistry Collection Tube (Plain Yellow Top Tube) | The following tests must be collected in the plain yellow top: - Urine hCG / pregnancy test - Urine Drugs of Abuse - Urine Chemistry Tests (Na, Cl, or Creat) |  |
| Additional information: | Do NOT reject properly labeled urine samples received in plain yellow tubes or cups for urinalysis and culture unless it is older than 2 hours. |  |
| Lab Contacts: | Samson Khandagale SGMC 240-826-6642 or WAH 301-891-6126 Robert SanLuis, SGMC 240-826-6095 or WAH 301-891-6238 |  |

G:\AHC_Lab\Clinical Folders\Communication_General Lab\Lab Alerts