- TRAINING UPDATE

| Lab Location: | SGMC and WAH | Date Implemented: | 1.7.2020 |
| --- | --- | --- | --- |
| Department: | Field Operations | Due Date: | 1.21.2020 |

- DESCRIPTION OF PROCEDURE REVISION

Name of procedure:

Glucose Tolerance Tests Procedure and Lab Glucose Tolerance Testing Schedule

Description of change(s):

We removed the requirement to obtain and check the fasting glucose prior to administering glucola. - The fasting glucose is collected, but it will be sent to the laboratory for testing like the other samples. - Staff DO NOT have to check the fasting glucose result before they give glucola The procedure and form have been updated to reflect this change.

Non-Technical SOP

| ###### Title | Glucose Tolerance Tests |  |
| --- | --- | --- |
| ###### Prepared by | Stephanie Codina | Date: 7/24/2017 |
| ###### Owner | Stephanie Codina | Date: 7/24/2017 |

| Laboratory Approval |  |  |
| --- | --- | --- |
| Print Name and Title | Signature | Date |
| Refer to the electronic signature page for approval and approval dates. |  |  |
| Local Issue Date: | Local Effective Date: |  |

TABLE OF CONTENTS

1.	PURPOSE	1

2.	SCOPE	1

3.	RESPONSIBILITY	1

4.	DEFINITIONS	2

5.	PROCEDURE	2

6.	RELATED DOCUMENTS	4

7.	REFERENCES	4

8.	REVISION HISTORY	4

9.	ADDENDA AND APPENDICES	4

# PURPOSE

To ensure all Glucose Tolerance Tests are collected as requested by the ordering physician.

# SCOPE

This procedure applies to all Glucose Tolerance tests.

# RESPONSIBILITY

- Client Service staff are responsible for scheduling and ordering glucose tolerance tests, dosing glucola for patients, and notifying phlebotomy staff when timed collections are due.

- Phlebotomy staff will collect timed blood specimens per normal procedure.

- The Field Operations manager / supervisor are responsible for the content and review of the procedure.

# DEFINITIONS

- Glucola—a flavored, non-carbonated preparation of corn syrup that contains a specific amount of glucose.  Bottles may contain 50gm, 75gm, or 100gm of glucose.  Serve chilled to enhance palatability.

- Glucose Tolerence Test (GTT)—a test used to determine if a patient’s blood glucose level is within normal range. Blood glucose testing can help diagnose and monitor diabetes, pre-diabetes, and hypoglycemia (low blood glucose).

# PROCEDURE

Scheduling

| Step | Action |
| --- | --- |
| 1 | Glucose tolerance tests for both inpatients and outpatients must be scheduled in advance by calling the outpatient laboratory. Outpatient laboratory staff will document the scheduled test in the designated planner. - Patients will only be scheduled in the morning as carbohydrate tolerance deteriorates as the day progresses. - Patients must be ambulatory with an unrestricted diet. - Patients must fast for at least 10 hours prior to testing. - Patients cannot be scheduled for glucose tolerance testing within the 72 hours following an upper GI series as barium interferes with glucose absorption. - No more than 2 GTT tests are scheduled on any given day. |

When patient arrives

| Step |  | Action |
| --- | --- | --- |
| 1 |  | Order the test in the laboratory computer system per procedure. Refer to the Glucose Tolerance Patient Weight and Glucose Volume Reference Chart for proper test codes. Note: If the physician requests a specific glucose dose, enter the dose in order comments in the computer order and notify the phlebotomist. |
| 2 |  | Complete the upper-right hand corner of a “Lab Glucose Tolerance Testing Schedule” form by filling in the following: - Patient name - Patient location - Type of test (1 hour, 2 hour, 3 hour) |
| 3 |  | Collect (or instruct a phlebotomist to collect) a fasting specimen from the patient using a plasma separator (green) tube. - Do not collect the fasting specimen if the patient is being seen for a postprandial test. - Ensure the patient has fasted for at least 10 hours prior to collecting a fasting blood specimen. - Follow procedures for patient identification and venipuncture. - Document the time the fasting specimen was collected on the form. |
| 4 |  | Provide the appropriate dose of glucola to the patient. - Serve the glucola chilled to enhance palatability. - Ensure the patient consumes the entire dose of glucola within 5 minutes. - Document the time of glucola ingestion on the form. |
| 5 |  | Determine the time that subsequent glucose draws (1 hour, 2 hour, etc.) should take place based on the physician order and document the times in the appropriate boxes on the form. |
| 6 |  | Give the patient a GTT instruction sheet that includes the times of subsequent blood draws. The form instructs the patient: - No eating or drinking anything (other than water) - water / ice chips should be limited - No chewing gum - No smoking - No sleeping - Notify lab staff if any adverse reaction occurs - Stay in the laboratory reception area during the test - Limit activities. Result integrity will be compromised due to over exertion causing un-natural metabolizing of glucola. |
| 7 | A phlebotomist will call the patient and collect the next glucose specimen at the specified times. The phlebotomist will: - Re-identify the patient per procedure with each venipuncture. - Properly label the specimen with the designated laboratory label. - Place an aliquot/footer label in the appropriate space on the form. - Instruct the patient to return in one-hour increments for subsequent blood draws until the conclusion of the test. |  |
| 8 | Call a rapid response or code MET (outpatients) or notify the attending nurse (inpatients) immediately if the patient experiences symptoms of nervousness, weakness, hunger, tachardia, sweating, headache, blurred vision, double vision, mental confusion, incoherent speech, bizarre behavior, loss of consciousness, convulsion. These are signs of hypoglycemia. - Immediately draw blood for a STAT glucose, if ordered by a provider. - Record the patient’s signs and symptoms on the GTT schedule. - Follow instructions given by the nurse or medical provider. - Discontinue the test. |  |

# RELATED DOCUMENTS

Quest Diagnostics Directory of Services

SOP:  Patient Identification and Specimen Labeling

SOP:  Venipuncture

Glucose Tolerance Testing Schedule (AG.F97)

Glucose Tolerance Testing Patient Instructions (AG.F272)

# REFERENCES

Follow-up Report on the Diagnosis of Diabetes Mellitus, The Expert Committee on the Diagnosis and Classification of Diabetes Mellitus, Diabetes Care, Vol 26 No 11 November 2003

# REVISION HISTORY

| Version | Date | Reason for Revision | Revised By | Approved By |
| --- | --- | --- | --- | --- |
|  |  | Supersedes SGAH.P08.2 |  |  |
| 0 | 12/20/19 | Header: Changed WAH to WOMC Section 5: Removed requirement to test fasting glucose before giving glucola | SCodina | NCacciabeve |

# ADDENDA AND APPENDICES

Appendix A:  Glucose Tolerance Patient Weight and Glucose Volume Reference Chart

Appendix A

Glucose Tolerance Patient Weight and Glucose Volume Reference Chart

| POSTPRANDIAL GLUCOSE TESTS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Collect Samples and Label Tubes |  |  |  |
| Name of Test | Test Code | Glucola Bottle Size | # of Samples | Fasting | 1 hr | 2 hr | Comment |
| GTT, 1 hour (meal) | GTT1T | none | 2 | Yes | X |  | Collect 1 hour after a meal |
| GTT, 1 hour | GTT1T | 50 gm | 2 | Yes | X |  | Collect 1 hour after ingestion |
| GTT, 2 hour (meal) | GTT2T | None | 2 | Yes |  | X | Collect 2 hours after a meal |
| GTT, 2 hour | GTT2T | 75 gm | 2 | Yes |  | X | Collect 2 hours after ingestion |
| Postprandial, Non-fasting 1 hour (meal) SGMC only | GLUCN | None | 1 | No | X |  | Collect 1 hour after meal |
| Postprandial, Non-fasting 2 hour (meal) | GLUCN | None | 1 | No |  | X | Collect 2 hours after a meal |

| GLUCOSE TOLERANCE TESTS ON PREGNANT PATIENTS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Collect Samples and Label Tubes |  |  |  |
| Name of Test | Test Code | Glucola Bottle Size | # of Samples | Fasting | 1 hr | 2 hr | 3 hr |
| GTT, Gestational Screen | GTT1P | 50 gm | 1 | No | X |  |  |
| GTT, Gestational, 2 hour ( SGAH PNC only) | GGT1T | 50 gm | 1 | No |  | X |  |
| GTT, Gestational, 3 hour | GTT3P | 100 gm | 4 | Yes | X | X | X |

| GLUCOSE TOLERANCE TESTS (MEN, NON-PREGNANT WOMEN OR CHILDREN WEIGHING GREATER THAN OR EQUAL TO 95 POUNDS) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Collect Samples and Label Tubes |  |  |  |  |  |
| Name of Test | Test Code | Glucola Bottle Size | # of Samples | Fasting | 1 hr | 2 hr | 3 hr | 4 hr | 5 hr |
| GTT, 2 hour | GTT2T | 75 gm | 2 | Yes |  | X |  |  |  |
| GTT, 3 hour | GTT3T | 100 gm | 4 | Yes | X | X | X |  |  |
| GTT, 5 hour | GTT5T | 100 gm | 6 | Yes | X | X | X | X | X |

GLUCOSE TOLERANCE TESTS FOR PATIENTS WEIGHING

UNDER 95 POUNDS

Use the information in the above table, except that the amount of Glucola is reduced.

Using the chart below and the patient’s weight, determine number of ounces to be provided from a 75 gram bottle.

The 75 gram bottles have volume graduations (lines) on the label.   Use these graduation lines to pour out the appropriate number of ounces of Glucola for the patient.

| Weight of Patient in Pounds | Ounces of Glucola (From 75 g Glucola in a 10 ounce bottle) |
| --- | --- |
| 24 to 32 pounds | 3 ounces |
| 33 to 42 pounds | 4 ounces |
| 43 to 51 pounds | 5 ounces |
| 52 to 61 pounds | 6 ounces |
| 62 to 70 pounds | 7 ounces |
| 71 to 80 pounds | 8 ounces |
| 81 to 89 pounds | 9 ounces |
| 90 to 95 pounds | 10 ounces (whole bottle) |

|  |  | □ Shady Grove Medical Center □ White Oak Medical Center |
| --- | --- | --- |

PATIENT NAME:  ______________________

ROOM # / LOCATION:  ______________________

TYPE OF TEST:     1 HR    2 HR    3 HR

LAB GLUCOSE TOLERANCE TESTING SCHEDULE

Instructions for Field Ops Rep:

- Refer to the procedure for detailed instructions.

- Draw fasting specimen & deliver to processing area.

- Dose glucola or have patient eat a meal per procedure.

- Record time of 1st, 2nd & 3rd hour draws on the schedule. Attach LIS labels to the schedule.

- Collect blood at specified times, enter the actual draw time on the schedule.

- Label the specimens using the label that specifies the draw (1 hour, 2 hour, 3 hour).

- After each collection, drop off specimens in the Processing Department.

- Inform patient as soon as test has ended.

- File the completed forms in the designated folder.

TIMING OF BLOOD DRAWS

| Fasting Draw time | Time Glucola Ingested | 1-Hour Draw Time | 2-Hour Draw Time | 3-Hour Draw Time |
| --- | --- | --- | --- | --- |
| Paste LIS sticker here after draw |  | Paste LIS sticker here after draw | Paste LIS sticker here after draw | Paste LIS sticker here after draw |