## TRAINING UPDATE

| Lab Location: | WOMC | Date Implemented: | 10/22/21 |
| --- | --- | --- | --- |
| Department: | Processing | Due Date: | 11/5/21 |

- DESCRIPTION OF PROCEDURE REVISION

Name of procedure:

Tracking Specimens Between AHC Sites

Description of change(s):

All specimens from FWMC will be tracked to WOMC. When samples arrive at WOMC, staff will review the tracking list to determine if any need to be forwarded to SGMC for testing. This is accomplished by reviewing the “Worksheet” column of the tracking list. - Tests done at WOMC start with a “W” - Tests done at SGMC start with an “S” To forward specimens, - Access Sunquest function TR - Select “3” to enter/receive batch specimen - At the “Current Tracking Location” prompt, type the template code for the receiving lab. - Update the track location to the final destination laboratory

Non-Technical SOP

| ###### Title | Tracking Specimens Between AHC Lab Sites |  |
| --- | --- | --- |
| ###### Prepared by | Stephanie Codina | Date: 6/15/2018 |
| ###### Owner | Stephanie Codina | Date: 6/15/2018 |

| ###### Laboratory Approval |  |  |
| --- | --- | --- |
| Print Name and Title | Signature | Date |
| Refer to the electronic signature page for approval and approval dates. |  |  |
| Local Issue Date: | Local Effective Date: |  |

TABLE OF CONTENTS

1.	PURPOSE	1

2.	SCOPE	1

3.	RESPONSIBILITY	1

4.	DEFINITIONS	1

5.	PROCEDURE	2

6.	RELATED DOCUMENTS	9

7.	REFERENCES	9

8.	REVISION HISTORY	10

9.	ADDENDA AND APPENDICES	10

# PURPOSE

To define the process for tracking specimens between laboratory sites in the AHC system for testing.

# SCOPE

This procedure applies to any specimen that will be sent between laboratory sites in the AHC system for testing.

# RESPONSIBILITY

All specimen processing and GEC staff must understand and adhere to this procedure for sending specimens to another laboratory site for testing.

# DEFINITIONS

NA

# PROCEDURE

General Considerations

| Step | Action |
| --- | --- |
| 1 | All tests must be received in Sunquest before beginning this process. Note: This process does not apply to specimens that will be referred to Quest for testing. These are specimens in which the test code starts with “X” with one exception: this process is used for blood cultures. |
| 2 | Aliquot the specimens in plastic transport vials and label per procedure “Aliquoting Specimens.” - Access test information using Sunquest function MIQ. DO NOT send out specimens that do not meet the test requirements. - Write the final destination on the tube. - Write the storage conditions on the tube if the specimen must be stored refrigerated or frozen. For blood bank specimens, ship in the original tube. Verify labeling is correct before sending. |
| 3 | Specimen processing is responsible for tracking specimens that are sent to another laboratory for testing prior to courier pickup. Courier schedules are published in procedure, “Courier Schedule and Communication.” |
| 4 | The general process to track specimens is as follows: - Sending site creates a batch in TR and edits as needed. - Sending site ships specimens to the testing (receiving) site. - Testing (receiving) site receives batch in TR. |

Create an AUTOMATIC batch in Sunquest (FWMC ONLY)

| Step | Action |
| --- | --- |
| 1 | Access Sunquest SmarTerm. |
| 2 | At the “function” prompt, type “TR” and enter to access the specimen tracking functions. |
| 3 | At the “?” prompt, type “1” and enter to create a batch. |
| 4 | At the “Template code” prompt, type in the appropriate template code and press enter. FWMC Code; Transport To/From. FLAB; Specimens from FWMC to WOMC then to SGMC, if applicable. |
| 5 | At the “Cut-off date” prompt, press enter to default the current date. |
| 6 | At the “Cut-off time” prompt, press enter to default the current time. |
| 7 | At the “Batch comment” prompt, - Press enter to leave the field blank. - Type a semi-colon “;” followed by a short free text comment if indicated. |
| 8 | At the “Accept, modify, reject” prompt, type “A” for accept and press enter. |
| 9 | At the “Printer” prompt, type the number of the printer to which the report should print, and press enter. |
| 10 | Package specimens for shipping. - Obtain the specimens to be sent. - Match each specimen to the “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list to ensure all are present. Add specimen to or delete specimens from the list as needed. - Place specimens in a transport rack in the order they are listed on the form. - Place the rack in a biohazard bag for transport. |

Create VERIFY batch (All Sites)

| Step | Action |
| --- | --- |
| 1 | Access Sunquest SmarTerm. |
| 2 | At the “function” prompt, type “TR” and enter to access the specimen tracking functions. |
| 3 | At the “?” prompt, type “1” and enter to create a batch. |
| 4 | At the “Template code” prompt, type in the appropriate template code and press enter. FWMC Code; Transport To/From. FBLC; Blood cultures from FWMC to WOMC. SGMC Code; Transport To/From. SLAB; Specimens from SGMC to WOMC. WOMC Code; Transport To/From. WLAB; Specimens from WOMC to SGMC. GEC Code; Transport To/From. GIC; Microbiology specimens from GEC to SGMC. |
| 5 | At the “Accept, modify, reject” prompt, type “A” for accept and press enter. |
| 6 | At the “Cut-off date” prompt, press enter to default the current date. |
| 7 | At the “Cut-off time” prompt, press enter to default the current time. |
| 8 | At the “Batch comment” prompt, - Press enter to leave the field blank. - Type a semi-colon “;” followed by a short free text comment if indicated. |
| 9 | Scan each specimen into the tracking list. - At the “Accession number” prompt, barcode the accession number from the lab label of the specimen. - At the “Test” prompt, - Press “Enter” if all tests on the accession number are accounted for. - Enter the test code and press “enter” if only one or part of the tests on the accession number will be tracked. - At the “Final Destination” prompt, press enter to accept the default location. - Place the specimen in the transfer rack in the order in which it was scanned. Continue this process with each specimen that will be shipped. |
| 10 | At the “Printer” prompt, type the number of the printer to which the report should print, and press enter. |
| 11 | Two forms will print. - The “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list will print. This lists all specimens that have been tracked in the batch. - A “SPECIMEN MISSING FROM LIST NUMBER Batch#” list will autogenerate and print if the computer identifies any specimens that have been received in the lab and are eligible for tracking but were not added to the list. |
| 12 | Package specimens for shipping. - Obtain the specimens to be sent. - Match each specimen to the “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list to ensure all are present. Add specimen to or delete specimens from the list as needed. - Place specimens in a transport rack in the order they are listed on the form. - Place the rack in a biohazard bag for transport. |
| 13 | If a “SPECIMEN MISSING FROM LIST NUMBER Batch#” report generated, review and reconcile specimens on the list. Create a separate batch to ship specimens if indicated. |

Create a MANUAL batch in Sunquest  (Used to send a STAT to another site; refer to Appendix A for approved tests)

| Step | Action |
| --- | --- |
| 1 | Access Sunquest SmarTerm. |
| 2 | At the “function” prompt, type “TR” and enter to access the specimen tracking functions. |
| 3 | At the “?” prompt, type “1” and enter to create a batch. |
| 4 | At the “Template code” prompt, type in the appropriate template code and press enter. FWMC Code; Transport To/From. FMAN; Specimens with manual tracking from FWMC to WOMC. SGMC Code; Transport To/From. SMAN; Specimens with manual tracking from SGMC to WOMC (Use this code for malaria smears.). SMGEC; Specimens with manual tracking from SGMC to GEC. WOMC Code; Transport To/From. WMAN; Specimens with manual tracking from WOMC to SGMC (Use this code for malaria smears.). GEC Code; Transport To/From. GLAB; Specimens with manual tracking from GEC to SGMC (Use this code for malaria smears.). |
| 5 | At the “Accept, modify, reject” prompt, type “A” for accept and press enter. |
| 6 | At the “Cut-off date” prompt, press enter to default the current date. |
| 7 | At the “Cut-off time” prompt, press enter to default the current time. |
| 8 | At the “Batch comment” prompt, - Press enter to leave the field blank. - Type a semi-colon “;” followed by a short free text comment if indicated. |
| 9 | Scan each specimen into the tracking list. - At the “Accession number” prompt, barcode the accession number from the lab label of the specimen. - At the “Test” prompt, - Press “Enter” if all tests on the accession number are accounted for. - Enter the test code and press “enter” if only one or part of the tests on the accession number will be tracked. - At the “Final Destination” prompt, press enter to accept the default location. - Place the specimen in the transfer rack in the order in which it was scanned. Continue this process with each specimen that will be shipped. |
| 10 | At the “Accept, Modify, Reject” prompt, type “A” for accept and press enter. |
| 11 | At the “Printer” prompt, type the number of the printer to which the report should print, and press enter. |
| 13 | The “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list will print. This lists all specimens that have been tracked in the batch. |
| 14 | Package specimens for shipping. - Obtain the specimens to be sent. - Match each specimen to the “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list to ensure all are present. Add specimen to or delete specimens from the list as needed. - Place specimens in a transport rack in the order they are listed on the form. - Place the rack in a biohazard bag for transport. |

Add Specimens To or Delete Specimens From a Batch

| Step | Action |
| --- | --- |
| 1 | At the “Function” prompt, type “TR” for track and press enter. |
| 2 | At the “?” prompt, type “2” for “modify batch” and press enter. |
| 3 | At the “Batch number” prompt, type the batch number from the header of the TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list and press enter. |
| 4 | The originating, current, and next track locations will display. Press the enter key to accept the locations. |
| 5 | At the “Batch comment” prompt, press enter. |
| 6 | At the “Batch status (QT/TR/D):” prompt, press enter to default “Queued for transit.” |
| 7 | At the “Print” prompt, press enter. |
| 8 | At the “Sort” prompt, press enter. |
| 9 | At the “Accession number” prompt, - To add an accession, type the accession number to be added and press enter. - To delete an accession, type the minus sign (-) followed by the accession number and press enter. For example, -M12345 [enter]. Please note that if you delete a specimen, it will not requalify for the report. |
| 10 | The accession number prompt will display again. Add/delete another accession number or press enter to move to the next field. |
| 11 | At the “Accept, Modify, Reject” prompt, type “A” for accept and press enter. |
| 12 | At the “Printer” prompt, type the number of the printer to which the report should print and press enter. |
| 13 | At the “Use host” prompt, press the enter key to default the batch entry. |
| 14 | The TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list will print. |

Print Transport List to Accompany Specimens

| Step | Action |
| --- | --- |
| 1 | Place the batch into transit when the specimens are ready to ship (prior to the courier pickup time). |
| 2 | Access Sunquest SmarTerm function “TR.” |
| 3 | At the “?” prompt, type “2” and press enter to modify a batch. |
| 4 | At the “Batch number” prompt, type the batch number from the “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list and press enter. |
| 5 | The originating, current, and next track locations will display. Press the enter key to accept the locations. |
| 6 | At the “Batch comment” prompt, press enter. |
| 7 | At the “Batch status (QT/TR/D):” prompt, “TR” will default. Press enter to accept. |
| 8 | At the “Print” prompt, the default printer will appear. Press enter to accept. |
| 9 | At the “Sort” prompt, press enter to default accession number. |
| 10 | At the “Printer” prompt, type the number of the printer to which the report should print and press enter. |
| 11 | The “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list will print. Ensure every specimen on the list is accounted for. |
| 12 | Send specimens with “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list to the testing laboratory via courier. |
| 13 | File the interim documents in their appropriate locations and store for 30 days. |

Receiving a Batch

| Step | Action |
| --- | --- |
| 1 | When a batch is received at the testing site, - Compare the specimens received to the specimens listed on the transit list to ensure all specimens are accounted for. - Delete missing accession numbers from the batch following the instructions above. - Review the transport list to determine if any of the specimens need to be forwarded to a different location by reviewing the “worksheet” column of the tracking list. - Codes that begin with an “S” are tested at SGMC. - Codes that begin with a “W” are tested at WOMC. |
| 2 | Access Sunquest SmarTerm function “TR” for tracking. |
| 3 | At the “?” prompt, type “3” and press enter to receive batch/specimen. |
| 4 | At the “Batch number” prompt, type the batch number from the “Queued for transit” list and press enter. If the transit list was not sent with the specimens: - Access one of the specimens by accession number using Laboratory Inquiry. - At the “Style List” prompt, select “Order List” from the dropdown menu. - Highlight the specimen for which you are obtaining information. - At the “Audit Trail” prompt, click “Select.” - The “Batch ID” will display on the right side of the screen. |
| 5 | At the “Current track location” prompt, type in the template code for the receiving laboratory as listed above and press enter. |
| 6 | At the “Batch comment” prompt, press enter. |
| 7 | At the “Entire batch continues/disbands” prompt, press enter to accept the default. |
| 8 | Track samples that are moving on to a different testing location by changing the track location in Sunquest. |
| 9 | At the “Print” prompt, type “N” and press enter for no printing. |
| 10 | At the “Sort” prompt, press enter. |
| 11 | At the “Accept, Modify, Reject” prompt, type “A” for accept and press enter. |
| 12 | At the “Use host” prompt, press the enter key to default the batch entry. |
| 13 | Deliver specimens to the appropriate testing department for completion. |
| 14 | File the “TRANSPORT LIST NUMBER-Batch #-IN TRANSIT” list in the designated location and discard after 30 days. |

Track Status Codes

The following track status types will print on the various track lists and pending logs in the departments.

| Code | Status |
| --- | --- |
| U | Unreceived specimen |
| R | Received—Not on batch |
| Q | Queued for transit |
| TR | In transit |
| F | Final destination received |
| + | More than one status; review in Laboratory Inquiry |

# RELATED DOCUMENTS

SOP:  Aliquoting Specimens

SOP:  Courier Schedule and Communication

Form:  Runners Delivery Service Log (AG.F372)

Form:  Runners Delivery Service Log for GEC (AG.F373)

# REFERENCES

N/A

# REVISION HISTORY

| Version | Date | Reason for Revision | Revised By | Approved By |
| --- | --- | --- | --- | --- |
|  |  | Supersedes SGAH.LIS23.5 |  |  |
| 0 | 12/5/18 | Section 5: added SFCC and HIVRS2 | LBarrett | NCacciabeve |
| 1 | 4/16/21 | Updated WAH to WOMC throughout | SCodina | NCacciabeve |
|  | 10/11/21 | Updated format for clarity; added FWMC; added approved STAT test list | SCodina | NCacciabeve |

# ADDENDA AND APPENDICES

Appendix A:  Tests approved for STAT transport

Appendix A

Tests Approved for STAT Transport

The following tests have been approved for STAT transport if ordered STAT:

| - Hematology & Coagulation |  | - Chemistry |  | - Therapeutic Drug Levels |
| --- | --- | --- | --- | --- |
| - BNP |  | - Amylase |  | - Acetaminophen (Tylenol) |
| - CBC |  | - Basic Metabolic Screen |  | - Carbamazapine (Tegretol) |
| - Cell count - fluid |  | - Beta HcG, qualitative |  | - Digoxin |
| - D-Dimer |  | - Beta HcG, quantitative |  | - Dilantin (Phenytoin) |
| - ESR (sed rate) |  | - Bilirubin, Neonatal |  | - Gentamicin |
| - Fibrinogen |  | - Bilirubin, total and direct |  | - Lithium |
| - Kleihauer Betke |  | - BUN |  | - Phenobarbital |
| - Platelet Count |  | - Calcium |  | - Salicylate (aspirin, ASA) |
| - PT with INR |  | - Carboxyhemoglobin |  | - Theophylline |
| - PTT |  | - CKMB |  | - Tobramycin |
| - Retic Count |  | - Comprehensive Metabolic Panel |  | - Valproic Acid |
|  |  | - CPK |  |  |
| - Urine & Immunology |  | - Creatinine |  | - Blood Bank |
| - Monospot |  | - CSF, protein and glucose |  | - Type & Screen |
| - Occult Blood |  | - Drugs of Abuse Screen (urine) |  | - Antibody Identification |
| - Rapid HIV |  | - Electrolytes (Na, K, Cl, CO2) |  | - Products for Transfusion |
| - Urinalysis |  | - Gamma GT (GGT) |  |  |
|  |  | - Glucose |  |  |
| - Microbiology |  | - Ketone |  |  |
| - C. difficile |  | - Lactate |  |  |
| - Gram Stain |  | - LDH |  |  |
| - Malaria Smear |  | - Lipase |  |  |
| - Quick strep |  | - Liver Panel |  |  |
| - RSV |  | - Magnesium |  |  |
|  |  | - Osmolarity (serum, urine) |  |  |
|  |  | - Phosphorous |  |  |
| - Chemistry |  | - Procalcitonin |  |  |
| - Albumin |  | - Protein, total |  |  |
| - Alcohol, blood |  | - SGOT (AST) |  |  |
| - Alkaline Phosphatase |  | - SGPT (APT) |  |  |
| - Ammonia |  | - Troponin |  |  |
|  |  | - Uric Acid |  |  |