**Planned Deviation Documentation**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Procedure: | QC frequency for ETOH/Ammonia on Dimension EXL. | | | |
| Reason for Deviation: | Current QC Lot: Instead of running 3 levels of QC for ETOH/Ammonia, we will only run Levels 1 and 3 until we receive our next shipment of the designated lot of Quality Control material from Bio Rad. | | | |
| Medical Director or Designee: | Dr. Beltaifa | | Date: 5.16.22 | |
| Supervisor: | Zanetta Morrow | | Date: 5.16.22 | |
| Deviation Start Date: | 5.16.22 | | Deviation End Date: TBD | |
|  |  |  |  |  |
| Testing Personnel Signatures | Start Deviation Signatures |  | End Deviation Signatures |  |
| Printed Name / Tech Code | Signature | Date | Signature | Date |
|  | *Captured via MTS update* |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |