Non-Technical SOP

| ###### Title | Blood Bank Disaster Plan |  |
| --- | --- | --- |
| ###### Prepared by | Stephanie Codina | Date: 03/16/2010 |
| ###### Owner | Stephanie Codina | Date: 03/16/2010 |

| ###### Laboratory Approval |  |  |
| --- | --- | --- |
| Print Name and Title | Signature | Date |
| Refer to the electronic signature page for approval and approval dates. |  |  |
| Local Issue Date: | Local Effective Date: |  |

| 12 month (or new) management review and approval: Signature acknowledges SOP version remains in effect with NO revisions. |  |  |
| --- | --- | --- |
| Print Name | Signature | Date |

TABLE OF CONTENTS

1.	PURPOSE	2

2.	SCOPE	2

3.	RESPONSIBILITY	2

4.	DEFINITIONS	2

5.	PROCEDURE	3

6.	RELATED DOCUMENTS	6

7.	REFERENCES	6

8.	REVISION HISTORY	7

9.	ADDENDA AND APPENDICES	7

# PURPOSE

This procedure provides systematic and organized guidelines to facilitate continued operations in the event of an emergency situation, disaster, or disruption of critical services involving the blood bank.  This procedure should be used with hospital’s Code Yellow policy.

# SCOPE

This procedure applies to any situation that disrupts the blood bank’s ability to provide an immediate and adequate supply of transfusable blood products to the hospital’s patients.

# RESPONSIBILITY

All blood bank staff members must know how to react in a disaster.

# DEFINITIONS

BLOOD BANK DISASTER is any domestic disaster or act of terrorism that

- Suddenly requires a much larger amount of blood than usual

OR

- Temporarily restricts or eliminates a blood collector’s ability to collect, test, process, and distribute blood

OR

- Temporarily restricts or prevents the local population from donating blood, or restricts or prevents the use of the available inventory of blood products and thus requires immediate replacement or resupply of the region’s blood inventory from another region

Examples of INTERNAL disasters include flooding from a plumbing rupture, hazardous spills, or a fire.

Examples of EXTERNAL disasters include hurricanes, earthquakes, terrorism, and industrial accidents such as a cloud plume.

CODE YELLOW is the hospital’s emergency response plan in the event environment of care is disrupted as in the case of damage to the buildings or grounds due to severe wind storms, tornados, and hurricanes, earthquakes; or the impact on patient care and treatment activities due to such things as the loss of utilities (power, water, telephones) due to floods, riots, accidents, or emergencies within the hospital or surrounding community that disrupts the hospital’s ability to provide care.

# PROCEDURE

A.	External Disaster

| Step | Action |
| --- | --- |
| 1 | When an external disaster occurs or when a hospital Code Yellow is called, immediately assess the blood supply and complete the “Blood Bank Inventory” form. - Count the number of each blood product by type and document on the form. - Count all blood products in the blood bank (include crossmatched, uncrossmatched, and unprocessed red blood cells). - Fax the form to the Incident Command Center. The fax numbers are listed on the forms. |
| 2 | Complete the “Hospital Needs Assessment” form. - The laboratory administrator in charge will contact the hospital command center. He/she will provide information to the blood bank regarding - Total current hospital admissions - Total potential for expected hospital admissions - Total hospital admissions expected - Blood bank staff members will complete the section listing the total number of Type O RBCs available section. - Begin with the count of group O red cells from step 1 above. - Subtract the number of crossmatched red cells from the number. - Record the final calculated number on the form. - Calculate the total number of group O red blood cells needed from the blood supplier. - Multiply the total number of expected hospital admissions by 3 (average of 3 units of blood per patient). - Subtract the total number of group O rbcs currently available from that number. |
| 2 | The blood bank must immediately communicate the following information to the primary blood supplier based on the form completed in step 1 above: - Nature of the emergency - Number of current and expected hospital admissions - Types of expected injuries - Current blood inventory levels of group O red blood cell products. In a disaster situation that affects more than our hospital, - The American Red Cross (ARC) is our primary blood supplier. - We will only report our needs to ARC regardless of what other suppliers offer. - We will communicate our needs frequently to update the blood supplier on changes as they happen. - A disaster task force will be assembled of representatives from various blood banking organizations, blood collector and hospital suppliers, and government agencies. We will not be included in the task force. - Our primary blood supplier will represent our needs to the task force. No member of the blood bank staff should contact the task force directly. - The hospital will not communicate blood needs to the media; AABB and the task force will coordinate and disseminate a clear and consistent message regarding the blood supply to the public. |
| 3 | Recall personnel to work as needed using the recall list in the Lead Tech Manual. |
| 4 | If blood inventory levels of any blood product may become inadequate. - The lab administrator in charge, blood bank supervisor/manager, or Blood Bank Medical Director will notify hospital personnel via Emergency Laboratory Alert and report the information to the Hospital Command Center. - Blood bank staff members will work with ARC to import blood products as quickly as possible based on hospital needs, predicted needs, and national supply. - The following blood alert levels will be utilized in the Lab Alert: - Blood Alert GREEN: Inventories of all blood products are adequate to meet patient blood product needs. No action is indicated. - Blood Alert YELLOW: Inventories of one or more blood product are or may become inadequate to meet patient blood product needs. Treating physicians will be asked to review their blood product orders and transfused only when urgently needed prevent eminent blood product shortage. - Blood Alert RED: Inventories of one or more blood product are inadequate to meet patient needs. All blood product orders are subjected to concurrent review by the Blood Bank Medical Director or designee. Ordering physicians are asked to reduce or defer the use of blood products. Routine surgical procedures may be cancelled or postponed. Emergency-only transfusion policies may be necessary. |
| 5 | ARC will put alternative communication systems in place in the event that the phone lines do not work properly due to the disaster. For immediate communication, try the following options: - Level 1: Landline phone numbers for ARC customer service are 1-800-233-4640 or 410-764-4640. - Level 2: ARC will contact each client to establish blood needs. - Level 3: ARC will e-mail each blood bank contact on file to establish blood needs and provide alternate contact information. - Level 4: ARC will contact hospitals via satellite phone. |
| 6 | ARC will put alternative transport systems in place in the event normal delivery methods are impaired due to a disaster to include transport by the State Police or helicopter. - Level 1: Normal ARC van delivery to the hospital - Level 2: Hospital courier or taxi - Level 3: State police or other emergency personnel - Level 4: Helicopter transport |

- Internal Disasters Requiring Relocation of the Blood Bank

| Step | Action |
| --- | --- |
| 1 | In an internal disaster, blood products and operational equipment must be moved in an organized, systematic, and controllable manner and in such a way that minimizes the impact the event has on patient care and a disruption of services. - The administrator in-charge, tech in-charge, or pathologist on-call will make the decision to relocate. - The hospital will be notified of relocation via an Emergency Laboratory Alert. - The relocation area will be determined based on the degree of internal damage present. - When applicable, operations will be transferred to the sister hospital. |
| 2 | Immediately pack all group O red blood cell products (Rh-positive and Rh-negative) into validated storage boxes or blood transport coolers using established load restrictions. - Pack Rh-positive and Rh-negative blood products in separate containers. - Follow established procedures for packing blood products. - The boxes vary, but average 18”w x 16”d x 16”h. |
| 3 | Obtain the equipment and supplies listed in Appendix A, load on a cart(s), and transport to the temporary location. Additional equipment/supplies may be included if time permits. |
| 4 | Manual testing will be performed in the event of blood bank relocation. |
| 5 | Forward the blood bank telephones to another area that can address phone calls. |
| 6 | As soon as possible after relocation, place a temperature indicator on each red blood cell unit in a temporary storage container. |
| 7 | If extended relocation is necessary, the Blood Bank Manager and Blood Bank Medical Director will be responsible for procuring alternate storage containers for blood products and additional equipment/supplies. |

- Post-Disaster Evaluation

| Step | Action |
| --- | --- |
| 1 | Blood bank leadership will evaluate the effectiveness of this procedure in response to a disaster in an effort to examine “lessons learned.” |
| 2 | The Blood Bank Manager will be responsible for scheduling and coordinating the meeting. |
| 3 | The procedure will be updated each time opportunities for improved handling of future disasters are identified. |

# RELATED DOCUMENTS

Hospital Policies –

Emergency Management Plan (Code Yellow)

Code Red, Fire Prevention Response Plan

Hazardous Weather Plan

Bomb Threat Plan

Utility Outage Plan

Bioterrorism Response Plan

# REFERENCES

    - Roback, J.D., Combs, M.R., Grossman, B.J., Hillyer, C.D. 2008. Technical Manual of the AABB, 16th ed. AABB Publishing, Bethesda, Maryland.

    - Standards for Blood Banks and Transfusion Services, 2009. AABB, 26th ed. AABB Publishing, Bethesda, Maryland.

    - AABB Disaster Operations Handbook:  Coordinating the Nation’s Blood Supply During Disasters and Biological Events, 2008, AABB Publishing, Bethesda, Maryland.

    - American Red Cross Disaster Response Plan, version 1.0, 2004, American Red Cross Blood Services Greater Chesapeake & Potomac Region, Baltimore, Maryland.

# REVISION HISTORY

| Version | Date | Reason for Revision | Revised By | Approved By |
| --- | --- | --- | --- | --- |
| 000 | 4.27.12 | Add requirement to complete BB inventory sheet and fax to command center. Moved Equipment/Supplies list to appendix A and added dimensions | Scodina | Ncacciabeve |

# ADDENDA AND APPENDICES

Appendix A:  Minimum Equipment/Supply List for Emergent Relocation

Appendix A

Minimum Equipment/Supply List for Emergent Blood Bank Relocation

| Description | Quantity Required | Width (Inches) | Depth (Inches) | Height (Inches) | Storage |
| --- | --- | --- | --- | --- | --- |
| Centrifuge | 1 Each | 11 | 13 | 16 | Countertop |
| Serofuge | 2 Each | 11 | 19 | 19 | Countertop |
| Cell Washer | 1 Each | 14 | 17 | 25 | Countertop |
| Dry Heat Block | 1 Each | 8 | 14 | 8 | Countertop |
| Agglutination Viewers | 2 Each | 4.5 | 9 | 14 | Countertop |
| Timers | 2 Each | 3 | 1 | 3 | Countertop |
| Reagent Rack | 2 Racks | 8 | 3.5 | 5 | Countertop |
| QC Rack | 1 Rack | 7 | 5 | 6 | Countertop |
| Antisera Rack | 1 Rack | 8 | 5 | 6 | Countertop |
| Antibody Panel with Antigram | 1 Panel 10 Antigram Copies | 9 | 6 | 1 | Countertop |
| Test Tube Racks | 3 Racks | 10 | 3 | 5 | Countertop |
| Test Tubes | 4 Boxes | 3 | 12 | 4.5 | Either |
| Saline Cubes | 2 Cubes | 10 | 10 | 10 | Either |
| Sharps Container | 1 Each | 15 | 16 | 30 | Floor |
| Biohazardous Trash Container | 1 Each | 17 | 16 | 34 | Floor |
| Regular Trash Container | 1 Each | 12 | 16 | 21 | Floor |
| Gauze | 1 Pack | 5 | 4 | 12 | Countertop |
| Disposable Pipettes | 1 Box | 6.5 | 10.5 | 8.5 | Countertop |
| Temperature Indicators | 1 Box | 3 | 4.5 | 5.5 | Countertop |
| Saline Squirt Bottles | 2 Each | 3 | 3 | 7 | Countertop |
| Scissors | 2 Each | N/A | N/A | N/A | Countertop |
| Segment Cutters | 1 Pack | 12 | 16 | 3 | Either |
| Gloves | 3 Boxes (1 per size) | 5 | 10 | 3 | Countertop |
| Marking Pens | 2 Each | N/A | N/A | N/A | Countertop |
| Ballpoint Pens | 2 Each | N/A | N/A | N/A | Countertop |
| Crossmatch Tags | 1 Box | 10 | 12 | 11 | Either |
| Uncrossmatched Blood Stickers | 1 Box | 4 | 4 | 1 | Countertop |
| Downtime Forms | All Available | 9 | 11 | 8 | Countertop |

Minimum Amount of Counterspace Required for Operation = 74” x 24”