## SGAH
Blood Bank QC/PM Assignments 2023
Fort Washington Medical Center Blood Bank
| Jun | Jul | Aug | Sep | Oct | Nov | Dec
MTS Gel Monthly Maintenance | Tino | George | Kingsly | Arlene | Diana | Tino | George
Plasma Thawer Monthly Maintenance | Kingsly | Arlene | Diana | Tino | George | Kingsly | Arlene
Serofuge Monthly Maintenance | Diana | Tino | George | Kingsly | Arlene | Diana | Tino
Blood Administration Audit | Arlene | Diana | George | Tino | Kingsly | Arlene | Diana
Blood Administration Audit | Tino | Kingsly | Arlene | Diana | George | Tino | Kingsly
Referigerator/Freezer Quarterly Maintenance | Jul: Kingsly; Oct: Diana
Plasma Thawer Quarterly Maintenance | Jul: Tino; Oct: George
Pipette QC | Aug: Sci Cal
Cooler QC | Jul: Diana
BB Shipping Box QC | Jul: WOMC
RPM/Timer Checks | Jun: Diversified; Dec: Diversified
Refrigerator/Freezer Clean Probe Bottles
Thermometer Calibration | Oct: Kingsly
Infrared Thermometer Purchase | Jun: Arlene/Ash
Refrigerator/Freezer Temperature Charts to be changed every Monday morning at 0830 by the dayshift BB staff member.