Laboratories at Adventist Healthcare

Date: July 10, 2024

LABORATORY ALERT

Subject: Room Temp & Humidity Monitoring

The Laboratory is informing you of the following information:

| Effective date: | # July 10, 2024 |
| --- | --- |
| Issues: | Room Temperature or Humidity Out of Range GEC Lab Team – We are ordering continuous Room Temp and Humidity monitors. Until new wireless monitoring tags are in place we will need increased monitoring. |
| Action Required: | Record Room Temp & Humidity at least once per shift until further notice for all Lab Supply locations. Should the Laboratory Room Temperature and/or Humidity be outside of acceptable testing limits, 20C – 25C, please notify the System Lab Director and the Medical Director Immediately. |
| Contacts: | Rob SanLuis, System Lab Director, 240-620-3413 Dr. Cacciabeve, Medical Director , 703-200-9521 |

G:\AHC_Lab\Clinical Folders\Communication_General Lab\Lab Alerts