

**Laboratories at Adventist Healthcare Ft. Washington Medical Center, Germantown Emergency Center, Shady Grove Medical Center, and White Oak Medical Center**

**Date: July 12, 2024**

LABORATORY ALERT

Subject: Following CAP survey sample handling instructions

The Laboratory is informing you of the following test change:

|  |
| --- |
|  |
| **Effective date:** | **7/12/2024** |
| **Test Names:****Any CAP Survey that requires sample reconstitution** | As part of our survey error investigation for recent survey reconstitution error that resulted in a complete survey failure, you have been assigned to read this lab alert on handling PT materials. |
| **Specimen Requirements and special handling instructions:**  | CAP surveys ship with Kit InstructionsIf you’re assigned to test a CAP survey, you must read the kit instructions for the details on handling the specimens.**Pay close attention to the following section**: |
| **If reconstitution is required:** | Ask a Tech In Charge or Supervisor to watch you prepare the samples before testing. |
| **Contacts:** | Hollie Genser, Zanetta Morrow, Meaza Belay, Jonathan Amante, Daniel Adjei, and Bryana Scarborough |
| **C Bowman-Gholston 07.12.2024** |  |

**G**:\AHC\_Lab\Clinical Folders\Communication\_General Lab\Lab Alerts