## TRAINING UPDATE

| Lab Location: | SGMC and WOMC | Date Distributed: | 1/19/26 |
| --- | --- | --- | --- |
| Department: | Chemistry | Due Date: |  |
|  |  | Implementation: | Current |

### DESCRIPTION OF PROCEDURE REVISION

Name of document being updated:

Atellica Solution Training Verification checklist

Description of change(s):

The following instructions for working with ancillary reagents has been added to the training for Atellica Solutions: - Two ancillary reagents cannot be on the instrument at one time. When adding a new reagent, the previous reagent must be removed. - When installing ancillary reagent, the reagent MUST be QC’d before patient testing can be performed.

Document your compliance with this training update by taking the quiz in the MTS system.