MICROSCAN MONTHLY QC

MONTH/YEAR_____________________________

| TASK | DATE | RESULT | TECH | REVIEWED |
| --- | --- | --- | --- | --- |
| TURBDITY METER QC RANGE = 0.05-0.12 |  |  |  |  |
| CLEAN FAN FILTER |  |  |  |  |
| RENOK VOLUME CHECK QC RANGE = 10.1 TO 12.0 GRAMS |  |  |  |  |
| VERIFY BACK UP weekly |  |  |  |  |
| RESTART PC |  |  |  |  |
| DATABASE OPTIMIZER |  |  |  |  |
| AUTOSCAN QC |  |  |  |  |

Corrective  Action:_____________________________________________________________
________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________