| ## POLICY STATEMENT | The reaction indicates the presence of the enzyme tryptophanase that reacts with tryptophan to produce indole. The indole produced reacts with DMACA (ρ-Dimethylaminocinnamaldehyde) to form a blue-green color. |
| --- | --- |
| ## PURPOSE | This procedure provides technical instruction for the performance of the Spot Indole Test. |
| ## SCOPE | This procedure applies to testing personnel authorized to perform testing. This group includes, but is not limited to Laboratory Technologists as well as leads and supervisory personnel. |
| ## RESPONSIBILITY | All the above personnel are responsible for following the Spot Indole procedure without exception. In addition, testing personnel are also responsible for evaluating the results and taking proper remedial action. |
| ## RELATED DOCUMENTS | MICR 6478 F Spot Indole QC Chart |

# REAGENTS

DMACA Indole reagent droppers

- 1 % ρ-Dimethylaminocinnamaldehyde

- 10 % Hydrochloric acid

Store at 15° to 30°C. Protect from light. DO NOT use the beyond the expiration date.  Each dropper is good for one day’s use after the ampule has been broken.

# QUALITY CONTROL

Perform with each new lot or shipment.

- Positive Control = Escherichia coli ATCC 25922

- Negative Control = Klebsiella pneumoniae ATCC 33495

### PROCEDURE

- Crush the ampule in the dropper.

- Touch the tip of the swab to the surface of the test colony from an 18-24 hour Blood agar plate.

- Dispense 1 to 2 drops from the dropper onto the tip of a cotton tip swab.

- Observe for a blue to blue-green color development within 2 minutes.

# REPORTING

## Positive result = Blue to blue-green

- Negative result = No color to Pink

Enter the result in the appropriate spot in the Meditech workcard.

### REFERENCES

BD DMACA Indole Reagent Droppers package insert, 2010/06