| Policy Statement | Quality processes, products and associates are the building blocks for a quality system within Saint Agnes Hospital (SAH), Laboratory and Pathology Services. This system supports and is concurrent with the ideals set forth in the mission, vision and core value statements of the organization. The scope of services provided by the Pulmonary Laboratory is monitored and evaluated by a planned and systematic process involving section-specific and hospital wide indicators. |
| --- | --- |
| Purpose | The Pulmonary Laboratory’s Quality Plan provides details pertinent to the Pulmonary Laboratory and is organized under CLSI Quality Standards of Organization. The standards are Organization, Documents and Records, Personnel, Equipment, Purchasing and Inventory, Process Control, Information Management, Occurrence Management, Assessments, Process Improvements, Customer Services and Facility & Safety. This plan provides general direction and guidance to incorporate Process Improvement (PI) and Quality Assurance (QA) activities into the Pulmonary Laboratory operations. It incorporates systems that have been developed to document policies, processes, and procedures, to identify and document problems, corrective actions taken, and trending of indicators to monitor improvement. These findings are referred to the Medical Director, Lab Quality Coordinator and Critical Care Administrative Director and Respiratory Services Supervisor for reporting to higher-level QA committees in our system, i.e. Quality & Performance Improvement, Medical Staff Quality Assurance and Medical Executive Committee, as appropriate (See LADM 0000 QP). |
| Scope | This policy applies to all associates and physician affiliates in the Pulmonary Laboratory. |
| Responsibility | The Pulmonary Laboratory Management Team, in cooperation with the Medical Director, is responsible for the on-going development and implementation, evaluation and improvement of the quality plan. Management personnel will effectively communicate elements of the plan to all Laboratory associates. Laboratory associates are responsible for cooperative participation in the quality process, this includes knowledge of the quality program, supporting quality events, reporting occurrences and working with the management team to improve patient care. Medical Director of the Laboratory Section as designated by the Department Chairman: - Exercise authority in matters related to compliance with federal, state and local regulations including, but not limited to, CAP, AABB, Joint Commission, CLIA, OSHA, MOSH and FDA - Participate in the selection of quality indicators and review quality reports from the assigned section of the Laboratory including instrument comparabilities and linearity studies - Consult with physicians concerning Laboratory services and test results - Ensure that the section quality plan is implemented and sustained - Review and approve all report for proficiency testing including follow-up to failures - Review and approve all new and substantially revised Laboratory policies and procedures, test systems, and services - Delegation of certain duties, such as the annual review of unchanged policies and procedures and other tasks as described below - Provide clinical on-call advisory coverage for the Laboratory during weekends, evenings and holidays - Communicate information related to improving lab quality and patient safety Critical Care Administrative Director (Designee): - Prepare and monitor budgets and institute budget control processes - Review financial reports, investigate and follow up as appropriate - In collaboration with the Medical Director, review and analyze department performance and indicators to identify trends or recurring variances, and coordinate the process to address an appropriate corrective action plan - Collaborate with identified executive administrative officials in administrative matters to advance Laboratory quality activities - Communicate quality concerns to various hospital management processes, committees and meetings to improve patient services. - Participate in evaluations of direct reports to assess the overall quality of testing personnel - Facilitate the hiring of personnel within the frame work of regulatory and hospital based requirements - Oversees the overall operations of the department - Pursue interdisciplinary relationships and activities - Support organizational goals and objectives Quality Coordinator (Designee) - Coordinate matters related to compliance and local, state and federal regulations in cooperation with the Department Chairman, Medical Directors, Administrative Director, and Critical Care Administrative Director and Respiratory Services Supervisor - Coordinate internal audits of the Laboratory in accordance with QSE 9 Assessments - Maintain, analyze, and update statistical data for decision making purposes - Oversee proficiency testing programs - Identify, develop, and implement laboratory assessment tools to meet the requirements of accreditation, regulations, department programs, and Laboratory customers - Pursue interdisciplinary relationships and activities - Support organizational goals and objectives Respiratory Supervisor (Designee): - Prepare and review policy, process and procedure documents - In collaboration with the Critical Care Director and Medical Director; prepare, implement and maintain a quality plan for the section - In collaboration with Laboratory management and associates, review occurrence reports, investigate/analyze system failures with potential to impact patient care, plan and implement corrective action - Interview and make recommendations for hiring of qualified personnel - In collaboration with the Core Laboratory Chemistry Lead Technologist validates new test systems and processes, review and analyze quality control records, proficiency testing summaries, and perform statistical analysis to determine trends or recurring variances - Compile reports for tracking and trending of quality indicators - Ensure completion and documentation of required associate training, competency assessments, and performance appraisals within appropriate time frames - Pursue interdisciplinary relationships and activities - Support organization goals and objectives Testing Personnel: - Perform job duties responsibly with a constant focus on patient safety - Process specimens and perform testing - Ensure requisitions and other documents support medical necessity for tests ordered - Verify integrity and appropriateness of received specimens - Participate in training, competency and continuing education - Review QC for acceptability - Document issues related to laboratory quality on an Occurrence Report Form |

Table of Contents:

The table of contents provides links to the Quality System Essentials (QSEs) for expedited maneuvering within the document.

QSE 1: Organization	5

QSE 2: Documents and Records	5

QSE 3: Personnel	6

QSE 4: Equipment	8

QSE 5: Supplies and Inventory	10

QSE 6: Process Control	10

QSE 7: Information Management	13

QSE 8: Occurrence Management System	14

QSE 9: Assessments	14

QSE 10: Process Improvement	15

QSE 11: Customer Service	15

QSE 12: Facilities and Safety	16

- QSE 1: Organization

The Pulmonary Laboratory is directed by a clinical pathologist designated by the Medical Director. See PULM 1000 F for additional information.

- QSE 2: Documents and Records

Documents:

The Pulmonary Laboratory maintains a document control plan in compliance with the Document Control Plan of the Department of Pathology (LADM 2000 Q). Highlights are as follows:

- Laboratory testing procedures are to be substantially in compliance with CLSI recommendations.

- New procedures require Chairman and Medical Director approval. Subsequent annual reviews follow and are performed as designated.  Substantial changes require a review by the Chairman and Medical Director (See LADM 2101 Q).

Record Retention:

Pulmonary Laboratory records are retained as listed below.

  - Quality Control – 2 years

  - Proficiency Test Results – 5 years

  - Maintenance Logs – life of equipment

  - Analyzer Validation – life of analyzer

  - Training and Competency Records – indefinitely

- QSE 3: Personnel

The Pulmonary Laboratory employs qualified individuals who meet the education, training and experience necessary to perform assigned tasks as defined in current job descriptions and in accordance with regulatory standards of CLIA.

Job Description and Employee Qualifications:

  - Job descriptions are written and maintained for each position

  - To be considered for hire, candidates must meet the minimum qualifications (education and/or experience) stated in the job description.

  - The candidate must provide documentation of educational background, training, and experience.

  - The candidate must fulfill all the requirements of the Employee Health Program prior to hire.  Once employed, the individual must abide by all facility policies, all mandatory training, testing, and other activities as a condition of employment.

Orientation:

- New employees are provided orientation to the organization through the Human Resources and Education departments. Documentation is retained in Human Resources.

- Orientation to the Pulmonary Laboratory is completed by a Pulmonary Associate or designee. Documentation is retained in the associate’s technical file in the Respiratory Supervisor office and the Respiratory Therapy Education coordinator office.

Training:

- Training is provided as required per job description expectations and includes topics related to specific job requirements, safety, computer use, quality expectations, personal development and other skills as needed and identified. See LADM 3008.

- Every associate completes the required training events demonstrating knowledge and competence during the probationary period. Training event completion is also required with implementation of a new procedure or instrument.

- Associates will be notified of any subsequent changes to the procedures or instrumentation by memo, electronic message (e-mail) and/or Medical Training Solutions (MTS).  Acknowledgement of the information is monitored electronically through quizzes on MTS, as applicable.

- Associate development is provided to meet individual needs, regulatory and accreditation requirements, and changing needs of the organization.

- Re-training is initiated individually and when indicated.

Competency Assessment:

- Initial associate competence is assessed after completing training events.

- Ongoing competency for each new associate is assessed six months after completion of training and then at least annually thereafter. See LADM 3008 Q.

- Competency activities are designed to cover the six methods or elements of competency assessment as prescribed by CLIA 88.  These elements include:

- Direct observation of routine test performance.

- Monitoring the reporting and recording of test results.

- Review of intermediate results, worksheets, quality control and maintenance records.

- Direct observation of performance of instrument maintenance and function checks.

- Assessment of test performance through testing previously analyzed samples, internal blind samples or external proficiency samples.

- Assessment of problem-solving skills.

- Associates are assigned training and competency items on the MTS program, as needed. This is a commercially available web based (www.medtraining.org) education, training, and competency assessment tool to which the Laboratory subscribes.  Additional competency items are assigned on Ascension Health University website used by the entire hospital staff.  Assignments are based on job functions and the completed training events.

Continuing Education:

- Annual organizational continuing education through the hospital Education Department is mandatory. Mandatory annual training is required for continued employment. Topics include blood-borne pathogens, infection control, fire safety, workplace violence, corporate responsibility and additional subjects as determined by Human Resources.  The courses are available on the hospital intranet.

- Associates are encouraged to attend sponsored audio conferences throughout the year within the Laboratory.  Teleconferences are available onsite on a frequent basis.

Performance Appraisal:

- A performance appraisal based on the position description in the areas of job accountability, objective measures, and pre-defined standards is completed for each employee, documented, and maintained.

- The Respiratory Supervisor or designee completes performance appraisals as designated.

- The Critical Care Administrative Director and/or Respiratory Supervisor must approve all performance appraisals.

- QSE 4: Equipment

Equipment in the Pulmonary Laboratory consists primarily of clinical testing equipment, designed specifically for Laboratory use.  All of the instrumentation is automated and is intended for in vitro diagnostic use of human specimens only.  Other Laboratory equipment includes but is not limited to; centrifuges, refrigerators, printers, barcode label printers, handheld scanning devices, computers, fax machines, time stamps, and other office related equipment.

The Pulmonary Laboratory and/or Clinical Engineering (Bio-Med) maintains a history file for each piece of equipment that includes records of the following:

Equipment Selection:

  - Needs for equipment are based on data, technology and the associated patient care issues, Equipment options may be limited to vendors approved by Ascension Health.

  - Medical Director and Associate input and opinions are solicited.

  - The specifications are shared with suppliers, vendors and hospital officials, where appropriate.

  - Materials Management and Purchasing expertise is utilized in the competitive bidding process and the final decision making process.

  - The supplier or vendor’s ability to meet the specifications and other criteria are considered in the selection process, where appropriate.

Equipment Installation:

- Installation is performed according to supplier/vendor instructions, with assistance from Bio-Med and/or Information Services, as needed.

- The equipment is properly installed and tested as part of the validation process and prior to acceptance approval by the Medical Director.

Equipment Identification:

- Each piece of equipment is identified by a clinical engineering identification number, as applicable. This number is assigned by Bio-Med.

Equipment Validation:

- A validation protocol must be created with the implementation of a new analyzer.

- Validation data must be reviewed and signed by the Medical Director prior to implementation.

- A Checklist for Implementing Pathology Service must be completed, as needed.

Equipment Initial Calibration:

- Initial calibrations are completed by the vendor.

- Documentation of calibration is kept within the Laboratory or by Bio-Med, as applicable

Equipment Maintenance:

- Preventive maintenance schedules are determined by manufacturer’s recommendations, regulatory requirements, accreditation standards and internal requirements.

- Documentation of maintenance includes findings, actions taken, follow-up monitoring and notification of Bio-Med where appropriate.

- Technical personnel are responsible for routine maintenance and function checks of instrumentation as well as checking and verification of reagents. Pulmonary Technologists are responsible for review of these checks on a monthly basis and additionally as appropriate.

Equipment Service and Repair:

- Associates are trained to troubleshoot analyzers in the event they do not operate properly.  Certain associates are designated as key operators for the analyzers.

- If an associate discovers that an instrument is not functioning properly, the equipment is immediately removed from service.  He or she is expected to follow troubleshooting procedures as instructed or written in the equipment operator’s manual and contact Bio-Med.

- If the associate needs additional assistance to place the instrument back in service, it is then necessary to call the manufacturer’s help desk.  A representative is usually available 24 hours a day, seven days a week to assist in the troubleshooting process.

- Defective equipment is clearly labeled as such, taken out of service, repaired, replaced or discarded.  Quality Controls must be run prior to putting the analyzer back in service. See PULM 6010 R and PULM 6011 R.

In the event of a Clinical Medical Device or System failure a call must be placed to Bio-Med at extension 2070. The caller will be asked to provide information to assist the technician. This includes the following:

- Clinical Engineering Identification number (CEID) located on the broken device;

- Caller’s Name

- Phone Number

- Location of the Device

- Specifics of the Problem

The ticket number provided by Bio-Med should be documented and displayed on the equipment.  This number should also be documented on the Occurrence Report Form. Refer to QSE 8 for documentation of occurrences.

# QSE 5: Supplies and Inventory

Vendor Qualification:

    - SAH has defined the characteristics or functional requirements for materials.

    - The Ascension Health Supply Chain, Materials Management/Purchasing Departments and the Laboratory sections assess both the ability of our vendors to meet our requirements and their actual performance

    - See the hospital policy SYS HOS 32 – Vendor Credentialing and Visitation for details on vendor qualifications.

Contract review:

  - Agreements to obtain laboratory equipment, supplies and services are reviewed to insure that each party’s expectations are defined and agreed to and that any changes are appropriately recorded and communicated to essential persons with a need to know.

  - The support from Materials Management, Purchasing and Legal Counsel are used as needed or indicated. See SYS CC 24 and SYS FI 41.

Receipt, Inspection and Testing of Incoming Supplies:

- The Pulmonary Laboratory has a process for receiving, inspecting, and storing incoming reagents and supplies. See PULM 5000 Q.

Vendor Recalls:

- The Pulmonary Laboratory is aware of the responsibility to participate or assist in the recall by the FDA, manufacturer or other agencies of products, equipment and devices.

- Upon receipt of the recall notification, see LADM 12023 Q and SYS CC20.

- The Pulmonary Technologist is responsible for documenting the recall by means of an Occurrence Report Form (ORF). This ORF should be submitted as per standard procedure.

# QSE 6: Process Control

Saint Agnes Hospital’s Pulmonary Laboratory utilizes process control measures that include:

Pre-analytical:

- The Pulmonary Laboratory only performs testing on samples that have a written or electronic order from a healthcare provider.

- The Department of Pathology maintains an online test search that provides Laboratory associates and clients with complete and concise instructions for the collection, handling and transportation of specimens.  This online test search can be accessed through The Saint or www.testmenu.com/stagnes.

- The online test search includes:

    - Patient Preparation

    - Collection Container requirements

    - Minimum specimen requirements

    - Need for special timing for collection

    - Types and amounts of preservatives or anticoagulants

    - Proper specimen labeling

    - Need for clinical data

- Specimen integrity requirements for each assay are clearly defined.  Trained Respiratory associates will make decisions on the acceptability of specimens.

- Specimens determined to be unacceptable will be rejected. The appropriate comment stating the reason for rejection will be entered into the computer system and the unit or drawing station involved will be notified by pager or telephone. Documentation of notification of rejection is made electronically in the Laboratory Information System.

The quality of test results reported by any laboratory is dependent upon properly collected, labeled and stored specimens. Specimens submitted for testing, having the potential to compromise the clinical significance of the results, will be rejected.  The specimen will not be returned. Special consideration is given, prior to specimen rejection, if the specimen is considered irretrievable. Most specimens analyzed by the Pulmonary Department are irretrievable including arterial blood, cord blood, body fluids, collected during codes/protocol, Cath Lab, and Operating Room specimens. See PULM 6005 Q.

Analytical:

- The Pulmonary Laboratory tests biologically human specimens only.  Testing is not performed on veterinary, pharmaceutical or industrial samples.

  - All testing requires an operating procedure.  All new procedures brought into the Laboratory are subjected to a review, validation process, and assessment against the parameters of policy LADM 6002 Q – Service Change or Addition.

  - The order of test performance is based on the order of the following testing priorities:

    - STAT

    - Urgent

    - Routine

- All applicable maintenance must be performed prior to operating any equipment for testing purposes.  The pulmonary associate must complete the maintenance log for that day.

Turnaround Times:

  - The turnaround time for inpatient routine testing performed in the Pulmonary Laboratory is approximately 10 minutes.

  - The Laboratory Information System provides a tool (Pending Specimen Tracking Log) that allows each technologist to track specimen throughput at their workstation.

Calibration:

All automated equipment is calibrated according to procedures written in accordance with the manufacturer’s recommendations, regulatory requirements, and accreditation standards.

Quality Control:

- Quality control must be run and meet acceptability criteria before patient samples are reported.  Corrective action must be taken when control results are out of range.

- Commercial control materials are used for all tests done in the Pulmonary Laboratory and are tested in the same manner as patient samples. In the event that a test does not have an available commercial control, patient samples or other appropriate substitutes are used as controls. Acceptability limits (numeric and/or nonnumeric) are defined for each test or procedure.

- Numeric ranges are typically posted electronically in the instrument and in the Laboratory Information System and may be manually documented. If any control is outside of the acceptable range, corrective action must be taken and documented. The controls must be in the acceptable range before reporting any results. The pulmonary associate performing the test must notify the Respiratory Supervisor if corrective action is not effective.

- Daily Quality Control decisions must be based on PULM 6010 and 6011 R.

- Respiratory Supervisor along with the Core Lab Chemistry Lead conducts monthly review and management of the Quality Control.  All of the numeric QC data in the Pulmonary Laboratory is evaluated monthly for mean, S.D. and C.V. values. Each month the data is reviewed for any problems or significant changes from previous data. If the precision statistics reveal a significant change from previous data the following action(s) should be taken:

  - Check for patterns in both previous and current lots of control

  - Check for patterns by comparing other levels of the same parameter on the report

  - Check for patterns by comparing same assay on alternate analyzer

  - Verify if there is a drift or change in the comparison of your data with the peer data, if available

  - Verify precision, electronic references, and calibration as specified by vendor references

  - Review maintenance logs

  - Review handling techniques of the control material

  - Call vendor support

  - Review findings with the Medical Director or designee

Comparability Studies:

Comparability studies of patient results are reviewed at least twice yearly for assays done by different methodologies or instruments. See CLIN 6000 Q.

Post-Analytical:

  - The overall format of the lab report is reviewed and approved by the Medical Director. Reports are reviewed annually for completeness, appearance, format and accuracy. Revisions occur as necessary.

  - Alert Value Results: An ALERT value is a laboratory result that in and of itself may indicate a potentially dangerous or life-threatening situation of imminent nature.  For a list of Alert Values and complete instructions see LADM 6005 Q.

Delay of Reporting:

It would be highly unusual for the lab not to perform an internal test, but if a situation arises where a test is unavailable, the following actions should be taken depending on the projected severity of the delay:

    - Notify the Supervisor on duty of the problem.

    - The Supervisor should notify a pathologist, if the situation warrants.

    - Contact contracted reference laboratory to see if they will be able to perform the tests for our Laboratory.

    - Notify the Charge Nurse in the Emergency Department and the Nursing Supervisor of the expected delays.

    - Notify the Nursing office and each unit, particularly the intensive care units of the expected delays.

    - Notify the Outreach department so that they may alert their clients of any delay.

    - Document the incident with an Occurrence Report Form.

- QSE 7: Information Management

The Pulmonary Laboratory follows and abides by all administrative policies as set forth by the Information Systems Department and in accordance with HIPPA regulations.  See copy of SAH Information Systems HIPPA policies and requirements.  All associates of the Laboratory and SAH are assigned levels of computer accessibility according to the specific needs of their job position.

All associates at hire are required to read the system access request form and give written signature that they agree to follow the requirements of the facility regarding knowledge of and use of any and all information only as it pertains to their specific job position.  In addition the agreement addresses use of computer system for no other use than that related to job performance.

Discussion of any and all patient information and/or business information of SAHC for any purpose other than patient care or business operations is prohibited.  Any and all violations are subject to disciplinary actions up to and including termination.

The Pulmonary Laboratory must maintain patient services during disruption in the Laboratory Information System (LIS). Computer downtimes may be scheduled or unscheduled. See PULM 7005 R.

- QSE 8: Occurrence Management System

The Pulmonary Laboratory maintains an occurrence management system designed to identify, for the purpose of finding and removing the root causes, pre analytical, analytical and post analytical problems of Laboratory operations (LADM 8000 R).

The essential components of the system are as follows:

- An Occurrence Report Form (ORF) is available on most Laboratory PC desktops as an Icon.

- The ORF is designed to capture all elements indicative of untoward events in Laboratory operations, spanning pre-analytical, analytical, and post-analytical variables.

- Any problem that could potentially interfere with patient care is to be documented.

The ORF is also designed to capture associate concerns regarding but not limited to the following; Safety, Patient Safety, Complaints, and Process Improvement needs.

All Pulmonary laboratory associates are mandated to file an electronic ORF to report any such event. The associate completing the ORF sends the form to the Supervisor and/or Director, and LabQuality mailbox. The ORF is categorized and entered into the database.

# QSE 9: Assessments

The Laboratory uses external and internal assessments to verify that its processes meet regulatory requirements and to determine how well those processes are functioning. The term assessment is used to refer to self-inspections or surveys, inspections by outside entities, proficiency testing, quality assurance reviews, and other evaluations and audits of Laboratory operations and services.

- Internal Assessments:

Quality Control and Quality Assurance Indicators are provided as planned and systematic activities to ensure operational techniques are used to fulfill quality requirements. The Pulmonary Laboratory indicators are reported quarterly at the hospital’s Quality and Patient Safety Committee. See Quality and Patient Safety report.

- External Assessments:

The Pulmonary Laboratory participates in Quality Assurance Surveys administered by the College of American Pathologists (CAP). The department is inspected and accredited by CAP.  The PulmonaryLaboratory participates in external assessments conducted by FDA, CMS and State as required.  The Laboratory participates in voluntary external assessments of the CAP and TJC accreditation programs. See LADM 9005 R for more details.

# QSE 10: Process Improvement

Quality indicators are typically developed using the data retrieved from the Occurrence report database and identified through audits and customer surveys to coincide with CAP’s patient safety goals. Process Improvement initiatives are often isolated through the Occurrence Management System.  A plan of action is developed and placed into effect.  Performance improvement progress is discussed at the Laboratory Management Meeting, Pulmonary Laboratory Administration and Associate Meetings.

# QSE 11: Customer Service

The Pulmonary Laboratory is in continuous operation performing routine and stat chemistry and blood gas testing. Additional information regarding specific testing is contained in the online test search, (www.testmenu.com/stagnes).

The Pulmonary Laboratory utilizes input from physicians, nursing staff, administrators, other hospital departments and financial data to determine the need for changes in service.  This includes: providing new services or new testing, deleting old services or processes, amending or adopting changes to current services.

The Laboratory receives input from physicians, nursing staff, administrators, other hospital departments, satisfaction surveys and other individuals to determine levels of satisfaction.  Using the performance improvement process, priorities are set and improvement plans are developed, implemented, monitored and evaluated. All complaints and problems are reported using the Occurrence Management system.  Investigations are made as appropriate, with the responsible lab or operational department, and corrective actions instituted as necessary. Any trends or clusters are further investigated to identify areas for improvement.  Feedback is provided back to the associates, when applicable.

# QSE 12: Facilities and Safety

The Pulmonary Laboratory complies with the SAH Environment of Care policies and regulations for safety.

Associate Training:

Laboratory procedures are maintained and training provided for the following:

  - Emergency Preparedness Response Plan and Specific Section Function

  - Chemical Hygiene Plan (Right to Know)

  - Chemical List

  - Access to MSDS

  - Blood Borne Pathogens Policy

  - General Safety Training

Associates complete annual training and competencies for the following safety topics:

- Chemical Safety

- Electrical Safety

- Ergonomic Safety

- Fire Safety

Standard Precautions:

The Department of Infection Control provides detailed information on Standard Precautions on the SAINT. All Pulmonary Laboratory associates are responsible for review of this information. All samples that come into the Pulmonary Laboratory are presumed to be infectious.  Standard precautions should be used with each sample.

Some of the applicable Standard Precautions are as follows:

- Hand washing

  - Wash hands after touching blood, body fluids, secretions, excretions, and contaminated items, whether or not gloves are worn.

  - Wash hands immediately after gloves are removed, and when otherwise indicated to avoid transfer of microorganisms to other environments

- Personal protective equipment

- Wear gloves (clean, non-sterile are adequate) when touching blood, body fluids, secretions, excretions, and any contaminated items.

- Wear a mask and eye protection or a face shield to protect mucous membranes of the eyes, nose, and mouth during procedures that are likely to generate splashes of blood, body fluids, secretions, and excretions.

- Wear provided lab coat. A soiled lab coat is to be discarded as promptly as possible.

- Equipment

- Single use items are to be discarded immediately after use

- Sharps

- Safety Engineered Devices are required.

- Never recap needles.

- Do not remove used needles from disposable syringes by hand.

- Place used disposable needles in puncture resistant containers.

References

LADM 0000 QP Lab Quality Management Plan

LADM 2000 Q Documents & Records Policy

LADM 2101 Q Document Control Policy – Creation to Destruction

LADM 6005 Q Alert Value List and Notification Process

PULM 6020 R Proficiency Testing Handling

LADM 6025 Q Equipment and Process Validation

LADM 8000 Q Laboratory Occurrence Reporting System

LADM 12023 Q Device Related Adverse Event and Recall Notification Policy

PULMONARY 1000 F Organizational Chart

PULMONARY 5000 Q Inventory Control

PULMONARY 6005 R Unacceptable Specimen Rejection

PULMONARY 6010 R Daily Quality Control Procedure

PULMONARY 6011 R Daily Quality Control Procedure

PULMONARY 7005 R Meditech Downtime Procedure

CLIN 3008 Q Clinical Laboratory Training and Competency Plan

Saint Agnes Hospital Policies:

- SYS CC20

- SYS CC24

- SYS CRP9

- SYS FI41

- SYS HIPAA18

- SYS HIPAA 20

- SYS HOS16

- SYS HOS32

- SYS HR01

- SYS HR04

- SYS HR15

- SYS HR64

- SYS PI01